## BuildSchedule
Costs from 1986 NZED report unless otherwise noted ($ values - any pound values from pre 1967 reports converted 1->$2)
Project | Year | Cost | MW | Approx GWh | Implied outage factor | Variable O&M ($/MWh) | Fixed O&M ($/KW) | Notes
Rangipo | 1983 | 285.3944 | 120 | 580 | 0.44825 | 0.86 | 6.38 | 1986 NZED report capital costs
Tongariro control (incl. Tokaanu) | 1973 | 224.1098 | 200 | 660 | 0.62329 | 0.86 | 6.38 | 1986 NZED report capital costs
Tongariro control (incl. Tokaanu) Stage 2 | 1996 | 25 | 40 | 100 | 0.71461 | 0.86 | 6.38 | 15 year upgrade noted in PPP. GWh estm. Capital cost estm. based on half of Benmore refurbishment (CPI adjusted).
Lake Taupo control | 1941 | 0.41929 | 0.1 | 0.1 | 0.88584 | 0.86 | 6.38 | Output included in generating stations
Aratiatia | 1964 | 16.2134 | 90 | 330 | 0.58143 | 0.86 | 6.38 | 1986 NZED report capital costs
Ohakuri | 1961 | 21.6733 | 112 | 400 | 0.5923 | 0.86 | 6.38 | 1961 commissioning from PPP. 1986 NZED report capital costs
Atiamuri | 1959 | 19.4363 | 63 | 210 | 0.61948 | 0.86 | 6.38 | GWh split based on MW capacity
Atiamuri Stage 2 | 1962 | 1.0542 | 21 | 70 | 0.61948 | 0.86 | 6.38 | Last unit installed 1962
Whakamaru | 1956 | 24.1162 | 100 | 490 | 0.44064 | 0.86 | 6.38 | 1986 NZED report capital costs
Maraetai | 1953 | 19.1864 | 180 | 880 | 0.44191 | 0.86 | 6.38 | 1969 cost total pre Maraetai II build. Assigned all GWh to M1 (M2 is a 'peaker' in parallel to M1)
Maraetai Stage 2 | 1971 | 20.6178 | 180 | 1 | 0.99937 | 0.86 | 6.38 | Maraetai II
Waipapa | 1961 | 15.7928 | 51 | 240 | 0.4628 | 0.86 | 6.38 | 1986 NZED report capital costs
Arapuni | 1932 | 3.9008 | 60 | 300 | 0.42922 | 0.86 | 6.38 | 1940 Arapuni capital value = 0.110842+1.284955+0.431.238+0.702073 = 2.529108 * 2 = 5.058216 (1940 NZED report) 1950 value = 0.119628+1.425489+0.499580+1.063128 = 3.107825 * 2 = 6.21565 (1950 NZED report). Compare to 6.359782 1958 Capital Outlay figure GWh based on MW split of first 3 stages (first stage = 37% of 805 GWh = 300). Assumed only marginal increase in GWh in the later refurbishment work.
Arapuni Stage 2 | 1938 | 1.1574 | 51 | 250 | 0.44042 | 0.86 | 6.38 | Second 2 units installed 1938 21.6MW each (estm. cost based on last 2 units) plus uprated original unit capacity (from 15MW to 17.85MW - split this between the two expansions)
Arapuni Stage 3 | 1946 | 1.1574 | 51 | 250 | 0.44042 | 0.86 | 6.38 | Last 2 units installed 1946 (estm. cost from diff in capex post/pre)
Arapuni Stage 4 | 1990 | 50 | 31 | 5 | 0.98159 | 0.86 | 6.38 | Total final capacity 164MW before later refurbishment
Arapuni Stage 5 | 2007 | 20 | 1 | 0.1 | 0.98858 | 0.86 | 6.38 | Final capacity = 194MW (ACS data). GWh = 805 (avrg). Assumed to add all but 1MW of the increased capcity in the $50M 1990 upgrade
Karapiro | 1948 | 8.7483 | 90 | 525 | 0.33409 | 0.86 | 6.38 | 1986 NZED report capital costs. First 2 units operating in 1947, last unit installed 1948
Matahina | 1967 | 30.1573 | 72 | 290 | 0.54021 | 0.86 | 6.38 | 1986 NZED report capital costs
Matahina Stage 2 | 1998 | 60 | 0.1 | 0.1 | 0.88584 | 0.86 | 6.38 | Earthquake strengthening http://www.waterpowermagazine.com/news/newsmatahina-changes-hands
Lake Waikaremoana control | 1939 | 0.92905 | 0.1 | 0.1 | 0.88584 | 0.86 | 6.38 | Time based on the third Tuai unit going in (output included in generating stations)
Kaitawa | 1948 | 3.4193 | 36 | 90 | 0.71461 | 0.86 | 6.38 | 1986 NZED report capital costs. Original MW capacity was 32. Upgraded since then
Tuai | 1929 | 1.4095 | 32 | 140 | 0.50057 | 0.86 | 6.38 | 1940 NZED report capital costs
Tuai Stage 2 | 1939 | 1.7914 | 28 | 80 | 0.67384 | 0.86 | 6.38 | Total Tuia capacity 60. Included upgrade of 16MW units to 20MW. 1986 NZED report capital costs
Piripaua | 1943 | 2.1549 | 42 | 130 | 0.64666 | 0.86 | 6.38 | 1986 NZED report capital costs
Mangahao | 1924 | 3.5696 | 19.2 | 100 | 0.40544 | 0.86 | 6.38 | Original installation was 19.2MW. Capital cost NZED report 1986 value
Mangahao Stage 2 | 1994 | 17 | 14.2 | 26 | 0.79098 | 0.86 | 6.38 | Replacement of Pelton wheels with Francis turbines (PPP) http://horowhenua.kete.net.nz/documents/0000/0000/2864/Mangahao_Power_Station_-_Refurbishment_Project_1992-1994.pdf
Mangahao Stage 3 | 2004 | 15 | 4 | 10 | 0.71461 | 0.86 | 6.38 | New mini-hydro. Assumed same $/MW capital charge as Ruahihi (CPI adj)
Tekapo A | 1951 | 7.365 | 25 | 160 | 0.26941 | 0.86 | 6.38 | 1986 NZED report capital costs
Tekapo B | 1977 | 116.1856 | 160 | 800 | 0.42922 | 0.86 | 6.38 | 1986 NZED report capital costs
Lake Pukaki control | 1951 | 4.62 | 0.1 | 0.1 | 0.88584 | 0.86 | 6.38 | 1970 NZED report cost pre Pukaki high-dam. Output included in generating stations
Lake Pukaki control Stage 2 | 1977 | 69.3677 | 0.1 | 0.1 | 0.88584 | 0.86 | 6.38 | 1986 NZED report capital costs. Output included in generating stations
Benmore | 1965 | 66.6562 | 540 | 2500 | 0.4715 | 0.86 | 6.38 | Capital Outlay and Annual Operation Costs - NZED
Benmore Stage 2 | 2010 | 67 | 0.1 | 70 | -78.9087 | 0.86 | 6.38 | Refurbishment. http://www.odt.co.nz/the-regions/north-otago/29502/benmore-gets-more-with-first-full-rebuild
Aviemore | 1968 | 37.5457 | 220 | 930 | 0.51743 | 0.86 | 6.38 | 1986 NZED report capital costs
Waitaki | 1934 | 5.5322 | 75 | 350 | 0.46728 | 0.86 | 6.38 | 1950 NZED report costs. GWh estimated.
Waitaki Stage 2 | 1954 | 4.1703 | 30 | 150 | 0.42922 | 0.86 | 6.38 | Additional 2 turbines and penstocks added after other upstream work increased water storage. 1986 NZED report capital costs
Lake Wakatipu control | 1920 | 0.002237 | 0.1 | 0.1 | 0.88584 | 0.86 | 6.38 | Uncertain date - there were controls installed in the 20s mainly to facilitate getting at gold in the riverbed
Lake Hawea control | 1959 | 4.9149 | 0.1 | 0.1 | 0.88584 | 0.86 | 6.38 | Treated as part of Roxburgh output
Roxburgh | 1956 | 41.3743 | 160 | 1350 | 0.036815 | 0.86 | 6.38 | 1957 NZED report value
Roxburgh Stage 2 | 1962 | 8.0063 | 160 | 300 | 0.78596 | 0.86 | 6.38 | Last four units installed in 1962 after Lake Hawea control put in allowing additional water storage. GWh figure based on Lake Hawea storage. http://www.mfe.govt.nz/rma/central/nps/hearing-proceeding/40-9-contact-energy-clutha-schemeowerpoint.pdf
Cobb | 1944 | 1.2372 | 12 | 60 | 0.42922 | 0.86 | 6.38 | GWh estm. 1946 NZED cost
Cobb Stage 2 | 1956 | 8.856 | 20 | 130 | 0.25799 | 0.86 | 6.38 | 1986 NZED report capital costs
Arnold | 1932 | 0.35364 | 3 | 20 | 0.23896 | 0.86 | 6.38 | 1986 NZED report capital costs
Lake Coleridge | 1914 | 0.2 | 4.5 | 25 | 0.3658 | 0.86 | 6.38 | Early development from PPP. Early GWh figures and capital expenditure estm. based on MW build. 3 x 1.5 MW
Lake Coleridge Stage 2 | 1917 | 0.1 | 1.5 | 8 | 0.39117 | 0.86 | 6.38 | 1 additional 1.5MW turbine installed
Lake Coleridge Stage 3 | 1923 | 0.3 | 6 | 30 | 0.42922 | 0.86 | 6.38 | 2 additional 3MW generators
Lake Coleridge Stage 4 | 1926 | 0.8 | 15 | 40 | 0.69559 | 0.86 | 6.38 | 2 new units 7.5MW each
Lake Coleridge Stage 5 | 1930 | 0.47257 | 7.5 | 30 | 0.54338 | 0.86 | 6.38 | Acheron River division and additional unit (1950 NZED report value)
Lake Coleridge Stage 6 | 1977 | 3.5115 | 0.1 | 72 | -81.1918 | 0.86 | 6.38 | Wilberforce diversion. Capital value from 1986 NZED report
Lake Coleridge Stage 7 | 2000 | 6 | 4.5 | 65 | -0.64891 | 0.86 | 6.38 | Later developments and GWh from TrustPower website (some turbines now retired - others upgraded)
Highbank | 1945 | 1.2808 | 25.2 | 93 | 0.57871 | 0.86 | 6.38 | Capital Outlay and Annual Operation Costs - NZED
Highbank Stage 2 | 1979 | 0.83414 | 0.1 | 1 | -0.14155 | 0.86 | 6.38 | Substantial dredging and sand trap (total from NZED 1986 value)
Lake Manapouri control | 1971 | 11.8733 | 0.1 | 1 | -0.14155 | 0.86 | 6.38 | Treated as part of the main Manapouri construction. Output included in generating station
Lake Te Anau control | 1971 | 9.8099 | 0.1 | 1 | -0.14155 | 0.86 | 6.38 | Treated as part of the main Manapouri construction. Output included in generating station
Manapouri | 1971 | 119.4413 | 585 | 4800 | 0.063342 | 0.86 | 6.38 | 1986 NZED report capital costs
Manapouri Stage 2 | 2002 | 210.265 | 125 | 1 | 0.99909 | 0.86 | 6.38 | Second tail race and transformer upgrade : http://www.meridianenergy.co.nz/assets/PDF/What-we-do/Our-power-stations/0151MEDManapouriwebPDF.pdf
Manapouri Stage 3 | 2007 | 90 | 140 | 70 | 0.94292 | 0.86 | 6.38 | Generator refurbishment (MCR = 850MW, but limited to 800MW due to resource consents)
Monowai | 1925 | 0.76556 | 6 | 40 | 0.23896 | 0.86 | 6.38 | 1986 NZED report capital costs
Ohau A | 1980 | 152.6886 | 264 | 1150 | 0.50273 | 0.86 | 6.38 | 1986 NZED report capital costs
Ohau B | 1984 | 145.2651 | 212 | 970 | 0.47769 | 0.86 | 6.38 | 1986 NZED report capital costs
Ohau C | 1985 | 98.3478 | 212 | 970 | 0.47769 | 0.86 | 6.38 | 1986 NZED report capital costs
Clyde | 1992 | 1700 | 432 | 2050 | 0.45829 | 0.86 | 6.38 | Transforming Power: The Politics of Electricity Planning (1994 cost in reference notes).
Twizel control | 1979 | 7.6159 | 0.1 | 0.1 | 0.88584 | 0.86 | 6.38 | 1986 NZED report capital costs. Output included in generating stations
Upper Waitaki control | 1979 | 7.7456 | 0.1 | 0.1 | 0.88584 | 0.86 | 6.38 | 1986 NZED report capital costs. Output included in generating stations
Marsden A | 1967 | 30.8156 | 240 | 400 | 0.80974 | 9.6 | 70 | 1986 NZED report capital costs. GWh estimated
Marsden A Retirement | 1997 | 0 | -240 | -400 | 0.80974 |  |  | Essentially decommissioned for energy generation purposes
Marsden B | 1979 | 115.7501 | 250 | 1000 | 0.54338 | 9.6 | 70 | 1986 NZED report capital costs. GWh estimated
Marsden B Retirement | 1979 | 0 | -250 | -1000 | 0.54338 |  |  | Effectively mothballed on the completion of the station
Otahuhu A | 1968 | 15.6947 | 180 | 600 | 0.61948 | 9.6 | 20 | Value from NZED report 1975. GWh estimated
Otahuhu A Stage 2 | 1978 | 12.2335 | 90 | 300 | 0.61948 | 9.6 | 20 | Value from NZED report 1986. GWh estimated
Otahuhu A Retirement | 1987 | 0 | -270 | -900 | 0.61948 |  |  | Essentially decommissioned for energy generation purposes (very rarely ran after the mid 80s)
Meremere | 1958 | 35.6789 | 180 | 950 | 0.39751 | 9.6 | 70 | 6 units. Value from NZED 1965 report
Meremere Stage 2 | 1967 | 3.3729 | 30 | 150 | 0.42922 | 9.6 | 70 | 7th unit.
Meremere Retirement | 1991 | 0 | -210 | -1100 | 0.40204 |  |  | Decommissioning
Wairakei | 1958 | 16.8265 | 69 | 450 | 0.25551 |  | 105 | 1960 NZED report capital costs
Wairakei Stage 2 | 1964 | 29.7161 | 123 | 850 | 0.21112 |  | 105 | 3 x 30 MW units + 3 x 11.2 MW units. 1986 NZED report capital costs
Wairakei Stage 3 | 2005 | 70 | 14 | 90 | 0.26614 |  | 105 | Capital cost based on PB Electricity Generation database SOO Update 2006
New Plymouth | 1974 | 136.3072 | 600 | 700 | 0.86682 | 9.6 | 20 | 1986 NZED report capital costs
New Plymouth Retirement | 2011 | 0 | -600 | -700 | 0.86682 |  |  | Decommissioning
Stratford | 1976 | 30.5197 | 200 | 400 | 0.77169 | 9.6 | 20 | Decommissioned in 2001. Capital cost 1986 NZED report. GWh estimated
Stratford Retirement | 2001 | 0 | -200 | -400 | 0.77169 |  |  | Decommissioning
Whirinaki 1 | 1978 | 28.2043 | 220 | 500 | 0.74056 | 9.6 | 20 | Note : One unit went to TeAwamutu in 1993. Capital cost 1986 NZED report. GWh estimated
Whirinaki 1 Retirement | 2001 | 0 | -220 | -500 | 0.74056 |  |  | Decommissioning
Huntly | 1983 | 722.8975 | 1000 | 5695 | 0.34989 | 9.6 | 70 | 1986 NZED value
Kawerau - TPP | 1966 | 2.2 | 37 | 271 | 0.16389 | 9.6 | 20 | Cogen capital cost assumed priced at OCGT adjusted for inflation. PB report for Electricity Commission July 2009 Thermal Power Station Advice
Lower Mangapapa | 1976 | 6.804 | 6 | 17 | 0.67656 | 0.86 | 6.38 | http://www.delahyde.com/tauranga/pagest/mangapapa.html
Aniwhenua | 1979 | 27 | 25 | 105 | 0.52055 | 0.86 | 6.38 | Electricity Authority Generating Station List
Ruahihi | 1981 | 27 | 20 | 76 | 0.56621 | 0.86 | 6.38 | http://www.delahyde.com/tauranga/pagest/ruahihi.html
Wheao and Flaxy Scheme | 1982 | 32 | 24 | 115 | 0.45301 | 0.86 | 6.38 | Assumed same $/MW capital charge as Ruahihi
Teviot | 1983 | 14 | 10.5 | 55 | 0.40204 | 0.86 | 6.38 | Assumed same $/MW capital charge as Ruahihi
Lloyd Mandeno | 1972 | 9 | 15.6 | 70 | 0.48776 | 0.86 | 6.38 | http://www.delahyde.com/tauranga/pagest/mandeno.html
Paerau | 1984 | 14 | 10 | 48 | 0.45205 | 0.86 | 6.38 | Assumed same $/MW capital charge as Ruahihi
Patea | 1984 | 69 | 30.7 | 118 | 0.56123 | 0.86 | 6.38 | http://www.riley.co.nz/documents/Published%20Articles/Patea_Hydro_Case_History_Environ_Predictions.pdf
Ohaaki | 1989 | 300 | 116 | 400 | 0.60636 |  | 105 | Pow Wow Newsletter Nov 1989
Te Awamutu - Anchor Products | 1995 | 40 | 54 | 190 | 0.59834 | 6.4 |  | Cogen capital cost assumed priced at OCGT adjusted for inflation. PB report for Electricity Commission July 2009 Thermal Power Station Advice
Te Awamutu - Anchor Products Retirement | 2007 | 0 | -54 | -190 | 0.59834 |  |  | Decommissioning
Bay Milk Edgecumbe | 1996 | 16 | 10 | 54 | 0.38356 | 6.4 |  | NZ Energy Future : A look ahead. Energy Foundation of New Zealand Nov 1996
Hau Nui | 1996 | 10.5 | 3.65 | 10 | 0.68725 | 3 | 60 | Capital cost estimated based on PB Electricity Generation database SOO Update 2006
Hau Nui Stage 2 | 2004 | 13 | 4.8 | 13 | 0.69083 | 3 | 60 | Addition of 8 more turbines. Capital cost estimated based on PB Electricity Generation database SOO Update 2006
Kiwi Dairy, Hawera (Whareroa) | 1996 | 70 | 69.6 | 180 | 0.70477 | 6.4 |  | http://www.pwcl.co.nz/cogeneration.php
Southdown | 1996 | 140 | 125 | 600 | 0.45205 | 4.25 | 35 | 2 * 45MW LM6000 + 35MW Steam Turbine. Capital costs estimated based on PB report for Electricity Commission July 2009 Thermal Power Station Advice
Southdown Stage 2 | 2007 | 54 | 45 | 250 | 0.3658 | 8 | 16 | Expansion - 1 * 45 MW. Capital costs estimated based on PB report for Electricity Commission July 2009 Thermal Power Station Advice
Glenbrook | 1987 | 21 | 38 | 190 | 0.42922 | 8.2 | 60 | Furnace cogen in 1987. Cogen capital cost assumed priced at OCGT adjusted for inflation. PB report for Electricity Commission July 2009 Thermal Power Station Advice.
Glenbrook Stage 2 | 1997 | 57 | 74 | 360 | 0.44465 | 8.2 | 60 | Kiln cogen in 1997. Cogen capital cost assumed priced at OCGT adjusted for inflation. PB report for Electricity Commission July 2009 Thermal Power Station Advice.
Poihipi Rd | 1997 | 78 | 55 | 350 | 0.27356 |  | 105 | http://www.stuff.co.nz/dominion-post/business/7297575/Geothermal-pioneer-took-on-some-big-opponents
Rotokawa | 1997 | 50 | 29 | 240 | 0.055267 |  | 105 | $US34m. grsj.gr.jp/iga/iga-files/NZ_gpp_cost_estimate_2007basis.pdf
Rotokawa Stage 2 | 2003 | 20 | 6 | 50 | 0.048706 |  | 105 | Geothermal Market: A renewable energy for the future
Kapuni | 1998 | 25 | 25 | 130 | 0.40639 | 4.25 | 35 | NZ Energy Future : A look ahead. Energy Foundation of New Zealand Nov 1996
Kinleith | 1998 | 50 | 28 | 250 | -0.019243 | 8.2 | 60 | http://www.risiinfo.com/db_area/archive/ppi_mag/1999/9907/5newzeal.htm
Ngawha | 1998 | 40 | 10 | 80 | 0.086758 |  | 105 | Assuming 0.6 = US/NZ. http://www.encyclopedia.com/doc/1G2-2690300084.html
Ngawha Stage 2 | 2008 | 77 | 15 | 120 | 0.086758 |  | 105 | Expansion to 25MW. http://www.topenergy.co.nz/generation-ngawha-power.shtml
TCC - Taranaki Combined Cycle | 1998 | 400 | 385 | 2200 | 0.34768 | 4.25 | 35 | http://www.royalsociety.org.nz/1996/01/18/new-power-station-a-winner-says-energy-minister/
Opuha | 1999 | 30.5 | 7.5 | 21 | 0.68037 | 0.86 | 6.38 | http://www.oag.govt.nz/2001/opuha-dam/docs/opuha.pdf/view
Tararua | 1999 | 50 | 31.7 | 128 | 0.53906 | 3 | 60 | PB Electricity Generation database SOO Update 2006
Te Rapa | 1999 | 34 | 44 | 200 | 0.48111 | 4.2 | 30 | Cogen capital cost assumed priced at OCGT adjusted for inflation. PB report for Electricity Commission July 2009 Thermal Power Station Advice
Mokai | 2000 | 225 | 55 | 440 | 0.086758 |  | 105 | Estimated based on generic geothermal cost (CPI adj) PB 2011 NZ Generation Data Update
Mokai Stage 2 | 2005 | 60 | 40 | 325 | 0.072489 |  | 105 | Est. $40US = $60NZ. http://www.power-technology.com/projects/mokai/
Mokai Stage 3 | 2007 | 15 | 17 | 140 | 0.059898 |  | 105 | Expansion cost estimated based on $8US million unit cost http://www.electricenergyonline.com/?page=show_news&id=46596
Otahuhu B | 2000 | 456 | 380 | 2240 | 0.32708 | 4.25 | 35 | Capital cost estimated based on PB report for Electricity Commission July 2009 Thermal Power Station Advice
Otahuhu B Stage 2 | 2005 | 30 | 24 | 140 | 0.33409 | 4.25 | 35 | Capital cost estimated based on PB report for Electricity Commission July 2009 Thermal Power Station Advice
Huntly e3P | 2007 | 506 | 400 | 2410 | 0.31221 | 4.25 | 35 | Genesis 2007 Annual Report
Huntly P40 | 2004 | 50 | 48 | 335 | 0.20329 | 8 | 16 | Capital cost estimated based on PB report for Electricity Commission July 2009 Thermal Power Station Advice
Tararua Stage 2 | 2004 | 55 | 36.3 | 147 | 0.53772 | 3 | 60 | PB Electricity Generation database SOO Update 2006
Te Apiti | 2004 | 190 | 90.75 | 258 | 0.67546 | 3 | 60 | PB Electricity Generation database SOO Update 2006
Whirinaki 2 | 2004 | 150 | 155 | 9 | 0.99337 | 9.6 | 20 | http://www.beehive.govt.nz/release/whirinaki-power-plant-adds-electricity-supply-security
Pan Pac | 2005 | 11 | 12.8 | 48 | 0.57192 | 8.2 | 60 | Cogen capital cost assumed priced at OCGT adjusted for inflation. PB report for Electricity Commission July 2009 Thermal Power Station Advice.
Tararua Stage 3 | 2007 | 180 | 93 | 375 | 0.5397 | 3 | 60 | http://windenergy.org.nz/documents/case/tararua_web.pdf
White Hill | 2007 | 100 | 58 | 200 | 0.60636 | 3 | 60 | http://tvnz.co.nz/content/1171908/4202557.xhtml
Kawerau Geothermal | 2008 | 300 | 100 | 800 | 0.086758 |  | 105 | http://www.mightyriver.co.nz/Media-Centre/Latest-News/2010-Archive/New-Power-Station-Adds-To-Grid-Capacity.aspx
West Wind | 2009 | 430 | 143 | 550 | 0.56094 | 3 | 60 | http://www.contrafedpublishing.co.nz/Contractor/2008/June+2008/Where+the+wind+blows.html
Nga Awa Purua | 2010 | 430 | 140 | 1100 | 0.10307 |  | 105 | http://www.mightyriver.co.nz/Media-Centre/Latest-News/2010-Archive/New-Power-Station-Adds-To-Grid-Capacity.aspx
Te Huka | 2010 | 100 | 23 | 190 | 0.056978 |  | 105 | http://www.nzherald.co.nz/business/news/article.cfm?c_id=3&objectid=10647323
Mahinerangi | 2011 | 75 | 36 | 112 | 0.64485 | 3 | 70 | http://www.trustpower.co.nz/index.php?action=view&id=242&module=newsmodule&src=@random48f670a85b5d9
Marsden Diesel | 2011 | 10.8 | 9 | 0.1 | 0.99873 | 9.6 | 20 | Estimated based on PB report Thermal power station advice - reciprocating engines study
Mount Stuart | 2011 | 17 | 7.65 | 25.6 | 0.61799 | 3 | 60 | www.energynews.co.nz
Stratford Peaker | 2011 | 250 | 200 | 350 | 0.80023 | 8 | 16 | http://www.nzherald.co.nz/business/news/article.cfm?c_id=3&objectid=10647323
Te Rere Hau | 2011 | 80 | 48.5 | 160 | 0.62341 | 3 | 70 | http://www.windflow.co.nz/news/clippings/2004-2005/southern-firm-gets-green-light-for-tararua-wind-farm
Te Uku | 2011 | 200 | 64.4 | 225 | 0.60117 | 3 | 60 | http://www.coffey.com/our-news/latest-news/te-uku-windfarm-provides-community-benefits
Kawerau - TOPP 1 | 2012 | 42 | 25 | 210 | 0.041096 |  | 105 | www.energynews.co.nz
Ngatamariki | 2013 | 466 | 82 | 670 | 0.067268 |  | 105 | http://www.mightyriver.co.nz/Media-Centre/Latest-News/2012-Archive/Mighty-River-Power-Development-Projects-Update.aspx
McKee | 2013 | 100 | 102 | 300 | 0.66425 | 9.6 | 20 | http://www.beehive.govt.nz/release/pm-opens-new-mckee-power-plant-taranaki
Waipori | 1907 | 0.07 | 2 | 5 | 0.71461 | 0.86 | 6.38 | 2 x 1MW (GWh all prorated based on final capacity/GWh). Capital costs based on Ruahihi CPI adjusted.
Waipori Stage 2 | 1913 | 0.14 | 4 | 10 | 0.71461 | 0.86 | 6.38 | 4 x 1MW
Waipori Stage 1 & 2 retirement | 1922 | 0 | -6 | -15 | 0.71461 |  |  | Retirement of 1 MW turbines
Waipori Stage 3 | 1922 | 0.72 | 21.8 | 50 | 0.73818 | 0.86 | 6.38 | Replacement with 5 x 3MW and 2 x 3.4MW (No. 2 station)
Waipori Stage 4 | 1929 | 0.13 | 4 | 10 | 0.71461 | 0.86 | 6.38 | New dam and powerhouse (No. 1 station)
Waipori Stage 5 | 1946 | 0.11 | 3 | 7.5 | 0.71461 | 0.86 | 6.38 | Added 1 x 3MW Station 1 (with second tunnel completed in 1941)
Waipori Stage 6 | 1955 | 0.82 | 13.6 | 31 | 0.73979 | 0.86 | 6.38 | No. 3 and No. 4 stations (6.4MW and 7.2MW) Trustpower has the capacity of these at 7.6MW and 8 MW)
Waipori Stage 7 | 1968 | 1.6 | 18 | 45 | 0.71461 | 0.86 | 6.38 | Station 2A (18MW)
Waipori Stage 8 | 1976 | 6.56 | 36 | 90 | 0.71461 | 0.86 | 6.38 | 2 x 18MW added to 2A (Trustpower has total station capacity at 58MW)
Waipori Stage 3 retirement | 1980 | 0 | -21.8 | -50 | 0.73818 |  |  | No.2 station demolished
Waipori Stage 4 retirement | 1983 | 0 | -7 | -17.5 | 0.71461 |  |  | No. 1 station demolished
Waipori Stage 9 | 1983 | 4.65 | 10 | 23 | 0.73744 | 0.86 | 6.38 | No. 1 station replaced by station 1A (10MW)

## 2013EquivCostSorted
Equivalent capital costs |  |  | CPI Reference Year |  |  | 2013
|  |  | CPI Index (adj) |  |  | 1020.8696
NZED Plant
| Plant | Build Year | Cost ($m) | Build year CPI (adj) | CPI ratio | $2013 cost | Cap. MW | Annual GWh
| Lake Coleridge | 1914 | 0.2 | 27 | 37.81 | 7.562 | 4.5 | 25
| Lake Coleridge Stage 2 | 1917 | 0.1 | 27 | 37.81 | 3.781 | 1.5 | 8
| Lake Wakatipu control | 1920 | 0.002237 | 27 | 37.81 | 0.084581 | 0.1 | 0.1
| Lake Coleridge Stage 3 | 1923 | 0.3 | 25 | 40.8348 | 12.2504 | 6 | 30
| Mangahao | 1924 | 3.5696 | 26 | 39.2642 | 140.158 | 19.2 | 100
| Monowai | 1925 | 0.76556 | 25 | 40.8348 | 31.2614 | 6 | 40
| Lake Coleridge Stage 4 | 1926 | 0.8 | 26 | 39.2642 | 31.4114 | 15 | 40
| Tuai | 1929 | 1.4095 | 25 | 40.8348 | 57.5564 | 32 | 140
| Lake Coleridge Stage 5 | 1930 | 0.47257 | 25 | 40.8348 | 19.2975 | 7.5 | 30
| Arapuni | 1932 | 3.9008 | 22 | 46.4032 | 181.0086 | 60 | 300
| Arnold | 1932 | 0.35364 | 22 | 46.4032 | 16.4098 | 3 | 20
| Waitaki | 1934 | 5.5322 | 20 | 51.0435 | 282.3822 | 75 | 350
| Arapuni Stage 2 | 1938 | 1.1574 | 24 | 42.5362 | 49.2329 | 51 | 250
| Lake Waikaremoana control | 1939 | 0.92905 | 25 | 40.8348 | 37.9378 | 0.1 | 0.1
| Tuai Stage 2 | 1939 | 1.7914 | 25 | 40.8348 | 73.1523 | 28 | 80
| Lake Taupo control | 1941 | 0.41929 | 27 | 37.81 | 15.8534 | 0.1 | 0.1
| Piripaua | 1943 | 2.1549 | 29 | 35.2024 | 75.8594 | 42 | 130
| Cobb | 1944 | 1.2372 | 29 | 35.2024 | 43.5523 | 12 | 60
| Highbank | 1945 | 1.2808 | 30 | 34.029 | 43.5856 | 25.2 | 93
| Arapuni Stage 3 | 1946 | 1.1574 | 30 | 34.029 | 39.3863 | 51 | 250
| Karapiro | 1948 | 8.7483 | 33 | 30.9354 | 270.6318 | 90 | 525
| Kaitawa | 1948 | 3.4193 | 33 | 30.9354 | 105.7789 | 36 | 90
| Tekapo A | 1951 | 7.365 | 38 | 26.865 | 197.861 | 25 | 160
| Lake Pukaki control | 1951 | 4.62 | 38 | 26.865 | 124.1158 | 0.1 | 0.1
| Maraetai | 1953 | 19.1864 | 44 | 23.2016 | 445.1551 | 180 | 880
| Waitaki Stage 2 | 1954 | 4.1703 | 46 | 22.1928 | 92.5511 | 30 | 150
| Whakamaru | 1956 | 24.1162 | 49 | 20.8341 | 502.4383 | 100 | 490
| Roxburgh | 1956 | 41.3743 | 49 | 20.8341 | 861.9943 | 160 | 1350
| Cobb Stage 2 | 1956 | 8.856 | 49 | 20.8341 | 184.506 | 20 | 130
| Meremere | 1958 | 35.6789 | 51 | 20.0171 | 714.187 | 180 | 950
| Wairakei | 1958 | 16.8265 | 51 | 20.0171 | 336.817 | 69 | 450
| Atiamuri | 1959 | 19.4363 | 55 | 18.5613 | 360.7629 | 63 | 210
| Lake Hawea control | 1959 | 4.9149 | 55 | 18.5613 | 91.2275 | 0.1 | 0.1
| Ohakuri | 1961 | 21.6733 | 56 | 18.2298 | 395.1011 | 112 | 400
| Waipapa | 1961 | 15.7928 | 56 | 18.2298 | 287.8991 | 51 | 240
| Atiamuri Stage 2 | 1962 | 1.0542 | 58 | 17.6012 | 18.5543 | 21 | 70
| Roxburgh Stage 2 | 1962 | 8.0063 | 58 | 17.6012 | 140.92 | 160 | 300
| Aratiatia | 1964 | 16.2134 | 60 | 17.0145 | 275.862 | 90 | 330
| Wairakei Stage 2 | 1964 | 29.7161 | 60 | 17.0145 | 505.604 | 123 | 850
| Benmore | 1965 | 66.6562 | 63 | 16.2043 | 1080.1158 | 540 | 2500
| Matahina | 1967 | 30.1573 | 67 | 15.2369 | 459.5025 | 72 | 290
| Marsden A | 1967 | 30.8156 | 67 | 15.2369 | 469.5336 | 240 | 400
| Meremere Stage 2 | 1967 | 3.3729 | 67 | 15.2369 | 51.3919 | 30 | 150
| Aviemore | 1968 | 37.5457 | 71 | 14.3784 | 539.8494 | 220 | 930
| Maraetai Stage 2 | 1971 | 20.6178 | 86 | 11.8706 | 244.7453 | 180 | 1
| Lake Manapouri control | 1971 | 11.8733 | 86 | 11.8706 | 140.9431 | 0.1 | 1
| Lake Te Anau control | 1971 | 9.8099 | 86 | 11.8706 | 116.4492 | 0.1 | 1
| Manapouri | 1971 | 119.4413 | 86 | 11.8706 | 1417.8369 | 585 | 4800
| Tongariro control (incl. Tokaanu) | 1973 | 224.1098 | 99 | 10.3118 | 2310.979 | 200 | 660
| New Plymouth | 1974 | 136.3072 | 109 | 9.3658 | 1276.6227 | 600 | 700
| Stratford | 1976 | 30.5197 | 145 | 7.0405 | 214.8731 | 200 | 400
| Tekapo B | 1977 | 116.1856 | 164 | 6.2248 | 723.2339 | 160 | 800
| Lake Pukaki control Stage 2 | 1977 | 69.3677 | 164 | 6.2248 | 431.8013 | 0.1 | 0.1
| Lake Coleridge Stage 6 | 1977 | 3.5115 | 164 | 6.2248 | 21.8585 | 0.1 | 72
| Whirinaki 1 | 1978 | 28.2043 | 188 | 5.4302 | 153.1537 | 220 | 500
| Highbank Stage 2 | 1979 | 0.83414 | 208 | 4.908 | 4.094 | 0.1 | 1
| Twizel control | 1979 | 7.6159 | 208 | 4.908 | 37.3788 | 0.1 | 0.1
| Upper Waitaki control | 1979 | 7.7456 | 208 | 4.908 | 38.0157 | 0.1 | 0.1
| Ohau A | 1980 | 152.6886 | 246 | 4.1499 | 633.6388 | 264 | 1150
| Rangipo | 1983 | 285.3944 | 370 | 2.7591 | 787.4338 | 120 | 580
| Huntly | 1983 | 722.8975 | 370 | 2.7591 | 1994.5516 | 1000 | 5695
| Ohau B | 1984 | 145.2651 | 383 | 2.6655 | 387.1976 | 212 | 970
| Ohau C | 1985 | 98.3478 | 434 | 2.3522 | 231.337 | 212 | 970
| Marsden B | 1979 | 115.7501 | 208 | 4.908 | 568.1043 | 250 | 1000
| Marsden B Retirement | 1979 | 0 | 208 | 4.908 | 0 | -250 | -1000
| Otahuhu A | 1968 | 15.6947 | 71 | 14.3784 | 225.6655 | 180 | 600
| Otahuhu A Stage 2 | 1978 | 12.2335 | 188 | 5.4302 | 66.43 | 90 | 300
| Otahuhu A Retirement | 1987 | 0 | 552.381 | 1.8481 | 0 | -270 | -900
Post Electricity Division (ECNZ or subsequent organisation changes to NZED plant)
| Plant | Build Year | Cost ($m) | Build year CPI (adj) | CPI ratio | $2013 cost | Cap. MW | Annual GWh
| Arapuni Stage 4 | 1990 | 50 | 625.7778 | 1.6314 | 81.5681 | 31 | 5
| Meremere Retirement | 1991 | 0 | 654.2222 | 1.5604 | 0 | -210 | -1100
| Clyde | 1992 | 1700 | 658.6667 | 1.5499 | 2634.8354 | 432 | 2050
| Mangahao Stage 2 | 1994 | 17 | 673.7778 | 1.5151 | 25.7574 | 14.2 | 26
| Tongariro control (incl. Tokaanu) Stage 2 | 1996 | 25 | 716.4444 | 1.4249 | 35.6228 | 40 | 100
| Marsden A Retirement | 1997 | 0 | 729.7778 | 1.3989 | 0 | -240 | -400
| Matahina Stage 2 | 1998 | 60 | 738.6667 | 1.382 | 82.9226 | 0.1 | 0.1
| Lake Coleridge Stage 7 | 2000 | 6 | 749.3333 | 1.3624 | 8.1742 | 4.5 | 65
| Stratford Retirement | 2001 | 0 | 772.4444 | 1.3216 | 0 | -200 | -400
| Whirinaki 1 Retirement | 2001 | 0 | 772.4444 | 1.3216 | 0 | -220 | -500
| Manapouri Stage 2 | 2002 | 210.265 | 792 | 1.289 | 271.0267 | 125 | 1
| Mangahao Stage 3 | 2004 | 15 | 824.8889 | 1.2376 | 18.5638 | 4 | 10
| Wairakei Stage 3 | 2005 | 70 | 847.1111 | 1.2051 | 84.3583 | 14 | 90
| Arapuni Stage 5 | 2007 | 20 | 897.7778 | 1.1371 | 22.7421 | 1 | 0.1
| Manapouri Stage 3 | 2007 | 90 | 897.7778 | 1.1371 | 102.3396 | 140 | 70
| Benmore Stage 2 | 2010 | 67 | 975.1111 | 1.0469 | 70.1441 | 0.1 | 70
| New Plymouth Retirement | 2011 | 0 | 1007.4725 | 1.0133 | 0 | -600 | -700
Non Electricity Division
| Plant | Build Year | Cost ($m) | Build year CPI (adj) | CPI ratio | $2013 cost | Cap. MW | Annual GWh
| Kawerau - TPP | 1966 | 2.2 | 64 | 15.9511 | 35.0924 | 37 | 271
| Lloyd Mandeno | 1972 | 9 | 93 | 10.9771 | 98.7938 | 15.6 | 70
| Lower Mangapapa | 1976 | 6.804 | 145 | 7.0405 | 47.9034 | 6 | 17
| Aniwhenua | 1979 | 27 | 208 | 4.908 | 132.5167 | 25 | 105
| Ruahihi | 1981 | 27 | 284 | 3.5946 | 97.0545 | 20 | 76
| Wheao and Flaxy Scheme | 1982 | 32 | 328 | 3.1124 | 99.597 | 24 | 115
| Teviot | 1983 | 14 | 370 | 2.7591 | 38.6275 | 10.5 | 55
| Paerau | 1984 | 14 | 383 | 2.6655 | 37.3164 | 10 | 48
| Patea | 1984 | 69 | 383 | 2.6655 | 183.9164 | 30.7 | 118
| Glenbrook | 1987 | 21 | 552.381 | 1.8481 | 38.8106 | 38 | 190
| Ohaaki | 1989 | 300 | 598.1818 | 1.7066 | 511.9863 | 116 | 400
| Te Awamutu - Anchor Products | 1995 | 40 | 701.3333 | 1.4556 | 58.2245 | 54 | 190
| Bay Milk Edgecumbe | 1996 | 16 | 716.4444 | 1.4249 | 22.7986 | 10 | 54
| Hau Nui | 1996 | 10.5 | 716.4444 | 1.4249 | 14.9616 | 3.65 | 10
| Kiwi Dairy, Hawera (Whareroa) | 1996 | 70 | 716.4444 | 1.4249 | 99.7438 | 69.6 | 180
| Southdown | 1996 | 140 | 716.4444 | 1.4249 | 199.4875 | 125 | 600
| Glenbrook Stage 2 | 1997 | 57 | 729.7778 | 1.3989 | 79.736 | 74 | 360
| Poihipi Rd | 1997 | 78 | 729.7778 | 1.3989 | 109.1124 | 55 | 350
| Rotokawa | 1997 | 50 | 729.7778 | 1.3989 | 69.9439 | 29 | 240
| Kapuni | 1998 | 25 | 738.6667 | 1.382 | 34.5511 | 25 | 130
| Kinleith | 1998 | 50 | 738.6667 | 1.382 | 69.1022 | 28 | 250
| Ngawha | 1998 | 40 | 738.6667 | 1.382 | 55.2817 | 10 | 80
| TCC - Taranaki Combined Cycle | 1998 | 400 | 738.6667 | 1.382 | 552.8175 | 385 | 2200
| Opuha | 1999 | 30.5 | 737.7778 | 1.3837 | 42.2031 | 7.5 | 21
| Tararua | 1999 | 50 | 737.7778 | 1.3837 | 69.1854 | 31.7 | 128
| Te Rapa | 1999 | 34 | 737.7778 | 1.3837 | 47.0461 | 44 | 200
| Mokai | 2000 | 225 | 749.3333 | 1.3624 | 306.5333 | 55 | 440
| Otahuhu B | 2000 | 456 | 749.3333 | 1.3624 | 621.2409 | 380 | 2240
| Rotokawa Stage 2 | 2003 | 20 | 811.5556 | 1.2579 | 25.1583 | 6 | 50
| Hau Nui Stage 2 | 2004 | 13 | 824.8889 | 1.2376 | 16.0886 | 4.8 | 13
| Huntly P40 | 2004 | 50 | 824.8889 | 1.2376 | 61.8792 | 48 | 335
| Tararua Stage 2 | 2004 | 55 | 824.8889 | 1.2376 | 68.0671 | 36.3 | 147
| Te Apiti | 2004 | 190 | 824.8889 | 1.2376 | 235.141 | 90.75 | 258
| Whirinaki 2 | 2004 | 150 | 824.8889 | 1.2376 | 185.6376 | 155 | 9
| Mokai Stage 2 | 2005 | 60 | 847.1111 | 1.2051 | 72.3071 | 40 | 325
| Otahuhu B Stage 2 | 2005 | 30 | 847.1111 | 1.2051 | 36.1536 | 24 | 140
| Pan Pac | 2005 | 11 | 847.1111 | 1.2051 | 13.2563 | 12.8 | 48
| Te Awamutu - Anchor Products Retirement | 2007 | 0 | 897.7778 | 1.1371 | 0 | -54 | -190
| Southdown Stage 2 | 2007 | 54 | 897.7778 | 1.1371 | 61.4038 | 45 | 250
| Mokai Stage 3 | 2007 | 15 | 897.7778 | 1.1371 | 17.0566 | 17 | 140
| Huntly e3P | 2007 | 506 | 897.7778 | 1.1371 | 575.3762 | 400 | 2410
| Tararua Stage 3 | 2007 | 180 | 897.7778 | 1.1371 | 204.6793 | 93 | 375
| White Hill | 2007 | 100 | 897.7778 | 1.1371 | 113.7107 | 58 | 200
| Ngawha Stage 2 | 2008 | 77 | 928 | 1.1001 | 84.7058 | 15 | 120
| Kawerau Geothermal | 2008 | 300 | 928 | 1.1001 | 330.0225 | 100 | 800
| West Wind | 2009 | 430 | 955.5556 | 1.0684 | 459.3913 | 143 | 550
| Nga Awa Purua | 2010 | 430 | 975.1111 | 1.0469 | 450.1784 | 140 | 1100
| Te Huka | 2010 | 100 | 975.1111 | 1.0469 | 104.6926 | 23 | 190
| Mahinerangi | 2011 | 75 | 1007.4725 | 1.0133 | 75.9973 | 36 | 112
Non Electricity Division (continued)
| Plant | Build Year | Cost ($m) | Build year CPI (adj) | CPI ratio | $2013 cost | Cap. MW | Annual GWh
| Marsden Diesel | 2011 | 10.8 | 1007.4725 | 1.0133 | 10.9436 | 9 | 0.1
| Mount Stuart | 2011 | 17 | 1007.4725 | 1.0133 | 17.2261 | 7.65 | 25.6
| Stratford Peaker | 2011 | 250 | 1007.4725 | 1.0133 | 253.3244 | 200 | 350
| Te Rere Hau | 2011 | 80 | 1007.4725 | 1.0133 | 81.0638 | 48.5 | 160
| Te Uku | 2011 | 200 | 1007.4725 | 1.0133 | 202.6595 | 64.4 | 225
| Kawerau - TOPP 1 | 2012 | 42 | 1012.1739 | 1.0086 | 42.3608 | 25 | 210
| Ngatamariki | 2013 | 466 | 1020.8696 | 1 | 466 | 82 | 670
| McKee | 2013 | 100 | 1020.8696 | 1 | 100 | 102 | 300
| Waipori | 1907 | 0.07 | 27 | 37.81 | 2.6467 | 2 | 5
| Waipori Stage 2 | 1913 | 0.14 | 27 | 37.81 | 5.2934 | 4 | 10
| Waipori Stage 1 & 2 retirement | 1922 | 0 | 26 | 39.2642 | 0 | -6 | -15
| Waipori Stage 3 | 1922 | 0.72 | 26 | 39.2642 | 28.2702 | 21.8 | 50
| Waipori Stage 4 | 1929 | 0.13 | 25 | 40.8348 | 5.3085 | 4 | 10
| Waipori Stage 5 | 1946 | 0.11 | 30 | 34.029 | 3.7432 | 3 | 7.5
| Waipori Stage 6 | 1955 | 0.82 | 48 | 21.2681 | 17.4399 | 13.6 | 31
| Waipori Stage 7 | 1968 | 1.6 | 71 | 14.3784 | 23.0055 | 18 | 45
| Waipori Stage 8 | 1976 | 6.56 | 145 | 7.0405 | 46.1855 | 36 | 90
| Waipori Stage 3 retirement | 1980 | 0 | 246 | 4.1499 | 0 | -21.8 | -50
| Waipori Stage 4 retirement | 1983 | 0 | 370 | 2.7591 | 0 | -7 | -17.5
| Waipori Stage 9 | 1983 | 4.65 | 370 | 2.7591 | 12.8298 | 10 | 23

## Transmission
Transmission expenditure |  |  | Source NZED annual reports : Transmission and Substation national totals (less 11kv distribution and secondary distribution) - converted to $ pre 1967
Total capital value
| Transmission | Substations | Total | Difference | Build Year CPI | CPI adj | ME Expenditure | CPI Reference Year | 2013
1905 |  |  | 0 | 0 |  |  | 0 | CPI Index (adj) | 1020.8696
1906 |  |  | 0 | 0 | 27 | 37.81 | 0
1907 |  |  | 0 | 0 | 27 | 37.81 | 0
1908 |  |  | 0 | 0 | 27 | 37.81 | 0
1909 |  |  | 0 | 0 | 27 | 37.81 | 0
1910 |  |  | 0 | 0 | 27 | 37.81 | 0
1911 |  |  | 0 | 0 | 27 | 37.81 | 0
1912 |  |  | 0 | 0 | 27 | 37.81 | 0
1913 |  |  | 0 | 0 | 27 | 37.81 | 0
1914 |  |  | 0 | 0 | 27 | 37.81 | 0
1915 |  |  | 0 | 0 | 27 | 37.81 | 0
1916 |  |  | 0 | 0 | 27 | 37.81 | 0
1917 |  |  | 0 | 0 | 27 | 37.81 | 0
1918 |  |  | 0 | 0 | 27 | 37.81 | 0
1919 |  |  | 0 | 0 | 27 | 37.81 | 0
1920 |  |  | 0 | 0 | 27 | 37.81 | 0
1921 |  |  | 0 | 0 | 29 | 35.2024 | 0
1922 |  |  | 0 | 0 | 26 | 39.2642 | 0
1923 |  |  | 0 | 0 | 25 | 40.8348 | 0
1924 |  |  | 0 | 0 | 26 | 39.2642 | 0
1925 |  |  | 0 | 0 | 25 | 40.8348 | 0
1926 |  |  | 0 | 0 | 26 | 39.2642 | 0
1927 |  |  | 0 | 0 | 26 | 39.2642 | 0
1928 |  |  | 0 | 0 | 25 | 40.8348 | 0
1929 |  |  | 0 | 0 | 25 | 40.8348 | 0
1930 |  |  | 0 | 0 | 25 | 40.8348 | 0
1931 |  |  | 0 | 0 | 24 | 42.5362 | 0
1932 |  |  | 0 | 0 | 22 | 46.4032 | 0
1933 |  |  | 0 | 0 | 20 | 51.0435 | 0
1934 |  |  | 0 | 0 | 20 | 51.0435 | 0
1935 |  |  | 0 | 0 | 21 | 48.6128 | 0
1936 |  |  | 0 | 0 | 21 | 48.6128 | 0
1937 |  |  | 0 | 0 | 23 | 44.3856 | 0
1938 |  |  | 0 | 0 | 24 | 42.5362 | 0
1939 |  |  | 0 | 0 | 25 | 40.8348 | 0
1940 | 5.9754 | 3.9067 | 9.8821 | 9.8821 | 26 | 39.2642 | 388.0123
1941 | 6.6801 | 4.6352 | 11.3152 | 1.4332 | 27 | 37.81 | 54.1877
1942 | 7.0205 | 5.3051 | 12.3256 | 1.0104 | 27 | 37.81 | 38.2028
1943 | 7.0877 | 5.8672 | 12.9549 | 0.62927 | 29 | 35.2024 | 22.152
1944 | 7.2925 | 6.8271 | 14.1196 | 1.1647 | 29 | 35.2024 | 41.0017
1945 | 7.8127 | 7.5977 | 15.4104 | 1.2907 | 30 | 34.029 | 43.9218
1946 | 8.186 | 8.324 | 16.51 | 1.0996 | 30 | 34.029 | 37.4198
1947 | 9.2142 | 9.8732 | 19.0874 | 2.5774 | 30 | 34.029 | 87.7071
1948 | 10.1979 | 10.987 | 21.1849 | 2.0975 | 33 | 30.9354 | 64.8875
1949 | 12.2592 | 12.8822 | 25.1415 | 3.9565 | 34 | 30.0256 | 118.7973
1950 | 13.9668 | 14.2814 | 28.2482 | 3.1068 | 34 | 30.0256 | 93.282
1951 | 17.0753 | 16.6686 | 33.7439 | 5.4957 | 38 | 26.865 | 147.6409
1952 | 20.3488 | 20.0877 | 40.4365 | 6.6926 | 42 | 24.3064 | 162.6731
1953 | 24.6224 | 24.2209 | 48.8434 | 8.4069 | 44 | 23.2016 | 195.0529
1954 | 28.4822 | 28.628 | 57.1102 | 8.2668 | 46 | 22.1928 | 183.4646
1955 | 31.616 | 31.8489 | 63.4648 | 6.3546 | 48 | 21.2681 | 135.1511
1956 | 27.9669 | 31.3894 | 59.3563 | -4.1086 | 49 | 20.8341 | -85.5984
1957 | 32.1872 | 33.0059 | 65.1932 | 5.8369 | 50 | 20.4174 | 119.1738
1958 | 35.7218 | 34.916 | 70.6378 | 5.4447 | 51 | 20.0171 | 108.9861
1959 | 39.0891 | 38.0989 | 77.188 | 6.5502 | 55 | 18.5613 | 121.5796
1960 | 40.7433 | 39.0745 | 79.8179 | 2.6299 | 55 | 18.5613 | 48.814
1961 | 41.5419 | 40.8736 | 82.4155 | 2.5977 | 56 | 18.2298 | 47.3547
1962 | 42.507 | 41.1707 | 83.6777 | 1.2622 | 58 | 17.6012 | 22.2157
1963 | 48.8905 | 45.3224 | 94.2128 | 10.5351 | 59 | 17.3029 | 182.2881
1964 | 51.3732 | 47.3549 | 98.728 | 4.5152 | 60 | 17.0145 | 76.8239
1965 | 51.7875 | 49.3074 | 101.0949 | 2.3669 | 63 | 16.2043 | 38.3531
1966 | 72.6981 | 65.1988 | 137.897 | 36.8021 | 64 | 15.9511 | 587.0334
1967 | 75.4301 | 66.534 | 141.9641 | 4.0671 | 67 | 15.2369 | 61.97
1968 | 79.1912 | 74.3907 | 153.582 | 11.6179 | 71 | 14.3784 | 167.0467
1969 | 82.8443 | 74.9163 | 157.7607 | 4.1787 | 74 | 13.7955 | 57.6477
1970 | 100.8006 | 82.9533 | 183.754 | 25.9933 | 78 | 13.0881 | 340.2019
1971 | 102.1999 | 86.398 | 188.5979 | 4.844 | 86 | 11.8706 | 57.5005
1972 | 112.5366 | 91.2158 | 203.7525 | 15.1546 | 93 | 10.9771 | 166.3531
1973 | 124.7349 | 106.9453 | 231.6802 | 27.9277 | 99 | 10.3118 | 287.9856
1974 | 136.8974 | 117.1997 | 254.0971 | 22.4169 | 109 | 9.3658 | 209.9516
1975 | 149.6853 | 119.3303 | 269.0157 | 14.9186 | 123 | 8.2998 | 123.8207
1976 | 161.3023 | 128.1456 | 289.4479 | 20.4322 | 145 | 7.0405 | 143.8523
1977 | 171.1451 | 141.5226 | 312.6677 | 23.2198 | 164 | 6.2248 | 144.5389
1978 | 185.9632 | 148.0437 | 334.0069 | 21.3392 | 188 | 5.4302 | 115.8753
1979 | 200.7812 | 154.5649 | 355.3461 | 21.3392 | 208 | 4.908 | 104.7334
1980 | 215.5993 | 161.086 | 376.6853 | 21.3392 | 246 | 4.1499 | 88.5551
1981 | 230.4173 | 167.6072 | 398.0245 | 21.3392 | 284 | 3.5946 | 76.7062
1982 | 230.6246 | 173.1635 | 403.7881 | 5.7636 | 328 | 3.1124 | 17.9386
1983 | 235.6276 | 178.3946 | 414.0222 | 10.2341 | 370 | 2.7591 | 28.2369
1984 | 277.57 | 192.6127 | 470.1826 | 56.1605 | 383 | 2.6655 | 149.6933
1985 | 327.9645 | 235.6793 | 563.6438 | 93.4612 | 434 | 2.3522 | 219.8425
1986 | 339.7783 | 249.5023 | 589.2807 | 25.6368 | 490 | 2.0834 | 53.412

## Indices
Reserve Bank CPI March Year: June 2006 = 1000 adjusted to remove GST - see CPI Source sheet
1905 | 27
1906 | 27
1907 | 27
1908 | 27
1909 | 27
1910 | 27
1911 | 27
1912 | 27
1913 | 27
1914 | 27
1915 | 27
1916 | 27
1917 | 27
1918 | 27
1919 | 27
1920 | 27
1921 | 29
1922 | 26
1923 | 25
1924 | 26
1925 | 25
1926 | 26
1927 | 26
1928 | 25
1929 | 25
1930 | 25
1931 | 24
1932 | 22
1933 | 20
1934 | 20
1935 | 21
1936 | 21
1937 | 23
1938 | 24
1939 | 25
1940 | 26
1941 | 27
1942 | 27
1943 | 29
1944 | 29
1945 | 30
1946 | 30
1947 | 30
1948 | 33
1949 | 34
1950 | 34
1951 | 38
1952 | 42
1953 | 44
1954 | 46
1955 | 48
1956 | 49
1957 | 50
1958 | 51
1959 | 55
1960 | 55
1961 | 56
1962 | 58
1963 | 59
1964 | 60
1965 | 63
1966 | 64
1967 | 67
1968 | 71
1969 | 74
1970 | 78
1971 | 86
1972 | 93
1973 | 99
1974 | 109
1975 | 123
1976 | 145
1977 | 164
1978 | 188
1979 | 208
1980 | 246
1981 | 284
1982 | 328
1983 | 370
1984 | 383
1985 | 434
1986 | 490
1987 | 552.381
1988 | 574.5455
1989 | 598.1818
1990 | 625.7778
1991 | 654.2222
1992 | 658.6667
1993 | 665.7778
1994 | 673.7778
1995 | 701.3333
1996 | 716.4444
1997 | 729.7778
1998 | 738.6667
1999 | 737.7778
2000 | 749.3333
2001 | 772.4444
2002 | 792
2003 | 811.5556
2004 | 824.8889
2005 | 847.1111
2006 | 875.5556
2007 | 897.7778
2008 | 928
2009 | 955.5556
2010 | 975.1111
2011 | 1007.4725
2012 | 1012.1739
2013 | 1020.8696

## CPI Source
M1 Consumers price index (CPI) |  |  |  | (Reserve Bank - see http://www.rbnz.govt.nz/statistics/economic_indicators/m1/data.html)
| Consumers price index (CPI) |  |  | Quarter : | 1900-03-01
| (Index) | (q/q%) | (y/y%)
[6 empty] | CPI | GST | CPI less GST
1920-03-31 | 27 | .. | 11.9 |  | 1920-01-01 | 27 | 0% | 27
1920-06-30 | - | .. | - |  | 1921-01-01 | 29 | 0% | 29
1920-09-30 | 29 | .. | 15.4 |  | 1922-01-01 | 26 | 0% | 26
1920-12-31 | - | .. | - |  | 1923-01-01 | 25 | 0% | 25
1921-03-31 | 29 | .. | 8.7 |  | 1924-01-01 | 26 | 0% | 26
1921-06-30 | - | .. | - |  | 1925-01-01 | 25 | 0% | 25
1921-09-30 | 28 | .. | -1.8 |  | 1926-01-01 | 26 | 0% | 26
1921-12-31 | - | .. | - |  | 1927-01-01 | 26 | 0% | 26
1922-03-31 | 26 | .. | -11.1 |  | 1928-01-01 | 25 | 0% | 25
1922-06-30 | - | .. | - |  | 1929-01-01 | 25 | 0% | 25
1922-09-30 | 25 | .. | -10.8 |  | 1930-01-01 | 25 | 0% | 25
1922-12-31 | - | .. | - |  | 1931-01-01 | 24 | 0% | 24
1923-03-31 | 25 | .. | -4.8 |  | 1932-01-01 | 22 | 0% | 22
1923-06-30 | - | .. | - |  | 1933-01-01 | 20 | 0% | 20
1923-09-30 | 25 | .. | -0.4 |  | 1934-01-01 | 20 | 0% | 20
1923-12-31 | - | .. | - |  | 1935-01-01 | 21 | 0% | 21
1924-03-31 | 26 | .. | 3.2 |  | 1936-01-01 | 21 | 0% | 21
1924-06-30 | - | .. | - |  | 1937-01-01 | 23 | 0% | 23
1924-09-30 | 25 | .. | 1.1 |  | 1938-01-01 | 24 | 0% | 24
1924-12-31 | - | .. | - |  | 1939-01-01 | 25 | 0% | 25
1925-03-31 | 25 | .. | -1.5 |  | 1940-01-01 | 26 | 0% | 26
1925-06-30 | - | .. | - |  | 1941-01-01 | 27 | 0% | 27
1925-09-30 | 26 | - | 1.8 |  | 1942-01-01 | 27 | 0% | 27
1925-12-31 | 26 | 0.3 | - |  | 1943-01-01 | 29 | 0% | 29
1926-03-31 | 26 | -0.7 | 1.8 |  | 1944-01-01 | 29 | 0% | 29
1926-06-30 | 26 | 0.4 | - |  | 1945-01-01 | 30 | 0% | 30
1926-09-30 | 26 | 0.1 | 0.1 |  | 1946-01-01 | 30 | 0% | 30
1926-12-31 | 26 | -0.4 | -0.6 |  | 1947-01-01 | 30 | 0% | 30
1927-03-31 | 26 | -0.2 | -0.1 |  | 1948-01-01 | 33 | 0% | 33
1927-06-30 | 26 | -0.4 | -0.9 |  | 1949-01-01 | 34 | 0% | 34
1927-09-30 | 25 | -0.4 | -1.4 |  | 1950-01-01 | 34 | 0% | 34
1927-12-31 | 25 | 0.1 | -0.9 |  | 1951-01-01 | 38 | 0% | 38
1928-03-31 | 25 | - | -0.7 |  | 1952-01-01 | 42 | 0% | 42
1928-06-30 | 26 | 0.6 | 0.2 |  | 1953-01-01 | 44 | 0% | 44
1928-09-30 | 25 | -0.5 | 0.2 |  | 1954-01-01 | 46 | 0% | 46
1928-12-31 | 26 | 0.5 | 0.6 |  | 1955-01-01 | 48 | 0% | 48
1929-03-31 | 25 | -0.6 | 0.1 |  | 1956-01-01 | 49 | 0% | 49
1929-06-30 | 25 | -0.2 | -0.7 |  | 1957-01-01 | 50 | 0% | 50
1929-09-30 | 25 | 0.3 | 0 |  | 1958-01-01 | 51 | 0% | 51
1929-12-31 | 25 | - | -0.5 |  | 1959-01-01 | 55 | 0% | 55
1930-03-31 | 25 | -0.7 | -0.6 |  | 1960-01-01 | 55 | 0% | 55
1930-06-30 | 25 | -0.6 | -1 |  | 1961-01-01 | 56 | 0% | 56
1930-09-30 | 25 | -1 | -2.3 |  | 1962-01-01 | 58 | 0% | 58
1930-12-31 | 24 | -1.7 | -4 |  | 1963-01-01 | 59 | 0% | 59
1931-03-31 | 24 | -3.2 | -6.4 |  | 1964-01-01 | 60 | 0% | 60
1931-06-30 | 23 | -2 | -7.8 |  | 1965-01-01 | 63 | 0% | 63
1931-09-30 | 23 | -2.4 | -9.1 |  | 1966-01-01 | 64 | 0% | 64
1931-12-31 | 23 | -0.3 | -7.8 |  | 1967-01-01 | 67 | 0% | 67
1932-03-31 | 22 | -1.5 | -6.1 |  | 1968-01-01 | 71 | 0% | 71
1932-06-30 | 21 | -4.1 | -8.1 |  | 1969-01-01 | 74 | 0% | 74
1932-09-30 | 21 | -2.1 | -7.9 |  | 1970-01-01 | 78 | 0% | 78
1932-12-31 | 20 | -1.8 | -9.2 |  | 1971-01-01 | 86 | 0% | 86
1933-03-31 | 20 | -1.1 | -8.9 |  | 1972-01-01 | 93 | 0% | 93
1933-06-30 | 20 | -0.1 | -5.1 |  | 1973-01-01 | 99 | 0% | 99
1933-09-30 | 20 | - | -3 |  | 1974-01-01 | 109 | 0% | 109
1933-12-31 | 20 | 0.5 | -0.7 |  | 1975-01-01 | 123 | 0% | 123
1934-03-31 | 20 | 0.5 | 0.9 |  | 1976-01-01 | 145 | 0% | 145
1934-06-30 | 21 | 1 | 2 |  | 1977-01-01 | 164 | 0% | 164
1934-09-30 | 20 | -0.6 | 1.4 |  | 1978-01-01 | 188 | 0% | 188
1934-12-31 | 21 | 0.4 | 1.3 |  | 1979-01-01 | 208 | 0% | 208
1935-03-31 | 21 | 2 | 2.7 |  | 1980-01-01 | 246 | 0% | 246
1935-06-30 | 21 | 1.1 | 2.8 |  | 1981-01-01 | 284 | 0% | 284
1935-09-30 | 21 | 0.4 | 3.8 |  | 1982-01-01 | 328 | 0% | 328
1935-12-31 | 22 | 2 | 5.6 |  | 1983-01-01 | 370 | 0% | 370
1936-03-31 | 21 | -1.8 | 1.7 |  | 1984-01-01 | 383 | 0% | 383
1936-06-30 | 22 | 1.9 | 2.5 |  | 1985-01-01 | 434 | 0% | 434
1936-09-30 | 22 | 1.6 | 3.8 |  | 1986-01-01 | 490 | 0% | 490
1936-12-31 | 22 | 1.5 | 3.3 |  | 1987-01-01 | 580 | 5% | 552.381
1937-03-31 | 23 | 1.7 | 6.9 |  | 1988-01-01 | 632 | 10% | 574.5455
1937-06-30 | 23 | 2.3 | 7.4 |  | 1989-01-01 | 658 | 10% | 598.1818
1937-09-30 | 24 | 0.9 | 6.6 |  | 1990-01-01 | 704 | 12.5% | 625.7778
1937-12-31 | 24 | 2.2 | 7.2 |  | 1991-01-01 | 736 | 12.5% | 654.2222
1938-03-31 | 24 | -0.4 | 5 |  | 1992-01-01 | 741 | 12.5% | 658.6667
1938-06-30 | 24 | 0.8 | 3.5 |  | 1993-01-01 | 749 | 12.5% | 665.7778
1938-09-30 | 24 | 0.1 | 2.7 |  | 1994-01-01 | 758 | 12.5% | 673.7778
1938-12-31 | 24 | 0.1 | 0.6 |  | 1995-01-01 | 789 | 12.5% | 701.3333
1939-03-31 | 25 | 1.7 | 2.8 |  | 1996-01-01 | 806 | 12.5% | 716.4444
1939-06-30 | 25 | 1.4 | 3.4 |  | 1997-01-01 | 821 | 12.5% | 729.7778
1939-09-30 | 25 | 1.2 | 4.5 |  | 1998-01-01 | 831 | 12.5% | 738.6667
1939-12-31 | 26 | 3.1 | 7.7 |  | 1999-01-01 | 830 | 12.5% | 737.7778
1940-03-31 | 26 | -1.3 | 4.5 |  | 2000-01-01 | 843 | 12.5% | 749.3333
1940-06-30 | 26 | 1.6 | 4.7 |  | 2001-01-01 | 869 | 12.5% | 772.4444
1940-09-30 | 26 | 1.3 | 4.7 |  | 2002-01-01 | 891 | 12.5% | 792
1940-12-31 | 27 | 1.2 | 2.7 |  | 2003-01-01 | 913 | 12.5% | 811.5556
1941-03-31 | 27 | 0.2 | 4.2 |  | 2004-01-01 | 928 | 12.5% | 824.8889
1941-06-30 | 27 | 1.2 | 3.9 |  | 2005-01-01 | 953 | 12.5% | 847.1111
1941-09-30 | 27 | 0.4 | 3 |  | 2006-01-01 | 985 | 12.5% | 875.5556
1941-12-31 | 28 | 2 | 3.8 |  | 2007-01-01 | 1010 | 12.5% | 897.7778
1942-03-31 | 27 | -1.3 | 2.3 |  | 2008-01-01 | 1044 | 12.5% | 928
1942-06-30 | 28 | 1.6 | 2.6 |  | 2009-01-01 | 1075 | 12.5% | 955.5556
1942-09-30 | 28 | 1.9 | 4.2 |  | 2010-01-01 | 1097 | 12.5% | 975.1111
1942-12-31 | 29 | 1.7 | 3.9 |  | 2011-01-01 | 1146 | 13.75% | 1007.4725
1943-03-31 | 29 | -1.2 | 4 |  | 2012-01-01 | 1164 | 15% | 1012.1739
1943-06-30 | 29 | 0.3 | 2.6 |  | 2013-01-01 | 1174 | 15% | 1020.8696
1943-09-30 | 29 | 1.1 | 1.8
1943-12-31 | 29 | 1.3 | 1.4
1944-03-31 | 29 | -0.9 | 1.8
1944-06-30 | 29 | 0.5 | 2
1944-09-30 | 29 | 0.7 | 1.7
1944-12-31 | 30 | 1.1 | 1.5
1945-03-31 | 30 | -0.6 | 1.7
1945-06-30 | 30 | 0.1 | 1.3
1945-09-30 | 30 | 0.5 | 1.1
1945-12-31 | 30 | 1.3 | 1.3
1946-03-31 | 30 | -0.9 | 0.9
1946-06-30 | 30 | 0.2 | 1
1946-09-30 | 30 | 0.8 | 1.3
1946-12-31 | 30 | -0.2 | -0.2
1947-03-31 | 30 | -0.4 | 0.3
1947-06-30 | 30 | 0.7 | 0.9
1947-09-30 | 31 | 1.7 | 1.8
1947-12-31 | 33 | 8 | 10.1
1948-03-31 | 33 | -0.5 | 10.1
1948-06-30 | 33 | 1.2 | 10.6
1948-09-30 | 34 | 0.7 | 9.5
1948-12-31 | 34 | 0.2 | 1.6
1949-03-31 | 34 | - | 2.1
1949-06-30 | 34 | 0.2 | 1.1
1949-09-30 | 34 | 1.2 | 1.6
1949-12-31 | 34 | 0.4 | 1.8
1950-03-31 | 34 | 0.2 | 2
1950-06-30 | 35 | 3.1 | 5
1950-09-30 | 37 | 3.3 | 7.2
1950-12-31 | 37 | 1.7 | 8.5
1951-03-31 | 38 | 1.4 | 9.9
1951-06-30 | 39 | 4.3 | 11.1
1951-09-30 | 41 | 3.3 | 11
1951-12-31 | 42 | 2.5 | 11.9
1952-03-31 | 42 | 1.3 | 11.8
1952-06-30 | 43 | 1.4 | 8.6
1952-09-30 | 43 | 1.1 | 6.4
1952-12-31 | 43 | 0.8 | 4.6
1953-03-31 | 44 | 1 | 4.3
1953-06-30 | 44 | 1.1 | 4.1
1953-09-30 | 45 | 1.1 | 4.1
1953-12-31 | 46 | 2.2 | 5.6
1954-03-31 | 46 | 0.8 | 5.4
1954-06-30 | 47 | 1.7 | 5.9
1954-09-30 | 47 | 0.1 | 4.9
1954-12-31 | 47 | -0.2 | 2.4
1955-03-31 | 48 | 1.4 | 3
1955-06-30 | 48 | 1 | 2.3
1955-09-30 | 48 | 0.1 | 2.3
1955-12-31 | 48 | - | 2.5
1956-03-31 | 49 | 1 | 2.2
1956-06-30 | 49 | 1.4 | 2.6
1956-09-30 | 50 | 2.1 | 4.6
1956-12-31 | 50 | - | 4.6
1957-03-31 | 50 | -0.8 | 2.8
1957-06-30 | 51 | 1.4 | 2.8
1957-09-30 | 51 | 0.7 | 1.3
1957-12-31 | 51 | 0.5 | 1.8
1958-03-31 | 51 | 0.1 | 2.7
1958-06-30 | 52 | 1 | 2.3
1958-09-30 | 54 | 4.6 | 6.3
1958-12-31 | 55 | 0.6 | 6.5
1959-03-31 | 55 | 0.2 | 6.5
1959-06-30 | 55 | 0.3 | 5.7
1959-09-30 | 55 | 1.1 | 2.1
1959-12-31 | 55 | -0.3 | 1.1
1960-03-31 | 55 | -0.4 | 0.5
1960-06-30 | 55 | 0.2 | 0.4
1960-09-30 | 56 | 0.9 | 0.3
1960-12-31 | 56 | 1 | 1.6
1961-03-31 | 56 | -0.4 | 1.6
1961-06-30 | 56 | - | 1.4
1961-09-30 | 57 | 1.5 | 2.1
1961-12-31 | 57 | 1 | 2.1
1962-03-31 | 58 | 0.3 | 2.9
1962-06-30 | 58 | 0.3 | 3.3
1962-09-30 | 58 | 0.7 | 2.5
1962-12-31 | 59 | 0.7 | 2.1
1963-03-31 | 59 | 0.1 | 1.8
1963-06-30 | 59 | 0.4 | 1.9
1963-09-30 | 59 | 0.7 | 1.9
1963-12-31 | 60 | 1 | 2.2
1964-03-31 | 60 | 0.4 | 2.5
1964-06-30 | 61 | 0.9 | 3
1964-09-30 | 62 | 1.5 | 3.8
1964-12-31 | 63 | 1.6 | 4.5
1965-03-31 | 63 | 0.2 | 4.3
1965-06-30 | 63 | 0.2 | 3.6
1965-09-30 | 64 | 1.3 | 3.4
1965-12-31 | 64 | 0.7 | 2.4
1966-03-31 | 64 | 0.7 | 2.8
1966-06-30 | 65 | 0.6 | 3.3
1966-09-30 | 65 | 0.6 | 2.6
1966-12-31 | 66 | 0.5 | 2.4
1967-03-31 | 67 | 2.5 | 4.2
1967-06-30 | 69 | 2.7 | 6.4
1967-09-30 | 70 | 1.1 | 7
1967-12-31 | 70 | 0.1 | 6.6
1968-03-31 | 71 | 1 | 5
1968-06-30 | 71 | 1.3 | 3.6
1968-09-30 | 72 | 1.2 | 3.6
1968-12-31 | 73 | 1.5 | 5.1
1969-03-31 | 74 | 1.4 | 5.5
1969-06-30 | 75 | 1.1 | 5.2
1969-09-30 | 76 | 1 | 5.1
1969-12-31 | 76 | 0.4 | 4
1970-03-31 | 78 | 2.2 | 4.8
1970-06-30 | 79 | 1.5 | 5.2
1970-09-30 | 81 | 1.8 | 6.1
1970-12-31 | 84 | 4.1 | 10
1971-03-31 | 86 | 2.5 | 10.3
1971-06-30 | 88 | 2.2 | 11
1971-09-30 | 90 | 1.9 | 11.1
1971-12-31 | 92 | 2.2 | 9.1
1972-03-31 | 93 | 1.9 | 8.5
1972-06-30 | 94 | 1.2 | 7.4
1972-09-30 | 95 | 1.1 | 6.5
1972-12-31 | 96 | 1.2 | 5.5
1973-03-31 | 99 | 2.4 | 6
1973-06-30 | 101 | 2.8 | 7.6
1973-09-30 | 104 | 2.3 | 8.9
1973-12-31 | 106 | 2.4 | 10.2
1974-03-31 | 109 | 2.5 | 10.3
1974-06-30 | 112 | 2.4 | 10
1974-09-30 | 116 | 3.7 | 11.5
1974-12-31 | 120 | 3.3 | 12.6
1975-03-31 | 123 | 3.1 | 13.2
1975-06-30 | 128 | 4 | 14.9
1975-09-30 | 133 | 3.6 | 14.8
1975-12-31 | 138 | 4.1 | 15.7
1976-03-31 | 145 | 4.4 | 17.2
1976-06-30 | 151 | 4.5 | 17.7
1976-09-30 | 156 | 3.2 | 17.2
1976-12-31 | 160 | 2.8 | 15.6
1977-03-31 | 164 | 2.6 | 13.7
1977-06-30 | 172 | 4.8 | 14
1977-09-30 | 178 | 3.5 | 14.4
1977-12-31 | 185 | 3.6 | 15.3
1978-03-31 | 188 | 2 | 14.6
1978-06-30 | 193 | 2.6 | 12.3
1978-09-30 | 198 | 2.5 | 11.1
1978-12-31 | 203 | 2.6 | 10.1
1979-03-31 | 208 | 2.3 | 10.4
1979-06-30 | 217 | 4.5 | 12.4
1979-09-30 | 228 | 5 | 15.2
1979-12-31 | 237 | 3.8 | 16.5
1980-03-31 | 246 | 3.9 | 18.4
1980-06-30 | 256 | 4.1 | 17.9
1980-09-30 | 265 | 3.6 | 16.3
1980-12-31 | 275 | 3.6 | 16.1
1981-03-31 | 284 | 3.1 | 15.2
1981-06-30 | 295 | 4 | 15.1
1981-09-30 | 306 | 3.9 | 15.4
1981-12-31 | 318 | 3.9 | 15.7
1982-03-31 | 328 | 3.2 | 15.8
1982-06-30 | 345 | 5 | 17
1982-09-30 | 357 | 3.6 | 16.6
1982-12-31 | 367 | 2.7 | 15.3
1983-03-31 | 370 | 0.8 | 12.6
1983-06-30 | 374 | 1 | 8.3
1983-09-30 | 377 | 0.8 | 5.4
1983-12-31 | 380 | 0.9 | 3.6
1984-03-31 | 383 | 0.7 | 3.5
1984-06-30 | 391 | 2.2 | 4.7
1984-09-30 | 403 | 3 | 7
1984-12-31 | 416 | 3.2 | 9.4
1985-03-31 | 434 | 4.4 | 13.4
1985-06-30 | 456 | 5.1 | 16.6
1985-09-30 | 469 | 2.8 | 16.3
1985-12-31 | 479 | 2.3 | 15.3
1986-03-31 | 490 | 2.3 | 13
1986-06-30 | 504 | 2.7 | 10.4
1986-09-30 | 520 | 3.3 | 11
1986-12-31 | 567 | 8.9 | 18.2
1987-03-31 | 580 | 2.3 | 18.3
1987-06-30 | 599 | 3.3 | 18.9
1987-09-30 | 609 | 1.6 | 16.9
1987-12-31 | 621 | 2.1 | 9.6
1988-03-31 | 632 | 1.8 | 9
1988-06-30 | 637 | 0.8 | 6.3
1988-09-30 | 643 | 0.9 | 5.6
1988-12-31 | 650 | 1.2 | 4.7
1989-03-31 | 658 | 1.1 | 4
1989-06-30 | 665 | 1.2 | 4.4
1989-09-30 | 689 | 3.5 | 7.2
1989-12-31 | 697 | 1.2 | 7.2
1990-03-31 | 704 | 0.9 | 7
1990-06-30 | 716 | 1.8 | 7.6
1990-09-30 | 723 | 1 | 5
1990-12-31 | 731 | 1.1 | 4.9
1991-03-31 | 736 | 0.6 | 4.5
1991-06-30 | 736 | 0.1 | 2.8
1991-09-30 | 739 | 0.4 | 2.2
1991-12-31 | 738 | -0.1 | 1
1992-03-31 | 741 | 0.4 | 0.8
1992-06-30 | 743 | 0.3 | 1
1992-09-30 | 746 | 0.3 | 1
1992-12-31 | 748 | 0.3 | 1.3
1993-03-31 | 749 | 0.1 | 1
1993-06-30 | 753 | 0.6 | 1.3
1993-09-30 | 757 | 0.5 | 1.5
1993-12-31 | 758 | 0.2 | 1.4
1994-03-31 | 758 | - | 1.3
1994-06-30 | 761 | 0.4 | 1.1
1994-09-30 | 771 | 1.2 | 1.8
1994-12-31 | 780 | 1.2 | 2.8
1995-03-31 | 789 | 1.2 | 4
1995-06-30 | 796 | 1 | 4.6
1995-09-30 | 798 | 0.2 | 3.5
1995-12-31 | 802 | 0.6 | 2.9
1996-03-31 | 806 | 0.5 | 2.2
1996-06-30 | 812 | 0.8 | 2
1996-09-30 | 817 | 0.6 | 2.4
1996-12-31 | 823 | 0.7 | 2.6
1997-03-31 | 821 | -0.3 | 1.8
1997-06-30 | 821 | 0.1 | 1.1
1997-09-30 | 825 | 0.5 | 1
1997-12-31 | 830 | 0.6 | 0.8
1998-03-31 | 831 | 0.2 | 1.3
1998-06-30 | 835 | 0.5 | 1.7
1998-09-30 | 840 | 0.5 | 1.7
1998-12-31 | 833 | -0.8 | 0.4
1999-03-31 | 830 | -0.3 | -0.1
1999-06-30 | 832 | 0.2 | -0.4
1999-09-30 | 835 | 0.4 | -0.5
1999-12-31 | 837 | 0.2 | 0.5
2000-03-31 | 843 | 0.7 | 1.5
2000-06-30 | 849 | 0.7 | 2
2000-09-30 | 860 | 1.4 | 3
2000-12-31 | 870 | 1.2 | 4
2001-03-31 | 869 | -0.2 | 3.1
2001-06-30 | 876 | 0.9 | 3.2
2001-09-30 | 881 | 0.6 | 2.4
2001-12-31 | 886 | 0.6 | 1.8
2002-03-31 | 891 | 0.6 | 2.6
2002-06-30 | 900 | 1 | 2.8
2002-09-30 | 904 | 0.5 | 2.6
2002-12-31 | 910 | 0.6 | 2.7
2003-03-31 | 913 | 0.4 | 2.5
2003-06-30 | 913 | - | 1.5
2003-09-30 | 918 | 0.5 | 1.5
2003-12-31 | 924 | 0.7 | 1.6
2004-03-31 | 928 | 0.4 | 1.5
2004-06-30 | 935 | 0.8 | 2.4
2004-09-30 | 941 | 0.6 | 2.5
2004-12-31 | 949 | 0.9 | 2.7
2005-03-31 | 953 | 0.4 | 2.8
2005-06-30 | 962 | 0.9 | 2.8
2005-09-30 | 973 | 1.1 | 3.4
2005-12-31 | 979 | 0.7 | 3.2
2006-03-31 | 985 | 0.6 | 3.3
2006-06-30 | 1000 | 1.5 | 4
2006-09-30 | 1007 | 0.7 | 3.5
2006-12-31 | 1005 | -0.2 | 2.6
2007-03-31 | 1010 | 0.5 | 2.5
2007-06-30 | 1020 | 1 | 2
2007-09-30 | 1025 | 0.5 | 1.8
2007-12-31 | 1037 | 1.2 | 3.2
2008-03-31 | 1044 | 0.7 | 3.4
2008-06-30 | 1061 | 1.6 | 4
2008-09-30 | 1077 | 1.5 | 5.1
2008-12-31 | 1072 | -0.5 | 3.4
2009-03-31 | 1075 | 0.3 | 3
2009-06-30 | 1081 | 0.6 | 1.9
2009-09-30 | 1095 | 1.3 | 1.7
2009-12-31 | 1093 | -0.2 | 2
2010-03-31 | 1097 | 0.4 | 2
2010-06-30 | 1099 | 0.2 | 1.7
2010-09-30 | 1111 | 1.1 | 1.5
2010-12-31 | 1137 | 2.3 | 4
2011-03-31 | 1146 | 0.8 | 4.5
2011-06-30 | 1157 | 1 | 5.3
2011-09-30 | 1162 | 0.4 | 4.6
2011-12-31 | 1158 | -0.3 | 1.8
2012-03-31 | 1164 | 0.5 | 1.6
2012-06-30 | 1168 | 0.3 | 1
2012-09-30 | 1171 | 0.3 | 0.8
2012-12-31 | 1169 | -0.2 | 0.9
2013-03-31 | 1174 | 0.4 | 0.9
Last updated 17 May 2013
Source: Statistics New Zealand
Note on O5: Kirtlab: Some items in the CPI basket exclude GST, so this index may slightly understate underlying inflation.
Note on N73: Kirtlab: GST introduced October 1986
Note on N76: Kirtlab: Changed from 10% to 12.5% in July 1989
Note on N97: Kirtlab: GST rose to 15% effective 1 October 2010 Have split the difference between 12.5% and 15% to approximate the full year impact for the year ended March