## General notes
This spreadsheet provides information on charges applying to distributors, and to consumers served by distributors, under four beneficiaries-pay options and the status quo.
Caveats
The figures provided are estimates only and are based on a number of assumptions. Accordingly, they should not be treated as forecasts,
but rather as broad indications of the impact on consumer charges as a result of potential changes to the TPM.
The analysis in this spreadsheet does not consider the extent to which the beneficiaries-pay options may promote more efficient investment and operation in the electricity sector.
If the options were effective in achieving this, over the long term consumers would face lower prices relative to what they would face if the status quo were maintained.
Modelling approach
All modelling results in this spreadsheet are based on a simulated 12-month scenario, perhaps representing the 2017 calendar year.
The scenario is based on actual outcomes in 2012, with various changes such as increased demand, new generation, and new transmission investment (as set out in the beneficiaries-pay consultation paper).
Note that the beneficiaries-pay charging options modelled (both here and in the paper) differ in some respects from the approach the working paper indicates would be applied if the options were implemented.
For instance, in the modelling shown here, the Simplified SPD charge does not consider (dis)benefits to IR providers.
The Authority's proposal, however, is that any Simplified SPD charge should include (dis)benefits to IR providers.
Spreadsheet d shows how the results of the Simplified SPD option are sensitive to changes in demand-side assumptions.
Under all five options, connection charges and static reactive support charges are not considered.
The distribution of LCE is also not considered.
Only beneficiaries-pay charges and residual charges are considered, along with HVDC charges and interconnection (RCPD) charges for modelling of the status quo.
Options modelled
All the beneficiaries-pay charging options shown in this spreadsheet, and the associated modelling results, are consistent with those in the beneficiaries-pay consultation paper.
The four beneficiaries-pay options are:
- Simplified SPD
- GIT then SPD
- SPD then GIT
- Zonal SPD.
For the purpose of the analysis in this spreadsheet, it is assumed that (under all four beneficiaries-pay options) the residual charge will be split 50% between RCPD and RCPI.
The status quo option comprises a HVDC charge on South Island generators, and a RCPD charge that recovers all other interconnection costs.
Structure of this spreadsheet
The spreadsheet has four data sheets:
- "Beneficiaries-pay incidence" - which provides simulated beneficiaries-pay charges ($), and mean charging rates ($/MWh), applying to distributors under the four beneficiaries-pay options
- "Residual charge incidence" - which provides simulated residual charges ($), and mean charging rates ($/MWh), applying to distributors under the four beneficiaries-pay options and the status quo
- "Generator passthrough estimates" - which seeks to suggest how charges faced by generators might affect energy prices (and hence costs to end consumers) - under the same five options.
- "Total effect on end consumers" - which combines the simulated effects on end consumers from the three sheets above, to form a view of the overall price effect.

## Beneficiaries-pay notes
The following sheet provides simulated beneficiaries-pay charges ($), and mean charging rates ($/MWh), applying to distributors under four beneficiaries-pay options.
For the purpose of this analysis, it is assumed that beneficiaries-pay charges on mass-market load are levied on distributors rather than retailers.
If these charges were instead to be levied on retailers, then it should still be reasonable to assume that the charging rates shown were indicative of the likely effect on end consumers in each network area.
Only charges on distributors in their capacity as distributors are shown - charges on load and embedded generation owned by network companies are not included.
The four options shown here are consistent with those used for the modelling in the consultation paper, and are briefly described below.
Spreadsheet b shows how the results of the Simplified SPD option are sensitive to changes in the method and key assumptions.
Simplified SPD charge
Covers the following investments: NIGU, NAaN, Wairakei Ring, BPE-HAY Reconductoring, HVDC Poles 2 and 3, USI Reactive, LSI Reliability, LSI Renewables.
Charges are calculated on gross benefit. Daily capping is applied.
Cost applying in event of non supply ("VoLL") of $3,000/MWh is assumed throughout.
Demand-side response is not modelled and (dis)benefits to IR providers are not considered.
Embedded generation over 10 MW is charged based on net injection.
"GIT then SPD" and "SPD then GIT" charges
GIT-based charge covers the following investments: NIGU, UNI Reactive, Otahuhu GIS, NAaN, USI Reactive, LSI Reliability.
SPD charge covers the following investments: Wairakei Ring, BPE-HAY Reconductoring, HVDC Poles 2 and 3, LSI Renewables.
Assumptions for the SPD charge are the same as above.
Zonal SPD charge
Covers the following interconnectors: CNI-UNI, LNI-CNI, SI-NI, CSI-USI, LSI-CSI.
Charges are calculated on gross benefit. Daily capping is applied.
"VoLL" assumptions are as set out in the consultation paper.
Demand-side response is not modelled and (dis)benefits to IR providers are not considered.
Embedded generation over 10 MW (by scheme) is charged based on net injection.
Also includes a within-zonal charge that covers intra-regional and non-asset-specific costs.
(As a result, the total amount of money to be recovered is much more than for the other options. On the other hand, no residual charge is required.)
The within-zonal charge is on all net offtake and net injection, with the rate remaining constant within each region.

## Beneficiaries-pay incidence
Distributor | Offtake (GWh) | Simplified SPD charge ($M) | Mean charging rate ($/MWh) | "GIT then SPD" charge ($M) | Mean charging rate ($/MWh) | "SPD then GIT" charge ($M) | Mean charging rate ($/MWh) | Zonal SPD charge ($M) | Mean charging rate ($/MWh)
Alpine Energy | 761.4372 | 3.1531 | 4.141 | 2.3536 | 3.091 | 3.1531 | 4.141 | 6.3723 | 8.3688
Aurora Energy | 1300.0056 | 5.6795 | 4.3689 | 4.2557 | 3.2736 | 5.6795 | 4.3689 | 17.067 | 13.1284
Buller Electricity | 120.1341 | 0.55501 | 4.6199 | 0.52478 | 4.3683 | 0.65239 | 5.4305 | 1.7435 | 14.5128
Counties Power | 486.0374 | 2.3229 | 4.7792 | 5.1959 | 10.6903 | 3.9309 | 8.0877 | 9.5125 | 19.5714
Eastland Network | 309.5183 | 0.69466 | 2.2443 | 0.40174 | 1.298 | 0.69466 | 2.2443 | 1.8412 | 5.9485
Electra | 475.562 | 1.3014 | 2.7366 | 0.72807 | 1.531 | 1.3014 | 2.7366 | 4.6809 | 9.8428
Electricity Ashburton | 561.8045 | 2.2969 | 4.0884 | 2.223 | 3.9569 | 2.7523 | 4.899 | 8.098 | 14.4143
Horizon Energy | 487.3714 | 1.042 | 2.1379 | 0.62007 | 1.2723 | 1.042 | 2.1379 | 2.8492 | 5.8461
Mainpower | 516.5292 | 2.2404 | 4.3374 | 2.0869 | 4.0402 | 2.6591 | 5.148 | 7.3543 | 14.2379
Marlborough Lines | 400.1521 | 1.8537 | 4.6326 | 1.722 | 4.3032 | 2.1781 | 5.4432 | 5.761 | 14.397
Network Tasman | 831.2106 | 3.7326 | 4.4905 | 3.4675 | 4.1716 | 4.4063 | 5.3011 | 11.4104 | 13.7274
Network Waitaki | 243.8515 | 1.0016 | 4.1073 | 0.75439 | 3.0936 | 1.0016 | 4.1073 | 1.5582 | 6.39
Northpower | 1062.3324 | 5.6133 | 5.284 | 20.0452 | 18.869 | 14.6158 | 13.7582 | 22.8438 | 21.5035
Orion | 3343.6034 | 14.8796 | 4.4502 | 13.9816 | 4.1816 | 17.59 | 5.2608 | 47.2055 | 14.1182
Powerco | 4217.2597 | 11.749 | 2.7859 | 6.2106 | 1.4727 | 11.749 | 2.7859 | 29.9712 | 7.1068
PowerNet | 1358.8754 | 6.6322 | 4.8806 | 5.4262 | 3.9932 | 6.6649 | 4.9047 | 15.54 | 11.4359
Scanpower | 93.5077 | 0.24772 | 2.6492 | 0.13741 | 1.4695 | 0.24772 | 2.6492 | 0.91707 | 9.8074
The Lines Company | 225.9701 | 0.69648 | 3.0822 | 0.33096 | 1.4646 | 0.69648 | 3.0822 | 1.458 | 6.4521
Top Energy | 175.5682 | 1.1642 | 6.6313 | 3.3712 | 19.2019 | 2.652 | 15.1055 | 3.7079 | 21.1193
Unison Networks | 1856.3531 | 4.1441 | 2.2324 | 2.4222 | 1.3048 | 4.1441 | 2.2324 | 11.4147 | 6.149
Vector | 8976.6282 | 46.5327 | 5.1838 | 119.7296 | 13.3379 | 91.2425 | 10.1644 | 166.3648 | 18.5331
Waipa Networks | 402.7143 | 1.3752 | 3.4147 | 0.62555 | 1.5533 | 1.3752 | 3.4147 | 2.4261 | 6.0243
WEL Networks | 1222.1112 | 4.391 | 3.5929 | 2.0703 | 1.6941 | 4.4612 | 3.6504 | 7.5589 | 6.1851
Wellington Electricity | 2710.1313 | 7.4346 | 2.7433 | 4.1969 | 1.5486 | 7.4346 | 2.7433 | 26.4779 | 9.77
Westpower | 246.894 | 1.1253 | 4.558 | 1.0596 | 4.2917 | 1.3255 | 5.3686 | 3.4289 | 13.8881
Combined | 32385.5627 | 131.8591 | 4.0715 | 203.9407 | 6.2973 | 193.6504 | 5.9795 | 417.5632 | 12.8935

## Residual charge notes
The following sheet provides simulated residual charges ($), and mean charging rates ($/MWh), applying to distributors under four beneficiaries-pay options and the status quo.
Under all four beneficiaries-pay options, it is assumed that the residual charge will be split 50% between RCPD (with N=12 for UNI and USI, and N=100 for LNI and LSI) and RCPI.
Under the status quo, it is assumed that HVDC charges will be paid by South Island generators as currently,
and that the remaining (residual) charge will be RCPD (again with N=12 for UNI and USI, and N=100 for LNI and LSI)
For the purpose of this analysis, it is assumed that RCPD charges on mass-market load are levied on distributors rather than retailers.
If these charges were instead to be levied on retailers, then it should still be reasonable to assume that the charging rates shown were indicative of the likely effect on end consumers in each network area.
Only charges on distributors in their capacity as distributors are shown - charges on load and embedded generation owned by network companies are not included.

## Residual charge incidence
|  | RCPD component of residual charge ($M) |  | RCPD component of residual charge ($M) |  | RCPD component of residual charge ($M) |  | RCPD component of residual charge ($M) |  | RCPD residual charge ($M) |  | Working
Distributor | Offtake (GWh) | assuming beneficiaries-pay uses Simplified SPD | Mean charging rate ($/MWh) | assuming beneficiaries-pay uses "GIT then SPD" | Mean charging rate ($/MWh) | assuming beneficiaries-pay uses "SPD then GIT" | Mean charging rate ($/MWh) | assuming beneficiaries-pay uses "Zonal SPD" | Mean charging rate ($/MWh) | under status quo option | Mean charging rate ($/MWh) | Allocation of RCPD charge (%)
Alpine Energy | 761.4372 | 3.809 | 5.0024 | 3.3541 | 4.4049 | 3.3513 | 4.4013 | 0 | 0 | 9.0447 | 11.8784 | 1.389%
Aurora Energy | 1300.0056 | 10.8283 | 8.3295 | 9.535 | 7.3346 | 9.5271 | 7.3285 | 0 | 0 | 25.7124 | 19.7787 | 3.949%
Buller Electricity | 120.1341 | 0.62687 | 5.2181 | 0.552 | 4.5948 | 0.55154 | 4.591 | 0 | 0 | 1.4885 | 12.3906 | 0.2286%
Counties Power | 486.0374 | 3.467 | 7.1332 | 3.0529 | 6.2812 | 3.0504 | 6.276 | 0 | 0 | 8.2325 | 16.9381 | 1.264%
Eastland Network | 309.5183 | 2.084 | 6.7329 | 1.8351 | 5.9287 | 1.8335 | 5.9238 | 0 | 0 | 4.9485 | 15.9876 | 0.76%
Electra | 475.562 | 3.7747 | 7.9374 | 3.3239 | 6.9894 | 3.3211 | 6.9836 | 0 | 0 | 8.9632 | 18.8477 | 1.377%
Electricity Ashburton | 561.8045 | 2.3071 | 4.1067 | 2.0316 | 3.6162 | 2.0299 | 3.6132 | 0 | 0 | 5.4784 | 9.7514 | 0.8414%
Horizon Energy | 487.3714 | 2.896 | 5.9422 | 2.5501 | 5.2324 | 2.548 | 5.2281 | 0 | 0 | 6.8768 | 14.1099 | 1.056%
Mainpower | 516.5292 | 3.4366 | 6.6532 | 3.0261 | 5.8586 | 3.0236 | 5.8537 | 0 | 0 | 8.1603 | 15.7983 | 1.253%
Marlborough Lines | 400.1521 | 2.6406 | 6.5989 | 2.3252 | 5.8107 | 2.3232 | 5.8059 | 0 | 0 | 6.2701 | 15.6694 | 0.963%
Network Tasman | 831.2106 | 5.9368 | 7.1423 | 5.2277 | 6.2892 | 5.2234 | 6.284 | 0 | 0 | 14.0971 | 16.9597 | 2.165%
Network Waitaki | 243.8515 | 1.3031 | 5.3436 | 1.1474 | 4.7054 | 1.1465 | 4.7015 | 0 | 0 | 3.0942 | 12.6887 | 0.4752%
Northpower | 1062.3324 | 6.2412 | 5.875 | 5.4958 | 5.1733 | 5.4912 | 5.169 | 0 | 0 | 14.82 | 13.9505 | 2.276%
Orion | 3343.6034 | 24.8089 | 7.4198 | 21.8458 | 6.5336 | 21.8277 | 6.5282 | 0 | 0 | 58.9098 | 17.6187 | 9.048%
Powerco | 4217.2597 | 29.704 | 7.0434 | 26.1562 | 6.2022 | 26.1346 | 6.1971 | 0 | 0 | 70.5336 | 16.725 | 10.83%
PowerNet | 1358.8754 | 9.0998 | 6.6966 | 8.0129 | 5.8967 | 8.0063 | 5.8918 | 0 | 0 | 21.6078 | 15.9013 | 3.319%
Scanpower | 93.5077 | 0.59935 | 6.4096 | 0.52777 | 5.6441 | 0.52733 | 5.6394 | 0 | 0 | 1.4232 | 15.22 | 0.2186%
The Lines Company | 225.9701 | 1.5445 | 6.8348 | 1.36 | 6.0184 | 1.3589 | 6.0135 | 0 | 0 | 3.6674 | 16.2295 | 0.5633%
Top Energy | 175.5682 | 1.8815 | 10.7165 | 1.6568 | 9.4365 | 1.6554 | 9.4287 | 0 | 0 | 4.4676 | 25.4467 | 0.6862%
Unison Networks | 1856.3531 | 13.4284 | 7.2338 | 11.8246 | 6.3698 | 11.8148 | 6.3645 | 0 | 0 | 31.8864 | 17.1769 | 4.897%
Vector | 8976.6282 | 71.0001 | 7.9094 | 62.52 | 6.9648 | 62.4682 | 6.959 | 0 | 0 | 168.593 | 18.7813 | 25.89%
Waipa Networks | 402.7143 | 2.4619 | 6.1132 | 2.1678 | 5.383 | 2.166 | 5.3786 | 0 | 0 | 5.8458 | 14.516 | 0.8978%
WEL Networks | 1222.1112 | 9.3258 | 7.6309 | 8.2119 | 6.7194 | 8.2051 | 6.7139 | 0 | 0 | 22.1444 | 18.1198 | 3.401%
Wellington Electricity | 2710.1313 | 21.6135 | 7.9751 | 19.032 | 7.0225 | 19.0163 | 7.0167 | 0 | 0 | 51.3222 | 18.9372 | 7.882%
Westpower | 246.894 | 1.2731 | 5.1563 | 1.121 | 4.5404 | 1.1201 | 4.5367 | 0 | 0 | 3.0229 | 12.2438 | 0.4643%
Combined | 32385.5627 | 236.092 | 7.29 | 207.8935 | 6.4193 | 207.7213 | 6.414 | 0 | 0 | 560.6108 | 17.3105 | 86.1%
All load incl DCs |  | 274.2 |  | 241.45 |  | 241.25 |  | 0 |  | 651.1
|  | Total annual amount to be recovered through | [7 empty] | HVDC charge is assumed to be ($M):
|  | beneficiaries-pay charge, residual charge and hVDC charge | [7 empty] | 125
is assumed to be ($M):
776.1

## Generator passthrough notes
The following sheet provides simulated charges applying to generators, and an indication of the possible pass-through to end consumers, under four beneficiaries-pay options and the status quo.
Under the four beneficiaries-pay options, charges faced by generators include:
- beneficiaries-pay charges
- 50% of the residual charge (as an RCPI charge on grid-connected generation).
Under the status quo option, the only charge faced by generators is the HVDC charge on South Island generation.
Other charges faced by generators (such as connection charges) are not considered. Distribution of LCE is not considered.
Three pass-through options are considered:
- nil pass-through - these transmission charges go to the generator's bottom line
- 50% pass-through - half these transmission charges are recovered by generators (in aggregate) through increased energy prices
- 100% pass-through - these transmission charges are fully recovered by generators (in aggregate) through increased energy prices.
It is assumed that any increase in energy prices is fully passed through from retailers to end consumers.
It is further assumed that load prices exceed generation prices by an average of 3%.

## Generator passthrough estimates
Total injection into the grid over the 12-month simulated period (GWh) | 42313.8
| Simplified SPD | GIT then SPD | SPD then GIT | Zonal SPD | Status quo
Total beneficiaries-pay charge on generation ($M) | 61.1745 | 51.4508 | 61.2464 | 266.2503 | 0
Estimated RCPI charge ($M) | 274.2 | 241.45 | 241.25 | 0 | 0
Estimated HVDC charge ($M) | 0 | 0 | 0 | 0 | 125
Total estimated charge on generation ($M) | 335.3745 | 292.9008 | 302.4964 | 266.2503 | 125
Estimated uplift in energy prices ($/MWh)
- with 0% pass-through | 0 | 0 | 0 | 0 | 0
- with 50% pass-through | 4.2043 | 3.6718 | 3.7921 | 3.3377 | 1.567
- with 100% pass-through | 8.1637 | 7.1298 | 7.3633 | 6.481 | 3.0427

## Total effect - notes
The figures shown are indicative of the likely effect on prices paid by end consumers in each distributor's area.
They are expressed as charging rates ($/MWh), and are the sum of estimated:
- beneficiaries-pay charges on mass-market load (as passed through by distributors and/or retailers)
- residual charges on mass-market load (as passed through by distributors and/or retailers)
- beneficiaries-pay, HVDC and residual charges on generation (as passed from generators to retailers to end consumers).
Three sets of figures are provided - assuming 0%, 50% and 100% generator pass-through respectively
(see the "Generator passthrough" sheets).

## Total effect on end consumers
| 0% generator pass-through |  |  |  |  | 50% generator pass-through |  |  |  |  | 100% generator pass-through
Distributor | With Simplified SPD charge | With "GIT then SPD" charge | With "SPD then GIT" charge | With Zonal SPD charge | Status quo | With Simplified SPD charge | With "GIT then SPD" charge | With "SPD then GIT" charge | With Zonal SPD charge | Status quo | With Simplified SPD charge | With "GIT then SPD" charge | With "SPD then GIT" charge | With Zonal SPD charge | Status quo
Alpine Energy | 9.1434 | 7.4959 | 8.5423 | 8.3688 | 11.8784 | 13.2253 | 11.0608 | 12.224 | 11.6093 | 13.3998 | 17.3071 | 14.6257 | 15.9057 | 14.8498 | 14.9212
Aurora Energy | 12.6983 | 10.6082 | 11.6974 | 13.1284 | 19.7787 | 16.7802 | 14.1731 | 15.3791 | 16.3689 | 21.3 | 20.862 | 17.738 | 19.0607 | 19.6094 | 22.8214
Buller Electricity | 9.838 | 8.9631 | 10.0215 | 14.5128 | 12.3906 | 13.9198 | 12.528 | 13.7032 | 17.7533 | 13.9119 | 18.0016 | 16.0929 | 17.3849 | 20.9938 | 15.4333
Counties Power | 11.9124 | 16.9715 | 14.3637 | 19.5714 | 16.9381 | 15.9942 | 20.5364 | 18.0454 | 22.812 | 18.4594 | 20.076 | 24.1012 | 21.727 | 26.0525 | 19.9808
Eastland Network | 8.9772 | 7.2267 | 8.1682 | 5.9485 | 15.9876 | 13.0591 | 10.7916 | 11.8498 | 9.189 | 17.509 | 17.1409 | 14.3565 | 15.5315 | 12.4295 | 19.0303
Electra | 10.674 | 8.5203 | 9.7202 | 9.8428 | 18.8477 | 14.7558 | 12.0852 | 13.4018 | 13.0833 | 20.3691 | 18.8376 | 15.6501 | 17.0835 | 16.3239 | 21.8904
Electricity Ashburton | 8.195 | 7.573 | 8.5122 | 14.4143 | 9.7514 | 12.2769 | 11.1379 | 12.1938 | 17.6549 | 11.2728 | 16.3587 | 14.7028 | 15.8755 | 20.8954 | 12.7942
Horizon Energy | 8.0801 | 6.5047 | 7.366 | 5.8461 | 14.1099 | 12.1619 | 10.0696 | 11.0477 | 9.0866 | 15.6313 | 16.2437 | 13.6345 | 14.7293 | 12.3272 | 17.1527
Mainpower | 10.9906 | 9.8988 | 11.0017 | 14.2379 | 15.7983 | 15.0724 | 13.4636 | 14.6834 | 17.4785 | 17.3197 | 19.1542 | 17.0285 | 18.365 | 20.719 | 18.8411
Marlborough Lines | 11.2315 | 10.114 | 11.2491 | 14.397 | 15.6694 | 15.3133 | 13.6789 | 14.9308 | 17.6375 | 17.1907 | 19.3951 | 17.2438 | 18.6125 | 20.878 | 18.7121
Network Tasman | 11.6328 | 10.4608 | 11.5851 | 13.7274 | 16.9597 | 15.7146 | 14.0257 | 15.2668 | 16.968 | 18.4811 | 19.7965 | 17.5906 | 18.9485 | 20.2085 | 20.0025
Network Waitaki | 9.4509 | 7.799 | 8.8088 | 6.39 | 12.6887 | 13.5328 | 11.3639 | 12.4905 | 9.6305 | 14.2101 | 17.6146 | 14.9288 | 16.1721 | 12.8711 | 15.7315
Northpower | 11.159 | 24.0424 | 18.9272 | 21.5035 | 13.9505 | 15.2408 | 27.6072 | 22.6089 | 24.744 | 15.4718 | 19.3227 | 31.1721 | 26.2906 | 27.9845 | 16.9932
Orion | 11.87 | 10.7152 | 11.789 | 14.1182 | 17.6187 | 15.9518 | 14.2801 | 15.4707 | 17.3587 | 19.14 | 20.0336 | 17.845 | 19.1523 | 20.5992 | 20.6614
Powerco | 9.8294 | 7.6748 | 8.983 | 7.1068 | 16.725 | 13.9112 | 11.2397 | 12.6647 | 10.3473 | 18.2463 | 17.993 | 14.8046 | 16.3463 | 13.5879 | 19.7677
PowerNet | 11.5772 | 9.8899 | 10.7966 | 11.4359 | 15.9013 | 15.659 | 13.4548 | 14.4783 | 14.6764 | 17.4226 | 19.7408 | 17.0197 | 18.1599 | 17.917 | 18.944
Scanpower | 9.0589 | 7.1136 | 8.2886 | 9.8074 | 15.22 | 13.1407 | 10.6785 | 11.9703 | 13.0479 | 16.7414 | 17.2225 | 14.2434 | 15.652 | 16.2884 | 18.2627
The Lines Company | 9.917 | 7.483 | 9.0957 | 6.4521 | 16.2295 | 13.9988 | 11.0479 | 12.7773 | 9.6927 | 17.7508 | 18.0806 | 14.6128 | 16.459 | 12.9332 | 19.2722
Top Energy | 17.3477 | 28.6384 | 24.5342 | 21.1193 | 25.4467 | 21.4296 | 32.2033 | 28.2158 | 24.3598 | 26.9681 | 25.5114 | 35.7682 | 31.8975 | 27.6003 | 28.4895
Unison Networks | 9.4662 | 7.6746 | 8.5969 | 6.149 | 17.1769 | 13.548 | 11.2395 | 12.2786 | 9.3895 | 18.6983 | 17.6298 | 14.8044 | 15.9602 | 12.6301 | 20.2196
Vector | 13.0932 | 20.3027 | 17.1234 | 18.5331 | 18.7813 | 17.175 | 23.8676 | 20.8051 | 21.7736 | 20.3027 | 21.2569 | 27.4325 | 24.4868 | 25.0142 | 21.8241
Waipa Networks | 9.5279 | 6.9364 | 8.7933 | 6.0243 | 14.516 | 13.6097 | 10.5012 | 12.475 | 9.2648 | 16.0374 | 17.6916 | 14.0661 | 16.1566 | 12.5053 | 17.5587
WEL Networks | 11.2238 | 8.4135 | 10.3643 | 6.1851 | 18.1198 | 15.3056 | 11.9784 | 14.0459 | 9.4257 | 19.6412 | 19.3875 | 15.5433 | 17.7276 | 12.6662 | 21.1626
Wellington Electricity | 10.7183 | 8.5711 | 9.76 | 9.77 | 18.9372 | 14.8002 | 12.136 | 13.4417 | 13.0105 | 20.4585 | 18.882 | 15.7009 | 17.1233 | 16.251 | 21.9799
Westpower | 9.7143 | 8.8321 | 9.9053 | 13.8881 | 12.2438 | 13.7961 | 12.397 | 13.587 | 17.1286 | 13.7652 | 17.8779 | 15.9619 | 17.2686 | 20.3691 | 15.2865
Total amount ($M) | 367.9511 | 411.8343 | 401.3717 | 417.5632 | 560.6108 | 500.1435 | 527.2851 | 520.6048 | 522.5094 | 609.8813 | 632.336 | 642.736 | 639.8379 | 627.4556 | 659.1517
Mean rate ($/MWh) | 11.3616 | 12.7166 | 12.3935 | 12.8935 | 17.3105 | 15.4434 | 16.2815 | 16.0752 | 16.134 | 18.8319 | 19.5252 | 19.8464 | 19.7569 | 19.3745 | 20.3533