## Battery assumptions - AoB model
General parameters
Investor discount rate | 0.08
0
Assumed battery configuration
Battery life (years) | 15 |  |  |  | 0
Capacity (MW) | 1
Capital cost ($/kW) | 733
Fixed O&M (p.a., % capital cost) | 1%
E/P ratio | 1.29
Round trip efficiency | 0.9
Discharge/Charge (h), constant power | 1
Present value fixed O&M ($/MW) | 62740.9788
Present value fixed cost ($/MW) | 795740.9788
Arbitrage strategy, assumptions
Average depth of discharge | 0.8
Cycles per day, average | 2
MWh p.a. | 753.36
Aribitrage uncertainty | 0.5
Certainty equivalent MWh p.a. | 376.68
Present value MWh | 3224.1844
Long run levelised capital cost/MWh | 246.8038
Assumed peak displacement | 1
Shoulder demand impact | 0
Off peak demand impact | 1
Displacement of demand, grid use model parameters… |  |  | Demand increase/displacement
1 MW DG/battery capacity means model "DG"" output increases by | 0.5 |  | 0.5
of which peak grid demand declines by | 0.5 |  | -1
with charging at peak of | 0
while (net) charging occurs at shoulder | 0
and charging occurs during off-peak periods (with energy loss) | 0.55556 |  | 1.1111
RCPD avoidance strategy assumptions
Average depth of discharge | 0.5
Cycles per day, average | 5.375
Months per year - peaks occurring | 6
MWh p.a. | 490.4688
Peak uncertainty | 0.63917
Certainty equivalent MWh p.a. | 313.4913
Present value MWh | 2683.3219
Long run levelised capital cost | 296.5507
Long run levelised capital cost with efficiency cost | 329.5008
Present value MWh @ 800 MWh (Peak periods) | 4376.7468
Long run levelised capital cost ($/MWh) | 181.8111
Long run levelised capital cost with efficiency cost ($/MWh) | 202.0123
Discount on capital cost vs arbitrage ($/MWh) | 0.81851
Assumed peak displacement | 0.47826
Shoulder demand impact | 0.23913
Off peak demand impact | 0.23913
Hybrid strategy
Investment decisions…
Build cost | 733000
Fixed O&M | 67000
Capital cost | 800000
E/P ratio | 1.29
Round trip efficiency | 0.9
Discharge/Charge (h), constant power | 1
Arbitrage
Months per year | 6
Arbitrage opportunities relative to periods of RCPD avoidance | 0.45069
Depth of discharge | 0.8
Cycles per day | 2
MWh p.a. | 169.7669
Uncertainty | 0.5
Certainty equivalent MWh | 84.8835
PV MWh | 726.5583
Unit capital cost | 1101.0817
RCPD
Average depth of discharge | 0.5
Cycles per day, average | 5.375
Months per year - peaks occurring | 6
MWh p.a. | 632.7047
Peak uncertainty | 0.63917
Certainty equivalent MWh p.a. | 404.4037
Efficiency adjustment to MWh p.a. | 363.9634
Present value MWh | 3115.3367
Unit capital cost | 256.7941
Total MWh | 3841.895
LRMC | 208.2306
Grid use model, reallocation of demand…
Share of arbitrage at peak, with hybrid strategy | 0.031685
Total Peak MWh | 638.0838
Total Peak MWh per average hours in model peak | 0.7976
Peak output share - arbitrage | 0.0084301
Peak output share - RCPD avoidance | 0.99157
Peak displacement | 0.48266
Shoulder demand impact | 0.23711
Off peak demand impact | 0.24554
For each additional MW of DG
1 MW DG/battery capacity means DG output increases by | 0.7976
of which peak grid demand declines by | 0.38497
with charging at peak of | 0.41263
while charging occurs at shoulder | 0.18912
and charging occurs during off-peak periods | 0.19585
Adjusted for efficiency losses (0.1) |  |  | Demand increase/displacement:
1 MW DG/battery capacity means DG output increases by | 0.7976 |  | 0.7976
of which peak grid demand declines by | 0.33912 |  | -0.42518
with charging at peak of | 0.45848
while charging occurs at shoulder | 0.21014 |  | 0.26346
and charging occurs during off-peak periods | 0.21761 |  | 0.27283
Peak Output shares and assumed sources of charge by time of use
Arbitrage | RCPD | Total | Peak displacement | Charging outside peak (share of output)
5.3791 | 632.7047 | 638.0838
0 | 330.1068 | 330.1068 | 0.48266
0 | 151.2989 | 151.2989 |  | 0.23711
5.3791 | 151.2989 | 156.6781 |  | 0.24554
Note on B24: John Stephenson: Assume impact is entirely on offpeak periods
Note on B42: John Stephenson: Assumes no nominal price arbitrage for cycling during peak periods, thus a net efficiency cost from buying and selling at the same prices
Note on B45: John Stephenson: Assumes no nominal price arbitrage for cycling during peak periods, thus a net efficiency cost from buying and selling at the same prices
Note on B48: John Stephenson: Assume impact on demand is 50:50 between these two periods.

## RCPD probability by hour
Cycles - dispatch strategies aimed at hitting peak periods while maintaining state of charge (SOC) between 0.2 and 0.8
Max charge/discharge | 0.6
| UNI | LNI | USI | LSI | Average
p(Peak¦strategy) | 0.59333 | 0.70333 | 0.55 | 0.71 | 0.63917
Cycles/day | 4 | 3.5 | 7 | 7 | 5.375
Charging at peak | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
Discharge at peak | 1.5 | 1.8 | 1.8 | 1.8 | 1.725
Peak displacement (ratio) | 0.4 | 0.5 | 0.5 | 0.5 | 0.47826
| Peak periods - 3 years |  |  |  | Pr(Peak) |  |  |  | Strategy |  |  |  | MWh (E/P 1:1) |  |  |  | SOC (start of period) |  |  |  | Charging
Row Labels | UNI | LNI | USI | LSI | UNI | LNI | USI | LSI | UNI | LNI | USI | LSI | UNI | LNI | USI | LSI | UNI | LNI | USI | LSI | UNI | LNI | USI | LSI
0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
0:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
1:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
1:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
2:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
2:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
3:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
3:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
4:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
4:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
5:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
5:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
6:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
6:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
7:00 | 3 | 7 | 10 | 8 | 0.01 | 0.023333 | 0.033333 | 0.026667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
7:30 | 14 | 19 | 19 | 45 | 0.046667 | 0.063333 | 0.063333 | 0.15 | 1 | 1 | 1 | 1 | 0.3 | 0.3 | 0.3 | 0.3 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
8:00 | 15 | 13 | 26 | 52 | 0.05 | 0.043333 | 0.086667 | 0.17333 | 1 | 1 | 1 | 1 | 0.3 | 0.3 | 0.3 | 0.3 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0
8:30 | 5 | 10 | 18 | 25 | 0.016667 | 0.033333 | 0.06 | 0.083333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3
9:00 | 6 | 1 | 22 | 20 | 0.02 | 0.0033333 | 0.073333 | 0.066667 | 0 | 1 | 1 | 1 | 0 | 0.3 | 0.3 | 0.3 | 0.5 | 0.5 | 0.5 | 0.5 | 0.3 | 0 | 0 | 0
9:30 | 2 | 1 | 13 | 9 | 0.0066667 | 0.0033333 | 0.043333 | 0.03 | 1 | 0 | 0 | 0 | 0.3 | 0 | 0 | 0 | 0.8 | 0.2 | 0.2 | 0.2 | 0 | 0.3 | 0.3 | 0.3
10:00 | 1 | 0 | 9 | 6 | 0.0033333 | 0 | 0.03 | 0.02 | 1 | 0 | 1 | 0 | 0.3 | 0 | 0.3 | 0 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0.3 | 0 | 0.3
10:30 | 0 | 0 | 8 | 8 | 0 | 0 | 0.026667 | 0.026667 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.3 | 0.2 | 0.8 | 0.2 | 0.8 | 0.3 | 0 | 0.3 | 0
11:00 | 0 | 0 | 6 | 5 | 0 | 0 | 0.02 | 0.016667 | 0 | 0 | 1 | 1 | 0 | 0 | 0.3 | 0.3 | 0.5 | 0.8 | 0.5 | 0.5 | 0.3 | 0 | 0 | 0
11:30 | 0 | 0 | 6 | 4 | 0 | 0 | 0.02 | 0.013333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.2 | 0.2 | 0 | 0 | 0.3 | 0.3
12:00 | 0 | 0 | 6 | 3 | 0 | 0 | 0.02 | 0.01 | 0 | 0 | 1 | 1 | 0 | 0 | 0.3 | 0.3 | 0.8 | 0.8 | 0.5 | 0.5 | 0 | 0 | 0 | 0
12:30 | 0 | 0 | 6 | 3 | 0 | 0 | 0.02 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.2 | 0.2 | 0 | 0 | 0.3 | 0.3
13:00 | 0 | 0 | 9 | 3 | 0 | 0 | 0.03 | 0.01 | 0 | 0 | 1 | 1 | 0 | 0 | 0.3 | 0.3 | 0.8 | 0.8 | 0.5 | 0.5 | 0 | 0 | 0 | 0
13:30 | 0 | 0 | 8 | 1 | 0 | 0 | 0.026667 | 0.0033333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.2 | 0.2 | 0 | 0 | 0.3 | 0.3
14:00 | 0 | 0 | 7 | 1 | 0 | 0 | 0.023333 | 0.0033333 | 0 | 0 | 1 | 1 | 0 | 0 | 0.3 | 0.3 | 0.8 | 0.8 | 0.5 | 0.5 | 0 | 0 | 0 | 0
14:30 | 0 | 0 | 7 | 0 | 0 | 0 | 0.023333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.2 | 0.2 | 0 | 0 | 0.3 | 0.3
15:00 | 0 | 0 | 7 | 0 | 0 | 0 | 0.023333 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.3 | 0 | 0.8 | 0.8 | 0.5 | 0.5 | 0 | 0 | 0 | 0.3
15:30 | 0 | 0 | 10 | 0 | 0 | 0 | 0.033333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.2 | 0.8 | 0 | 0 | 0.3 | 0
16:00 | 1 | 1 | 10 | 0 | 0.0033333 | 0.0033333 | 0.033333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.5 | 0.8 | 0 | 0 | 0.3 | 0
16:30 | 3 | 2 | 10 | 0 | 0.01 | 0.0066667 | 0.033333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
17:00 | 7 | 10 | 13 | 8 | 0.023333 | 0.033333 | 0.043333 | 0.026667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
17:30 | 46 | 82 | 19 | 33 | 0.15333 | 0.27333 | 0.063333 | 0.11 | 0 | 1 | 1 | 1 | 0 | 0.3 | 0.3 | 0.3 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
18:00 | 57 | 75 | 26 | 26 | 0.19 | 0.25 | 0.086667 | 0.086667 | 1 | 1 | 1 | 1 | 0.3 | 0.3 | 0.3 | 0.3 | 0.8 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0
18:30 | 55 | 51 | 12 | 14 | 0.18333 | 0.17 | 0.04 | 0.046667 | 1 | 0 | 0 | 0 | 0.3 | 0 | 0 | 0 | 0.5 | 0.2 | 0.2 | 0.2 | 0 | 0.3 | 0.3 | 0.3
19:00 | 33 | 18 | 5 | 10 | 0.11 | 0.06 | 0.016667 | 0.033333 | 0 | 1 | 1 | 1 | 0 | 0.3 | 0.3 | 0.3 | 0.2 | 0.5 | 0.5 | 0.5 | 0.3 | 0 | 0 | 0
19:30 | 24 | 7 | 3 | 4 | 0.08 | 0.023333 | 0.01 | 0.013333 | 1 | 0 | 0 | 0 | 0.3 | 0 | 0 | 0 | 0.5 | 0.2 | 0.2 | 0.2 | 0 | 0.3 | 0.3 | 0.3
20:00 | 17 | 3 | 3 | 4 | 0.056667 | 0.01 | 0.01 | 0.013333 | 0 | 1 | 1 | 1 | 0 | 0.3 | 0.3 | 0.3 | 0.2 | 0.5 | 0.5 | 0.5 | 0.3 | 0 | 0 | 0
20:30 | 10 | 0 | 1 | 4 | 0.033333 | 0 | 0.0033333 | 0.013333 | 1 | 0 | 0 | 0 | 0.3 | 0 | 0 | 0 | 0.5 | 0.2 | 0.2 | 0.2 | 0 | 0.3 | 0.3 | 0.3
21:00 | 1 | 0 | 1 | 2 | 0.0033333 | 0 | 0.0033333 | 0.0066667 | 0 | 0 | 1 | 1 | 0 | 0 | 0.3 | 0.3 | 0.2 | 0.5 | 0.5 | 0.5 | 0.3 | 0.3 | 0 | 0
21:30 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.0033333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.8 | 0.2 | 0.2 | 0.3 | 0 | 0.3 | 0.3
22:00 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.0033333 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.3 | 0.8 | 0.8 | 0.5 | 0.5 | 0 | 0 | 0.3 | 0
22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.2 | 0 | 0 | 0 | 0.3
23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.5 | 0 | 0 | 0 | 0.3
23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
Grand Total | 300 | 300 | 300 | 300 | 1 | 1 | 1 | 1 |  |  |  |  | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0
Note on B8: John Stephenson: Defined as top 10 trading periods - that is the top 20% of trading periods in the highest 6 months of the year - to roughly align with the 10% of trading periods in the model as peak periods. 7-9am and 5:30-7:30

## RCPD probability by month
| Counts |  |  |  | Pr(Peak) |  |  |  | Strategy
Date | UNI | LNI | USI | LSI | UNI | LNI | USI | LSI | UNI | LNI | USI | LSI
Jan | 0 | 0 | 2 | 0 | 0 | 0 | 0.0066667 | 0 |  |  | 1
Feb | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Apr | 0 | 0 | 2 | 0 | 0 | 0 | 0.0066667 | 0
May | 29 | 27 | 19 | 80 | 0.096667 | 0.09 | 0.063333 | 0.26667 | 1 | 1 | 1 | 1
Jun | 90 | 91 | 17 | 59 | 0.3 | 0.30333 | 0.056667 | 0.19667 | 1 | 1 | 1 | 1
Jul | 97 | 75 | 71 | 49 | 0.32333 | 0.25 | 0.23667 | 0.16333 | 1 | 1 | 1 | 1
Aug | 78 | 90 | 65 | 74 | 0.26 | 0.3 | 0.21667 | 0.24667 | 1 | 1 | 1 | 1
Sep | 6 | 17 | 17 | 21 | 0.02 | 0.056667 | 0.056667 | 0.07 | 1 | 1 | 1 | 1
Oct | 0 | 0 | 1 | 17 | 0 | 0 | 0.0033333 | 0.056667 |  |  | 1 | 1
Nov | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dec | 0 | 0 | 106 | 0 | 0 | 0 | 0.35333 | 0 |  |  | 1
Grand Total | 300 | 300 | 300 | 300 | 1 | 1 | 1 | 1 | 5 | 5 | 8 | 6
Prices inside and outside peak months (May-October), volume and price data 2007-2017 | Pr(Peak) LNI: 753
Peak in month? | Counts UNI: tou; Counts LNI: Price; Counts USI: Volume (MWh)
No | Peak | 108.5178 | 4454853.83 | 0.0057758 | 38.9803 | 0.048042 | 376.5 | 14676.0965 |  | 0.048042
No | Counts UNI: Shoulder; Counts LNI: 97.3342; Counts USI: 54774943.042; Counts LSI: 0.071017
No | Counts UNI: Off-peak; Counts LNI: 69.5375; Counts USI: 276074978.962; Counts LSI: 0.35794
Yes | Peak | 105.7232 | 88273642.742 | 0.11445 | 44.083 | 0.95196 | 376.5 | 16597.2629 |  | 0.5
Yes | Counts UNI: Shoulder; Counts LNI: 75.7328; Counts USI: 107423319.708; Counts LSI: 0.13928
Yes | Counts UNI: Off-peak; Counts LNI: 61.6402; Counts USI: 240290076.458; Counts LSI: 0.31154
For hybrid strategies, the months when arbitrage is feasible are deflated…
Arbitrage value | Counts UNI: Outside peak months; Counts LNI: All months
Shoulder | Counts UNI: 1522562732.4386; Counts LNI: 3036440895.7589; Counts USI: 50.14%
Peak | Counts UNI: 49821457.3948; Counts LNI: 3941191589.6118
All | Counts UNI: 1572384189.8334; Counts LNI: 6977632485.3707
Share of arbitrage opportunities outside peak months | Counts UNI: 0.22535
Implies arbitrage outside peak months is half as valuable as arbitrage inside peak months, approximately
Peak as share of arbitrage value outside peak months | Counts UNI: 0.031685