## Summary table with ranges
|  |  |  | Proposal |  |  | Alternative |  |  | Future only
Quantified benefits | Proposal | Alternative | Future only | Central | Low | High | Central | Low | High | Central | Low | High
More efficient grid use | $2,579 ($81 - $5,678) | $1,775 ($4 - $4,197) | $2,587 ($26 - $5,937) | 2578.7592 | 81.0134 | 5677.6533 | 1774.8201 | 4.0529 | 4197.0982 | 2586.5859 | 25.5471 | 5936.5799
More efficient investment in batteries | $202 ($137 - $786) | $222 ($137 - $786) | $202 ($137 - $786) | 201.5219 | 137.2254 | 785.8801 | 222.4365 | 137.2254 | 785.8801 | 201.5664 | 137.2254 | 785.8801
More efficient investment in generation and large load | $43 ($9 - $112) | -- | $43 ($9 - $112) | 42.9308 | 9.0054 | 112.4382 | -- | -- | -- | 42.9308 | 9.0054 | 112.4382
More efficient grid investment – scrutiny of investment proposals | $77 ($29 - $125) | -- | $77 ($29 - $125) | 76.9262 | 29.0647 | 124.7877 | -- | -- | -- | 76.9262 | 29.0647 | 124.7877
Increased certainty for investors | $26 ($10 - $48) | -- | $26 ($10 - $48) | 26.2219 | 9.8342 | 48.293 | -- | -- | -- | 26.2219 | 9.8342 | 48.293
Total quantified benefits | $2,926 ($266 - $6,749) | $1,997 ($141 - $4,983) | $2,934 ($211 - $7,008) | 2926.36 | 266.143 | 6749.0523 | 1997.2566 | 141.2783 | 4982.9784 | 2934.2312 | 210.6767 | 7007.9789
Quantified costs | Proposal | Alternative | Alternative | Proposal |  |  | Alternative |  |  | Proposal
TPM development / approval | $8 ($4 - $12) | $6 ($3 - $8) | $8 ($4 - $12) | 7.83 | 3.915 | 11.745 | 5.51 | 2.755 | 8.265 | 7.83 | 3.915 | 11.745
TPM implementation costs | $9 ($4 - $13) | $4 ($2 - $5) | $9 ($4 - $13) | 8.61 | 4.305 | 12.915 | 3.65 | 1.825 | 5.475 | 8.61 | 4.305 | 12.915
TPM operational costs | $9 ($5 - $14) | $0.3 ($0.2 - $0.5) | $9 ($5 - $14) | 9.25 | 4.625 | 13.875 | 0.32 | 0.16 | 0.48 | 9.25 | 4.625 | 13.875
Grid investment brought forward | $188 ($51 - $324) | $135 ($6 - $264) | $179 ($40 - $318) | 187.8577 | 51.4185 | 324.2968 | 134.8681 | 6.1701 | 263.566 | 178.7707 | 39.6364 | 317.905
Load not locating in regions with recent grid investment | $1 ($0 - $2) | -- | $1 ($0 - $2) | 0.51301 | 0.012599 | 1.8765 | -- | -- | -- | 0.51301 | 0.012599 | 1.8765
Efficiency costs of price cap | $1 | -- | -- | 1.0592 | 1.0592 | 1.0592 | -- | -- | -- | -- | -- | --
Total quantified costs | $215 ($65 - $366) | $144 ($11 - $278) | $205 ($52 - $358) | 215.1199 | 65.3353 | 365.7675 | 144.3481 | 10.9101 | 277.786 | 204.9737 | 52.494 | 358.3165
Results
Net (benefits less costs) | $2,711 ($201 - $6,383) | $1,853 ($130 - $4,705) | $2,729 ($158 - $6,650) | 2711.2401 | 200.8077 | 6383.2848 | 1852.9085 | 130.3682 | 4705.1923 | 2729.2575 | 158.1827 | 6649.6624

## Range information for table
Quantified benefits | Proposal |  |  | Alternative (MWh) |  |  | Future only
Quantified benefits | Central | Low | High | Central | Low | High | Central | Low | High
More efficient grid use | All major capex, consumer surplus measure, holding energy price constant | Demand only, major capex, consumer surplus measure, holding energy price constant | All major capex, compensating variation measure | All major capex alternative, consumer surplus measure, holding energy price constant | MWh demand major capex, CS measure | All major capex alternative, compensating variation measure | No AoB on existing, consumer surplus measure, holding energy prices constant | Demand only, No AoB on existing, consumer surplus measure, holding energy prices constant | No AoB on existing, compensating variation measure
More efficient investment in batteries | All major capex | Battery sensitivity, low | Battery sensitivity, High | All major capex , alternative | Battery sensitivity, low | Battery sensitivity, High | No AoB on existing | Battery sensitvity, low | Battery sensitivity, High
More efficient investment in generation and large load | Mean of monte carlo | 5th percentile | 95th percentile | NA | NA | NA | Mean of monte carlo | 5th percentile | 95th percentile
More efficient grid investment – scrutiny of investment proposals | Major capex + base capex, central | Major capex + base capex, lower sensitivity | Major capex + base capex, upper sensitivity | NA | NA | NA | Major capex + base capex, central | Major capex + base capex, lower sensitivity | Major capex + base capex, upper sensitivity
Increased certainty for investors | Mean of monte carlo | 5th percentile | 95th percentile | NA | NA | NA | Mean of monte carlo | 5th percentile | 95th percentile
Total quantified benefits
Quantified costs | Proposal |  |  | Alternative |  |  | Alternative | Alternative | Alternative
TPM development / approval | Proposed guidelines | -50% | +50% | Current guidelines | -50% | +50% | Proposed guidelines | -50% | +50%
TPM implementation costs | Proposed guidelines | -50% | +50% | Current guidelines | -50% | +50% | Proposed guidelines | -50% | +50%
TPM operational costs | Proposed guidelines | -50% | +50% | Current guidelines | -50% | +50% | Proposed guidelines | -50% | +50%
Grid investment brought forward | All major capex | Demand major capex | All major capex | Alternative, major capex | MWh demand, major capex | All major capex | No AoB on existing | Demand, no aob on existing | All major capex
Load not locating in regions with recent grid investment | Mean of monte carlo | 5th percentile | 95th percentile | NA | NA | NA | Mean of monte carlo | 5th percentile | 95th percentile
Total quantified costs
Results
Net (benefits less costs)

## Transmission cost adjustment
$m PV
Central (All_major_capex) | 420.7
With unallocated overheads removed from calculation ($160 million, $2018) | 324.3
Difference | -96.4
Percentage difference | -22.91%

## Summary grid use model
Consumer surplus welfare measures | [11 empty] | Note: Column M is the size of the wealth transfer, which needs to be backed out. Under the proposal, over the modelling period, consumers end up paying higher transmission charges and generators end up paying lower charges (compared to the status quo). So amongst other things, the proposal causes a wealth transfer from consumers to generators. Columns E and F (labelled gross change in consumer welfare) present a value that is a combination of two effects: 1. allocative efficiency gain (ie a gain in overall social welfare / efficiency and also a gain to consumers) 2. loss to consumers due to paying higher transmission charges over the modelling period [wealth transfer from consumers to generators]. This second effect needs to be reversed to identify the change in consumer welfare before wealth transfers. Column M shows the transfer amount. Columns O and P (Net benefit) reflects the allocative efficiency gain. These columns also accounts for more efficient battery investment (L) and nets out grid investment brought forward (G).
| Scenario # | Description | Scenario name | Gross change in consumer welfare | Gross change in consumer welfare, excluding energy price changes | Transmission cost | Baseline interconnection charges - load | Proposal interconnection charges - load | Baseline interconnection charges - generation | Proposal interconnection charges - generation | Inefficient battery investment | Change in interconnection charges, load | Change in interconnection charges, generation | Net benefit | Net benefit, holding energy prices constant
Main scenarios | 1 | Demand effects of proposal only (no batteries and constant energy prices) | Demand | -198.5358 | -200.5354 | 56.5447 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | 0 | 234.8905 | -234.8905 | -20.1901 | -22.1896
| 2 | Demand effects of proposal + generation effects | Demand_and_gen_investment | 1190.7928 | -126.5297 | 117.9069 | 18729.4318 | 18944.3791 | 3492.8374 | 3277.8901 | 0 | 214.9473 | -214.9473 | 1287.8332 | -29.4893
| 3 | Demand effects of proposal + battery investment | Demand_and_DG_investment | 19.2039 | 23.7119 | 341.6352 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | -200.5412 | 234.8905 | -234.8905 | 113.0003 | 117.5083
| 4 | Demand effects of proposal only (no batteries and constant energy prices) + unapproved major capex | Demand_major_capex | -312.1106 | -316.246 | 66.703 | 19312.3066 | 19709.566 | 3716.0701 | 3318.8107 | 0 | 397.2594 | -397.2594 | 18.4458 | 14.3104
| 5 | Central scenario = Demand effects + generation effects + battery investment + unapproved major capex | All_major_capex | 4370.2516 | 50.7876 | 420.6959 | 19312.3066 | 19680.5462 | 3716.0701 | 3347.8306 | -201.5219 | 368.2396 | -368.2396 | 4519.3172 | 199.8531
| 6 | (5) excluding forecast unapproved major capex | All | 4575.1099 | 135.8729 | 344.1501 | 18729.4318 | 18874.3408 | 3492.8374 | 3347.9283 | -149.6719 | 144.9091 | -144.9091 | 4525.5408 | 86.3038
| 7 | (5) With unallocated major capex limited to WUNI costs, allocated to Huntly, Otahuhu and Marsden by shares of AMD (illustrative only) | WUNI | 4834.3276 | 135.7648 | 351.6995 | 18865.3448 | 19051.5128 | 3492.8374 | 3279.6227 | -168.4735 | 186.1679 | -213.2146 | 4837.2695 | 138.7068
Alternative | 8 | Demand effects of alternative (TPM as in baseline but with a MWh charge instead of RCPD charges) | MWh_Demand_major_capex | 4.7698 | 4.0529 | 8.0042 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | 0 | 0 | -1.4305e-12 | -3.2345 | -3.9513
| 9 | (5) with a MWh charge instead of the proposal | All_major_capex_alternative | 3229.0704 | 320.5698 | 341.9125 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | -222.4365 | -3.8147e-12 | 0 | 3109.5944 | 201.0938
Sensitivities | 10 | (5) With proposal implemented in 2024 | All_major_capex_2024 | 4531.832 | 116.3092 | 422.1695 | 19312.3066 | 19607.3626 | 3716.0701 | 3421.0142 | -201.5348 | 295.056 | -295.056 | 4606.2532 | 190.7305
| 11 | (5) With no AoB charges on existing assets (a.k.a 'future only') | No_AoB_on_existing | 3832.2587 | -526.2825 | 412.4041 | 19312.3066 | 20245.9044 | 3716.0701 | 2782.4723 | -201.5664 | 933.5978 | -933.5978 | 4555.0188 | 196.4776
| 12 | (1) + no AoB charge on existing assets | Demand_no_aob_on_existing | -768.5755 | -775.7771 | 54.2602 | 18729.4318 | 19530.756 | 3492.8374 | 2691.5131 | 0 | 801.3243 | -801.3243 | -21.5114 | -28.713
| 13 | (5) With area of benefit charges calculated using 30% LCE shares (economic) and 70% AMD shares (reliability) | All_Major_Capex_30_70 | 4276.5183 | -42.6712 | 419.1535 | 19312.3066 | 19774.096 | 3716.0701 | 3254.2807 | -201.5252 | 461.7894 | -461.7894 | 4520.6794 | 201.4899
| 14 | (5) With generation benefit shares of future investment based on analysis of historical benefits | All_major_capex_gen_benefits | 5531.4499 | 707.5576 | 446.8114 | 19312.3066 | 19047.1436 | 3716.0701 | 3981.2331 | -200.5695 | -265.1629 | 265.1629 | 5020.045 | 196.1527
| 15 | (5) With Tiwai smelter closes at end of 2030 | All_major_capex_tiwai_off | 2216.7179 | 82.9575 | 90.9218 | 19312.3066 | 19683.7063 | 3716.0701 | 3344.6704 | -215.5417 | 371.3997 | -371.3997 | 2712.7375 | 578.9771
Compensating variation welfare measure for mass market consumers, consumer surplus for large industrials. Compensating variation values discounted in the early years (~2022-2032)
Main scenarios
| Scenario # | Description | Scenario name | Gross change in consumer welfare | Gross change in consumer welfare, excluding energy price changes | Transmission cost | Baseline interconnection charges - load | Proposal interconnection charges - load | Baseline interconnection charges - generation | Proposal interconnection charges - generation | Inefficient battery investment | Change in interconnection charges, load | Change in interconnection charges, generation | Net benefit | Net benefit, holding energy prices constant
Main scenarios | 1 | Demand effects of proposal only (no batteries and constant energy prices) | Demand | 1188.6081 | 1194.5609 | 56.5447 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | 0 | 234.8905 | -234.8905 | 1366.9538 | 1372.9066
| 2 | Demand effects of proposal + generation effects | Demand_and_gen_investment | 2121.2669 | 1238.2124 | 117.9069 | 18729.4318 | 18944.3791 | 3492.8374 | 3277.8901 | 0 | 214.9473 | -214.9473 | 2218.3073 | 1335.2528
| 3 | Demand effects of proposal + battery investment | Demand_and_DG_investment | 1258.7675 | 1301.1307 | 341.6352 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | -200.5412 | 234.8905 | -234.8905 | 1352.564 | 1394.9271
| 4 | Demand effects of proposal only (no batteries and constant energy prices) + unapproved major capex | Demand_major_capex | 1322.6045 | 1327.8524 | 66.703 | 19312.3066 | 19709.566 | 3716.0701 | 3318.8107 | 0 | 397.2594 | -397.2594 | 1653.161 | 1658.4088
| 5 | Central scenario = Demand effects + generation effects + battery investment + unapproved major capex | All_major_capex | 5309.4137 | 1735.4978 | 420.6959 | 19312.3066 | 19680.5462 | 3716.0701 | 3347.8306 | -201.5219 | 368.2396 | -368.2396 | 5458.4793 | 1884.5634
| 6 | (5) excluding forecast unapproved major capex | All | 5353.0932 | 1494.5892 | 344.1501 | 18729.4318 | 18874.3408 | 3492.8374 | 3347.9283 | -149.6719 | 144.9091 | -144.9091 | 5303.5241 | 1445.0201
| 7 | (5) With unallocated major capex limited to WUNI costs, allocated to Huntly, Otahuhu and Marsden by shares of AMD (illustrative only) | WUNI | 5772.5428 | 1570.3022 | 351.6995 | 18865.3448 | 19051.5128 | 3492.8374 | 3279.6227 | -168.4735 | 186.1679 | -213.2146 | 5775.4847 | 1573.2441
Alternative | 8 | Demand effects of alternative (TPM as in baseline but with a MWh charge instead of RCPD charges) | MWh_Demand_major_capex | 1376.6855 | 1376.8326 | 8.0042 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | 0 | 0 | -1.4305e-12 | 1368.6812 | 1368.8284
| 9 | (5) with a MWh charge instead of the proposal | All_major_capex_alternative | 4197.0982 | 1759.0962 | 341.9125 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | -222.4365 | -3.8147e-12 | 0 | 4077.6222 | 1639.6202
Sensitivities | 10 | (5) With proposal implemented in 2024 | All_major_capex_2024 | 4986.6978 | 1519.6314 | 422.1695 | 19312.3066 | 19607.3626 | 3716.0701 | 3421.0142 | -201.5348 | 295.056 | -295.056 | 5061.119 | 1594.0527
| 11 | (5) With no AoB charges on existing assets (a.k.a 'future only') | No_AoB_on_existing | 5002.9821 | 1432.9258 | 412.4041 | 19312.3066 | 20245.9044 | 3716.0701 | 2782.4723 | -201.5664 | 933.5978 | -933.5978 | 5725.7422 | 2155.6859
| 12 | (1) + no AoB charge on existing assets | Demand_no_aob_on_existing | 891.0299 | 894.5661 | 54.2602 | 18729.4318 | 19530.756 | 3492.8374 | 2691.5131 | 0 | 801.3243 | -801.3243 | 1638.094 | 1641.6302
| 13 | (5) With area of benefit charges calculated using 30% LCE shares (economic) and 70% AMD shares (reliability) | All_Major_Capex_30_70 | 5219.3081 | 1652.3701 | 419.1535 | 19312.3066 | 19774.096 | 3716.0701 | 3254.2807 | -201.5252 | 461.7894 | -461.7894 | 5463.4692 | 1896.5312
| 14 | (5) With generation benefit shares of future investment based on analysis of historical benefits | All_major_capex_gen_benefits | 6302.2319 | 2232.6185 | 446.8114 | 19312.3066 | 19047.1436 | 3716.0701 | 3981.2331 | -200.5695 | -265.1629 | 265.1629 | 5790.827 | 1721.2137
| 15 | (5) With Tiwai smelter closes at end of 2030 | All_major_capex_tiwai_off | 3493.7546 | 2051.6742 | 90.9218 | 19312.3066 | 19683.7063 | 3716.0701 | 3344.6704 | -215.5417 | 371.3997 | -371.3997 | 3989.7742 | 2547.6939
Memo items
WUNI - additional effect | 52.403
CS effect as share of Present valued expenditure | 0.09597%
PV baseline expenditure | 52918.688

## Investment efficiencies
Summary - present valued benefits ($ millions)
|  | Central | Lower sensitivity | Upper sensitivity
| More efficient investment in generation and load | 42.4178 | 8.9292 | 110.6923
| Reduced uncertainty for investors | 26.2219 | 9.8342 | 48.293
| Scrutiny of major capex | 45.5717 | 22.7859 | 68.3576
| Scrutiny of base capex | 31.3545 | 6.2788 | 56.4301
| Total | 145.5659 | 47.8281 | 283.773
Generation and load investment efficiencies
Value | 5th percentile | 50th percentile | Mean | 95th percentile
Net benefit | 8929192 | 28931758 | 42417775 | 110692278
Gross benefit | 9005357 | 29181307 | 42930786 | 112438214
Generation benefit | 732197 | 9050955 | 11093954 | 28203576
Demand gross benefit | 2316863 | 15555839 | 31836832 | 103750274
Demand cost | 12599 | 177146 | 513011 | 1876497
Demand net benefit | 2277536 | 15310792 | 31323820 | 101708217
Durability
| 5th percentile | 50th percentile | Mean | 95th percentile
Net benefit | 9834187.9977 | 24461143.8211 | 26221931.3495 | 48293041.0669
Investment scrutiny
Value | Central | Low | High
Of major capex | 45571721.4596 | 22785860.7298 | 68357582.1894
Of base capex | 31354459.3161 | 6278842.1757 | 56430076.4564
Of inefficient investment (undergrounding) | 206413901.4776 | -- | --

## Summary_working
| 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
Scenario | Present value consumer welfare change | Present value consumer welfare change holding energy prices constant | Present value cost of bringing forward transmission investment | Present value load customer interconnection charges, baseline | Present value load customer interconnection charges, proposal | Present value generation customer interconnection charges, baseline | Present value generation customer interconnection charges, proposal | Present value change in battery investment costs under proposal | Change in present value interconnection revenue on load (proposal less baseline) | Change in present value interconnection revenue on generation (proposal less baseline) | Present value net benefits | Present value net benefits holding energy prices constant
Demand | -198.5358 | -200.5354 | 56.5447 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | 0 | 234.8905 | -234.8905 | -20.1901 | -22.1896
Demand_and_gen_investment | 1190.7928 | -126.5297 | 117.9069 | 18729.4318 | 18944.3791 | 3492.8374 | 3277.8901 | 0 | 214.9473 | -214.9473 | 1287.8332 | -29.4893
Demand_and_DG_investment | 19.2039 | 23.7119 | 341.6352 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | -200.5412 | 234.8905 | -234.8905 | 113.0003 | 117.5083
Demand_major_capex | -312.1106 | -316.246 | 66.703 | 19312.3066 | 19709.566 | 3716.0701 | 3318.8107 | 0 | 397.2594 | -397.2594 | 18.4458 | 14.3104
All_major_capex | 4370.2516 | 50.7876 | 420.6959 | 19312.3066 | 19680.5462 | 3716.0701 | 3347.8306 | -201.5219 | 368.2396 | -368.2396 | 4519.3172 | 199.8531
All | 4575.1099 | 135.8729 | 344.1501 | 18729.4318 | 18874.3408 | 3492.8374 | 3347.9283 | -149.6719 | 144.9091 | -144.9091 | 4525.5408 | 86.3038
WUNI | 4834.3276 | 135.7648 | 351.6995 | 18865.3448 | 19051.5128 | 3492.8374 | 3279.6227 | -168.4735 | 186.1679 | -213.2146 | 4837.2695 | 138.7068
MWh_Demand_major_capex | 4.7698 | 4.0529 | 8.0042 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | 0 | 0 | -1.4305e-12 | -3.2345 | -3.9513
All_major_capex_alternative | 3229.0704 | 320.5698 | 341.9125 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | -222.4365 | -3.8147e-12 | 0 | 3109.5944 | 201.0938
All_major_capex_2024 | 4531.832 | 116.3092 | 422.1695 | 19312.3066 | 19607.3626 | 3716.0701 | 3421.0142 | -201.5348 | 295.056 | -295.056 | 4606.2532 | 190.7305
No_AoB_on_existing | 3832.2587 | -526.2825 | 412.4041 | 19312.3066 | 20245.9044 | 3716.0701 | 2782.4723 | -201.5664 | 933.5978 | -933.5978 | 4555.0188 | 196.4776
Demand_no_aob_on_existing | -768.5755 | -775.7771 | 54.2602 | 18729.4318 | 19530.756 | 3492.8374 | 2691.5131 | 0 | 801.3243 | -801.3243 | -21.5114 | -28.713
All_Major_Capex_30_70 | 4276.5183 | -42.6712 | 419.1535 | 19312.3066 | 19774.096 | 3716.0701 | 3254.2807 | -201.5252 | 461.7894 | -461.7894 | 4520.6794 | 201.4899
All_major_capex_gen_benefits | 5531.4499 | 707.5576 | 446.8114 | 19312.3066 | 19047.1436 | 3716.0701 | 3981.2331 | -200.5695 | -265.1629 | 265.1629 | 5020.045 | 196.1527
All_major_capex_tiwai_off | 2216.7179 | 82.9575 | 90.9218 | 19312.3066 | 19683.7063 | 3716.0701 | 3344.6704 | -215.5417 | 371.3997 | -371.3997 | 2712.7375 | 578.9771
Scenario | Present value consumer welfare change | Present value consumer welfare change holding energy prices constant | Present value cost of bringing forward transmission investment | Present value load customer interconnection charges, baseline | Present value load customer interconnection charges, proposal | Present value generation customer interconnection charges, baseline | Present value generation customer interconnection charges, proposal | Present value change in battery investment costs under proposal | Change in present value interconnection revenue on load (proposal less baseline) | Change in present value interconnection revenue on generation (proposal less baseline) | Present value net benefits | Present value net benefits holding energy prices constant
Demand | 1188.6081 | 1194.5609 | 56.5447 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | 0 | 234.8905 | -234.8905 | 1366.9538 | 1372.9066
Demand_and_gen_investment | 2121.2669 | 1238.2124 | 117.9069 | 18729.4318 | 18944.3791 | 3492.8374 | 3277.8901 | 0 | 214.9473 | -214.9473 | 2218.3073 | 1335.2528
Demand_and_DG_investment | 1258.7675 | 1301.1307 | 341.6352 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | -200.5412 | 234.8905 | -234.8905 | 1352.564 | 1394.9271
Demand_major_capex | 1322.6045 | 1327.8524 | 66.703 | 19312.3066 | 19709.566 | 3716.0701 | 3318.8107 | 0 | 397.2594 | -397.2594 | 1653.161 | 1658.4088
All_major_capex | 5309.4137 | 1735.4978 | 420.6959 | 19312.3066 | 19680.5462 | 3716.0701 | 3347.8306 | -201.5219 | 368.2396 | -368.2396 | 5458.4793 | 1884.5634
All | 5353.0932 | 1494.5892 | 344.1501 | 18729.4318 | 18874.3408 | 3492.8374 | 3347.9283 | -149.6719 | 144.9091 | -144.9091 | 5303.5241 | 1445.0201
WUNI | 5772.5428 | 1570.3022 | 351.6995 | 18865.3448 | 19051.5128 | 3492.8374 | 3279.6227 | -168.4735 | 186.1679 | -213.2146 | 5775.4847 | 1573.2441
MWh_Demand_major_capex | 1376.6855 | 1376.8326 | 8.0042 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | 0 | 0 | -1.4305e-12 | 1368.6812 | 1368.8284
All_major_capex_alternative | 4197.0982 | 1759.0962 | 341.9125 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | -222.4365 | -3.8147e-12 | 0 | 4077.6222 | 1639.6202
All_major_capex_2024 | 4986.6978 | 1519.6314 | 422.1695 | 19312.3066 | 19607.3626 | 3716.0701 | 3421.0142 | -201.5348 | 295.056 | -295.056 | 5061.119 | 1594.0527
No_AoB_on_existing | 5002.9821 | 1432.9258 | 412.4041 | 19312.3066 | 20245.9044 | 3716.0701 | 2782.4723 | -201.5664 | 933.5978 | -933.5978 | 5725.7422 | 2155.6859
Demand_no_aob_on_existing | 891.0299 | 894.5661 | 54.2602 | 18729.4318 | 19530.756 | 3492.8374 | 2691.5131 | 0 | 801.3243 | -801.3243 | 1638.094 | 1641.6302
All_Major_Capex_30_70 | 5219.3081 | 1652.3701 | 419.1535 | 19312.3066 | 19774.096 | 3716.0701 | 3254.2807 | -201.5252 | 461.7894 | -461.7894 | 5463.4692 | 1896.5312
All_major_capex_gen_benefits | 6302.2319 | 2232.6185 | 446.8114 | 19312.3066 | 19047.1436 | 3716.0701 | 3981.2331 | -200.5695 | -265.1629 | 265.1629 | 5790.827 | 1721.2137
All_major_capex_tiwai_off | 3493.7546 | 2051.6742 | 90.9218 | 19312.3066 | 19683.7063 | 3716.0701 | 3344.6704 | -215.5417 | 371.3997 | -371.3997 | 3989.7742 | 2547.6939

## net_benefits CS $m
Summary results from grid use model ($2018 millions)
Scenario | Present value consumer welfare change | Present value consumer welfare change holding energy prices constant | Present value cost of bringing forward transmission investment | Present value load customer interconnection charges, baseline | Present value load customer interconnection charges, proposal | Present value generation customer interconnection charges, baseline | Present value generation customer interconnection charges, proposal | Present value change in battery investment costs under proposal | Change in present value interconnection revenue on load (proposal less baseline) | Change in present value interconnection revenue on generation (proposal less baseline) | Present value net benefits | Present value net benefits holding energy prices constant | Welfare Measure
All | 4575.1099 | 135.8729 | 344.1501 | 18729.4318 | 18874.3408 | 3492.8374 | 3347.9283 | -149.6719 | 144.9091 | -144.9091 | 4525.5408 | 86.3038 | CS
All_Major_Capex_30_70 | 4276.5183 | -42.6712 | 419.1535 | 19312.3066 | 19774.096 | 3716.0701 | 3254.2807 | -201.5252 | 461.7894 | -461.7894 | 4520.6794 | 201.4899 | CS
All_major_capex | 4370.2516 | 50.7876 | 420.6959 | 19312.3066 | 19680.5462 | 3716.0701 | 3347.8306 | -201.5219 | 368.2396 | -368.2396 | 4519.3172 | 199.8531 | CS
All_major_capex_2024 | 4531.832 | 116.3092 | 422.1695 | 19312.3066 | 19607.3626 | 3716.0701 | 3421.0142 | -201.5348 | 295.056 | -295.056 | 4606.2532 | 190.7305 | CS
All_major_capex_alternative | 3229.0704 | 320.5698 | 341.9125 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | -222.4365 | -3.8147e-12 | 0 | 3109.5944 | 201.0938 | CS
All_major_capex_gen_benefits | 5531.4499 | 707.5576 | 446.8114 | 19312.3066 | 19047.1436 | 3716.0701 | 3981.2331 | -200.5695 | -265.1629 | 265.1629 | 5020.045 | 196.1527 | CS
All_major_capex_tiwai_off | 2216.7179 | 82.9575 | 90.9218 | 19312.3066 | 19683.7063 | 3716.0701 | 3344.6704 | -215.5417 | 371.3997 | -371.3997 | 2712.7375 | 578.9771 | CS
Demand | -198.5358 | -200.5354 | 56.5447 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | 0 | 234.8905 | -234.8905 | -20.1901 | -22.1896 | CS
Demand_and_DG_investment | 19.2039 | 23.7119 | 341.6352 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | -200.5412 | 234.8905 | -234.8905 | 113.0003 | 117.5083 | CS
Demand_and_gen_investment | 1190.7928 | -126.5297 | 117.9069 | 18729.4318 | 18944.3791 | 3492.8374 | 3277.8901 | 0 | 214.9473 | -214.9473 | 1287.8332 | -29.4893 | CS
Demand_major_capex | -312.1106 | -316.246 | 66.703 | 19312.3066 | 19709.566 | 3716.0701 | 3318.8107 | 0 | 397.2594 | -397.2594 | 18.4458 | 14.3104 | CS
Demand_no_aob_on_existing | -768.5755 | -775.7771 | 54.2602 | 18729.4318 | 19530.756 | 3492.8374 | 2691.5131 | 0 | 801.3243 | -801.3243 | -21.5114 | -28.713 | CS
MWh_Demand_major_capex | 4.7698 | 4.0529 | 8.0042 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | 0 | 0 | -1.4305e-12 | -3.2345 | -3.9513 | CS
No_AoB_on_existing | 3832.2587 | -526.2825 | 412.4041 | 19312.3066 | 20245.9044 | 3716.0701 | 2782.4723 | -201.5664 | 933.5978 | -933.5978 | 4555.0188 | 196.4776 | CS
WUNI | 4834.3276 | 135.7648 | 351.6995 | 18865.3448 | 19051.5128 | 3492.8374 | 3279.6227 | -168.4735 | 186.1679 | -213.2146 | 4837.2695 | 138.7068 | CS

## net_benefits CV $m
Summary results from grid use model ($2018 millions)
Scenario | Present value consumer welfare change | Present value consumer welfare change holding energy prices constant | Present value cost of bringing forward transmission investment | Present value load customer interconnection charges, baseline | Present value load customer interconnection charges, proposal | Present value generation customer interconnection charges, baseline | Present value generation customer interconnection charges, proposal | Present value change in battery investment costs under proposal | Change in present value interconnection revenue on load (proposal less baseline) | Change in present value interconnection revenue on generation (proposal less baseline) | Present value net benefits | Present value net benefits holding energy prices constant | Welfare Measure
All | 5353.0932 | 1494.5892 | 344.1501 | 18729.4318 | 18874.3408 | 3492.8374 | 3347.9283 | -149.6719 | 144.9091 | -144.9091 | 5303.5241 | 1445.0201 | CV
All_Major_Capex_30_70 | 5219.3081 | 1652.3701 | 419.1535 | 19312.3066 | 19774.096 | 3716.0701 | 3254.2807 | -201.5252 | 461.7894 | -461.7894 | 5463.4692 | 1896.5312 | CV
All_major_capex | 5309.4137 | 1735.4978 | 420.6959 | 19312.3066 | 19680.5462 | 3716.0701 | 3347.8306 | -201.5219 | 368.2396 | -368.2396 | 5458.4793 | 1884.5634 | CV
All_major_capex_2024 | 4986.6978 | 1519.6314 | 422.1695 | 19312.3066 | 19607.3626 | 3716.0701 | 3421.0142 | -201.5348 | 295.056 | -295.056 | 5061.119 | 1594.0527 | CV
All_major_capex_alternative | 4197.0982 | 1759.0962 | 341.9125 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | -222.4365 | -3.8147e-12 | 0 | 4077.6222 | 1639.6202 | CV
All_major_capex_gen_benefits | 6302.2319 | 2232.6185 | 446.8114 | 19312.3066 | 19047.1436 | 3716.0701 | 3981.2331 | -200.5695 | -265.1629 | 265.1629 | 5790.827 | 1721.2137 | CV
All_major_capex_tiwai_off | 3493.7546 | 2051.6742 | 90.9218 | 19312.3066 | 19683.7063 | 3716.0701 | 3344.6704 | -215.5417 | 371.3997 | -371.3997 | 3989.7742 | 2547.6939 | CV
Demand | 1188.6081 | 1194.5609 | 56.5447 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | 0 | 234.8905 | -234.8905 | 1366.9538 | 1372.9066 | CV
Demand_and_DG_investment | 1258.7675 | 1301.1307 | 341.6352 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | -200.5412 | 234.8905 | -234.8905 | 1352.564 | 1394.9271 | CV
Demand_and_gen_investment | 2121.2669 | 1238.2124 | 117.9069 | 18729.4318 | 18944.3791 | 3492.8374 | 3277.8901 | 0 | 214.9473 | -214.9473 | 2218.3073 | 1335.2528 | CV
Demand_major_capex | 1322.6045 | 1327.8524 | 66.703 | 19312.3066 | 19709.566 | 3716.0701 | 3318.8107 | 0 | 397.2594 | -397.2594 | 1653.161 | 1658.4088 | CV
Demand_no_aob_on_existing | 891.0299 | 894.5661 | 54.2602 | 18729.4318 | 19530.756 | 3492.8374 | 2691.5131 | 0 | 801.3243 | -801.3243 | 1638.094 | 1641.6302 | CV
MWh_Demand_major_capex | 1376.6855 | 1376.8326 | 8.0042 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | 0 | 0 | -1.4305e-12 | 1368.6812 | 1368.8284 | CV
No_AoB_on_existing | 5002.9821 | 1432.9258 | 412.4041 | 19312.3066 | 20245.9044 | 3716.0701 | 2782.4723 | -201.5664 | 933.5978 | -933.5978 | 5725.7422 | 2155.6859 | CV
WUNI | 5772.5428 | 1570.3022 | 351.6995 | 18865.3448 | 19051.5128 | 3492.8374 | 3279.6227 | -168.4735 | 186.1679 | -213.2146 | 5775.4847 | 1573.2441 | CV

## net_benefits_all $m
Summary results from grid use model ($2018 millions)
Scenario | Present value consumer welfare change | Present value consumer welfare change holding energy prices constant | Present value cost of bringing forward transmission investment | Present value load customer interconnection charges, baseline | Present value load customer interconnection charges, proposal | Present value generation customer interconnection charges, baseline | Present value generation customer interconnection charges, proposal | Present value change in battery investment costs under proposal | Change in present value interconnection revenue on load (proposal less baseline) | Change in present value interconnection revenue on generation (proposal less baseline) | Present value net benefits | Present value net benefits holding energy prices constant | Welfare Measure
All | 5353.0932 | 1494.5892 | 344.1501 | 18729.4318 | 18874.3408 | 3492.8374 | 3347.9283 | -149.6719 | 144.9091 | -144.9091 | 5303.5241 | 1445.0201 | CV
All_Major_Capex_30_70 | 5219.3081 | 1652.3701 | 419.1535 | 19312.3066 | 19774.096 | 3716.0701 | 3254.2807 | -201.5252 | 461.7894 | -461.7894 | 5463.4692 | 1896.5312 | CV
All_major_capex | 5309.4137 | 1735.4978 | 420.6959 | 19312.3066 | 19680.5462 | 3716.0701 | 3347.8306 | -201.5219 | 368.2396 | -368.2396 | 5458.4793 | 1884.5634 | CV
All_major_capex_2024 | 4986.6978 | 1519.6314 | 422.1695 | 19312.3066 | 19607.3626 | 3716.0701 | 3421.0142 | -201.5348 | 295.056 | -295.056 | 5061.119 | 1594.0527 | CV
All_major_capex_alternative | 4197.0982 | 1759.0962 | 341.9125 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | -222.4365 | -3.8147e-12 | 0 | 4077.6222 | 1639.6202 | CV
All_major_capex_gen_benefits | 6302.2319 | 2232.6185 | 446.8114 | 19312.3066 | 19047.1436 | 3716.0701 | 3981.2331 | -200.5695 | -265.1629 | 265.1629 | 5790.827 | 1721.2137 | CV
All_major_capex_tiwai_off | 3493.7546 | 2051.6742 | 90.9218 | 19312.3066 | 19683.7063 | 3716.0701 | 3344.6704 | -215.5417 | 371.3997 | -371.3997 | 3989.7742 | 2547.6939 | CV
Demand | 1188.6081 | 1194.5609 | 56.5447 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | 0 | 234.8905 | -234.8905 | 1366.9538 | 1372.9066 | CV
Demand_and_DG_investment | 1258.7675 | 1301.1307 | 341.6352 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | -200.5412 | 234.8905 | -234.8905 | 1352.564 | 1394.9271 | CV
Demand_and_gen_investment | 2121.2669 | 1238.2124 | 117.9069 | 18729.4318 | 18944.3791 | 3492.8374 | 3277.8901 | 0 | 214.9473 | -214.9473 | 2218.3073 | 1335.2528 | CV
Demand_major_capex | 1322.6045 | 1327.8524 | 66.703 | 19312.3066 | 19709.566 | 3716.0701 | 3318.8107 | 0 | 397.2594 | -397.2594 | 1653.161 | 1658.4088 | CV
Demand_no_aob_on_existing | 891.0299 | 894.5661 | 54.2602 | 18729.4318 | 19530.756 | 3492.8374 | 2691.5131 | 0 | 801.3243 | -801.3243 | 1638.094 | 1641.6302 | CV
MWh_Demand_major_capex | 1376.6855 | 1376.8326 | 8.0042 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | 0 | 0 | -1.4305e-12 | 1368.6812 | 1368.8284 | CV
No_AoB_on_existing | 5002.9821 | 1432.9258 | 412.4041 | 19312.3066 | 20245.9044 | 3716.0701 | 2782.4723 | -201.5664 | 933.5978 | -933.5978 | 5725.7422 | 2155.6859 | CV
WUNI | 5772.5428 | 1570.3022 | 351.6995 | 18865.3448 | 19051.5128 | 3492.8374 | 3279.6227 | -168.4735 | 186.1679 | -213.2146 | 5775.4847 | 1573.2441 | CV
All | 4575.1099 | 135.8729 | 344.1501 | 18729.4318 | 18874.3408 | 3492.8374 | 3347.9283 | -149.6719 | 144.9091 | -144.9091 | 4525.5408 | 86.3038 | CS
All_Major_Capex_30_70 | 4276.5183 | -42.6712 | 419.1535 | 19312.3066 | 19774.096 | 3716.0701 | 3254.2807 | -201.5252 | 461.7894 | -461.7894 | 4520.6794 | 201.4899 | CS
All_major_capex | 4370.2516 | 50.7876 | 420.6959 | 19312.3066 | 19680.5462 | 3716.0701 | 3347.8306 | -201.5219 | 368.2396 | -368.2396 | 4519.3172 | 199.8531 | CS
All_major_capex_2024 | 4531.832 | 116.3092 | 422.1695 | 19312.3066 | 19607.3626 | 3716.0701 | 3421.0142 | -201.5348 | 295.056 | -295.056 | 4606.2532 | 190.7305 | CS
All_major_capex_alternative | 3229.0704 | 320.5698 | 341.9125 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | -222.4365 | -3.8147e-12 | 0 | 3109.5944 | 201.0938 | CS
All_major_capex_gen_benefits | 5531.4499 | 707.5576 | 446.8114 | 19312.3066 | 19047.1436 | 3716.0701 | 3981.2331 | -200.5695 | -265.1629 | 265.1629 | 5020.045 | 196.1527 | CS
All_major_capex_tiwai_off | 2216.7179 | 82.9575 | 90.9218 | 19312.3066 | 19683.7063 | 3716.0701 | 3344.6704 | -215.5417 | 371.3997 | -371.3997 | 2712.7375 | 578.9771 | CS
Demand | -198.5358 | -200.5354 | 56.5447 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | 0 | 234.8905 | -234.8905 | -20.1901 | -22.1896 | CS
Demand_and_DG_investment | 19.2039 | 23.7119 | 341.6352 | 18729.4318 | 18964.3222 | 3492.8374 | 3257.9469 | -200.5412 | 234.8905 | -234.8905 | 113.0003 | 117.5083 | CS
Demand_and_gen_investment | 1190.7928 | -126.5297 | 117.9069 | 18729.4318 | 18944.3791 | 3492.8374 | 3277.8901 | 0 | 214.9473 | -214.9473 | 1287.8332 | -29.4893 | CS
Demand_major_capex | -312.1106 | -316.246 | 66.703 | 19312.3066 | 19709.566 | 3716.0701 | 3318.8107 | 0 | 397.2594 | -397.2594 | 18.4458 | 14.3104 | CS
Demand_no_aob_on_existing | -768.5755 | -775.7771 | 54.2602 | 18729.4318 | 19530.756 | 3492.8374 | 2691.5131 | 0 | 801.3243 | -801.3243 | -21.5114 | -28.713 | CS
MWh_Demand_major_capex | 4.7698 | 4.0529 | 8.0042 | 19312.3066 | 19312.3066 | 3716.0701 | 3716.0701 | 0 | 0 | -1.4305e-12 | -3.2345 | -3.9513 | CS
No_AoB_on_existing | 3832.2587 | -526.2825 | 412.4041 | 19312.3066 | 20245.9044 | 3716.0701 | 2782.4723 | -201.5664 | 933.5978 | -933.5978 | 4555.0188 | 196.4776 | CS
WUNI | 4834.3276 | 135.7648 | 351.6995 | 18865.3448 | 19051.5128 | 3492.8374 | 3279.6227 | -168.4735 | 186.1679 | -213.2146 | 4837.2695 | 138.7068 | CS

## net_benefits_all
Summary results from grid use model ($2018)
Scenario | Present value consumer welfare change | Present value consumer welfare change holding energy prices constant | Present value cost of bringing forward transmission investment | Present value load customer interconnection charges, baseline | Present value load customer interconnection charges, proposal | Present value generation customer interconnection charges, baseline | Present value generation customer interconnection charges, proposal | Present value change in battery investment costs under proposal | Change in present value interconnection revenue on load (proposal less baseline) | Change in present value interconnection revenue on generation (proposal less baseline) | Present value net benefits | Present value net benefits holding energy prices constant | Welfare Measure
All | 5353093177.4918 | 1494589188.9222 | 344150091.5436 | 18729431757.1687 | 18874340847.5111 | 3492837386.2529 | 3347928297.5853 | -149671892.4262 | 144909090.3424 | -144909088.6676 | 5303524068.7168 | 1445020080.1472 | CV
All_Major_Capex_30_70 | 5219308069.7673 | 1652370091.6119 | 419153522.3018 | 19312306574.1901 | 19774096017.2631 | 3716070142.1845 | 3254280700.6409 | -201525178.9617 | 461789443.073 | -461789441.5437 | 5463469169.5001 | 1896531191.3447 | CV
All_major_capex | 5309413713.1082 | 1735497812.0562 | 420695896.0379 | 19312306574.1901 | 19680546157.0734 | 3716070142.1845 | 3347830560.8306 | -201521888.3677 | 368239582.8833 | -368239581.354 | 5458479288.3213 | 1884563387.2693 | CV
All_major_capex_2024 | 4986697783.9142 | 1519631405.9189 | 422169544.2542 | 19312306574.1901 | 19607362560.7872 | 3716070142.1845 | 3421014156.9935 | -201534806.5168 | 295055986.5971 | -295055985.191 | 5061119032.7739 | 1594052654.7786 | CV
All_major_capex_alternative | 4197098248.8071 | 1759096179.9594 | 341912527.4615 | 19312306574.1901 | 19312306574.1901 | 3716070142.1845 | 3716070142.1845 | -222436517.7341 | -3.8147e-06 | 0 | 4077622239.0797 | 1639620170.232 | CV
All_major_capex_gen_benefits | 6302231888.1752 | 2232618501.3342 | 446811423.9828 | 19312306574.1901 | 19047143635.7281 | 3716070142.1845 | 3981233082.1759 | -200569512.1809 | -265162938.462 | 265162939.9913 | 5790827037.9114 | 1721213651.0703 | CV
All_major_capex_tiwai_off | 3493754591.2531 | 2051674245.0468 | 90921778.24 | 19312306574.1901 | 19683706291.797 | 3716070142.1845 | 3344670426.107 | -215541670.0526 | 371399717.6069 | -371399716.0776 | 3989774200.6726 | 2547693854.4663 | CV
Demand | 1188608077.5512 | 1194560876.1989 | 56544705.1252 | 18729431757.1687 | 18964322227.948 | 3492837386.2529 | 3257946916.97 | 0 | 234890470.7793 | -234890469.2829 | 1366953843.2054 | 1372906641.853 | CV
Demand_and_DG_investment | 1258767544.8949 | 1301130670.5284 | 341635226.4549 | 18729431757.1687 | 18964322227.948 | 3492837386.2529 | 3257946916.97 | -200541173.7676 | 234890470.7793 | -234890469.2829 | 1352563962.9869 | 1394927088.6204 | CV
Demand_and_gen_investment | 2121266909.1148 | 1238212434.4729 | 117906910.5663 | 18729431757.1687 | 18944379074.6498 | 3492837386.2529 | 3277890070.2682 | 0 | 214947317.4811 | -214947315.9847 | 2218307316.0296 | 1335252841.3876 | CV
Demand_major_capex | 1322604544.3519 | 1327852402.2718 | 66702996.3695 | 19312306574.1901 | 19709565977.5578 | 3716070142.1846 | 3318810740.3462 | 0 | 397259403.3676 | -397259401.8383 | 1653160951.3501 | 1658408809.2699 | CV
Demand_no_aob_on_existing | 891029876.8316 | 894566082.0106 | 54260169.5752 | 18729431757.1687 | 19530756014.1363 | 3492837386.2529 | 2691513129.331 | 0 | 801324256.9676 | -801324256.922 | 1638093964.224 | 1641630169.403 | CV
MWh_Demand_major_capex | 1376685481.3345 | 1376832615.2715 | 8004240.179 | 19312306574.1901 | 19312306574.1901 | 3716070142.1846 | 3716070142.1846 | 0 | 0 | -1.4305e-06 | 1368681241.1556 | 1368828375.0926 | CV
No_AoB_on_existing | 5002982087.7834 | 1432925790.559 | 412404113.6766 | 19312306574.1901 | 20245904384.5173 | 3716070142.1845 | 2782472331.9359 | -201566410.3068 | 933597810.3272 | -933597810.2486 | 5725742194.7409 | 2155685897.5165 | CV
WUNI | 5772542803.472 | 1570302220.1145 | 351699546.5368 | 18865344839.7414 | 19051512782.0415 | 3492837386.2529 | 3279622742.0145 | -168473524.3733 | 186167942.3001 | -213214644.2384 | 5775484723.6087 | 1573244140.2511 | CV
All | 4575109886.8944 | 135872860.2687 | 344150091.5436 | 18729431757.1687 | 18874340847.5111 | 3492837386.2529 | 3347928297.5853 | -149671892.4262 | 144909090.3424 | -144909088.6676 | 4525540778.1194 | 86303751.4937 | CS
All_Major_Capex_30_70 | 4276518280.683 | -42671190.8022 | 419153522.3018 | 19312306574.1901 | 19774096017.2631 | 3716070142.1845 | 3254280700.6409 | -201525178.9617 | 461789443.073 | -461789441.5437 | 4520679380.4158 | 201489908.9307 | CS
All_major_capex | 4370251614.5323 | 50787566.1603 | 420695896.0379 | 19312306574.1901 | 19680546157.0734 | 3716070142.1845 | 3347830560.8306 | -201521888.3677 | 368239582.8833 | -368239581.354 | 4519317189.7454 | 199853141.3734 | CS
All_major_capex_2024 | 4531831988.8693 | 116309201.4355 | 422169544.2542 | 19312306574.1901 | 19607362560.7872 | 3716070142.1845 | 3421014156.9935 | -201534806.5168 | 295055986.5971 | -295055985.191 | 4606253237.729 | 190730450.2952 | CS
All_major_capex_alternative | 3229070385.2378 | 320569791.7318 | 341912527.4615 | 19312306574.1901 | 19312306574.1901 | 3716070142.1845 | 3716070142.1845 | -222436517.7341 | -3.8147e-06 | 0 | 3109594375.5104 | 201093782.0044 | CS
All_major_capex_gen_benefits | 5531449898.5168 | 707557599.3401 | 446811423.9828 | 19312306574.1901 | 19047143635.7281 | 3716070142.1845 | 3981233082.1759 | -200569512.1809 | -265162938.462 | 265162939.9913 | 5020045048.2529 | 196152749.0762 | CS
All_major_capex_tiwai_off | 2216717880.045 | 82957513.0791 | 90921778.24 | 19312306574.1901 | 19683706291.797 | 3716070142.1845 | 3344670426.107 | -215541670.0526 | 371399717.6069 | -371399716.0776 | 2712737489.4645 | 578977122.4986 | CS
Demand | -198535834.4793 | -200535370.0299 | 56544705.1252 | 18729431757.1687 | 18964322227.948 | 3492837386.2529 | 3257946916.97 | 0 | 234890470.7793 | -234890469.2829 | -20190068.8252 | -22189604.3757 | CS
Demand_and_DG_investment | 19203879.7484 | 23711879.0258 | 341635226.4549 | 18729431757.1687 | 18964322227.948 | 3492837386.2529 | 3257946916.97 | -200541173.7676 | 234890470.7793 | -234890469.2829 | 113000297.8404 | 117508297.1178 | CS
Demand_and_gen_investment | 1190792816.0415 | -126529691.485 | 117906910.5663 | 18729431757.1687 | 18944379074.6498 | 3492837386.2529 | 3277890070.2682 | 0 | 214947317.4811 | -214947315.9847 | 1287833222.9563 | -29489284.5702 | CS
Demand_major_capex | -312110588.8589 | -316245981.5973 | 66702996.3695 | 19312306574.1901 | 19709565977.5578 | 3716070142.1846 | 3318810740.3462 | 0 | 397259403.3676 | -397259401.8383 | 18445818.1393 | 14310425.4009 | CS
Demand_no_aob_on_existing | -768575478.2267 | -775777121.677 | 54260169.5752 | 18729431757.1687 | 19530756014.1363 | 3492837386.2529 | 2691513129.331 | 0 | 801324256.9676 | -801324256.922 | -21511390.8342 | -28713034.2846 | CS
MWh_Demand_major_capex | 4769750.3785 | 4052925.3281 | 8004240.179 | 19312306574.1901 | 19312306574.1901 | 3716070142.1846 | 3716070142.1846 | 0 | 0 | -1.4305e-06 | -3234489.8005 | -3951314.8509 | CS
No_AoB_on_existing | 3832258685.4169 | -526282510.9172 | 412404113.6766 | 19312306574.1901 | 20245904384.5173 | 3716070142.1845 | 2782472331.9359 | -201566410.3068 | 933597810.3272 | -933597810.2486 | 4555018792.3743 | 196477596.0402 | CS
WUNI | 4834327550.0255 | 135764836.1449 | 351699546.5368 | 18865344839.7414 | 19051512782.0415 | 3492837386.2529 | 3279622742.0145 | -168473524.3733 | 186167942.3001 | -213214644.2384 | 4837269470.1621 | 138706756.2815 | CS

## Costs
TPM development / approval |  |  | TPM implementation costs |  |  | TPM ongoing/operational costs
Cost category | 2019 proposed TPM guidelines | Current TPM guidelines | Cost category | 2019 proposed TPM guidelines | Current TPM guidelines | Cost category | 2019 proposed TPM guidelines | Current TPM guidelines
Transpower TPM development cost | 4080000 | 1950000 | Transpower TPM implementation cost | 6440000 | 2150000 | Transpower year 1 administration cost | 1140000 | 320000
Authority TPM approval cost | 750000 | 560000 | DTC implementation cost | 670000 | Negligible | Transpower years 2-5 administration cost | 1970000
Stakeholder participation cost | 1500000 | 1500000 | Legal challenge cost | 1500000 | 1500000 | Transpower years 6-30 administration cost | 5770000
Legal challenge cost | 1500000 | 1500000 | Total | 8610000 | 3650000 | Stakeholder ongoing cost – transmission asset optimisation | 370000 | Not applicable
Total | 7830000 | 5510000 |  |  |  | Total | 9250000 | 320000

## Summary sensitivities
|  |  |  | Central case | [7 empty] | Costs |  |  |  | Net | [8 empty] | Costs |  |  |  | Net
[5 empty] | CS | Increase in revenue from load | Grid use | Batteries | Gen & load investment | Scrutiny | Certainty | Implementation and admin | Transmission investment | Displaced load | Price cap |  |  | CS | Tax | Grid use | Batteries | Gen & load investment | Scrutiny | Certainty | Implementaion and admin | Transmission investment | Displaced load | Price cap
|  |  |  | Base case | 2210.5196 | 368.2396 | 2578.7592 | 201.5219 | 42.9308 | 76.9262 | 26.2219 | 25.69 | 187.8577 | 0.51301 | 1.0592 | 2711.2401 | Base case | 2210.5196 | 368.2396 | 2578.7592 | 201.5219 | 42.9308 | 76.9262 | 26.2219 | 25.69 | 187.8577 | 0.51301 | 1.0592 | 2711.2401
|  |  |  | Low | -316.246 | 397.2594 | 81.0134 | 137.2254 | 9.0054 | 29.0647 | 9.8342 | 12.845 | 51.4185 | 1.8765 | 1.0592 | 198.9438 | Low | -316.246 | 397.2594 | 81.0134 | 137.2254 | 9.0054 | 29.0647 | 9.8342 | 12.845 | 51.4185 | 1.8765 | 1.0592 | 198.9438
|  |  |  | High | 5309.4137 | 368.2396 | 5677.6533 | 785.8801 | 112.4382 | 124.7877 | 48.293 | 38.535 | 324.2968 | 1.8765 | 1.0592 | 6383.2848 | High | 5309.4137 | 368.2396 | 5677.6533 | 785.8801 | 112.4382 | 124.7877 | 48.293 | 38.535 | 324.2968 | 1.8765 | 1.0592 | 6383.2848
Central | 2711.2401 | [16 empty] | Low
Parameter sensitivities
| Low | Central scenario | High |  | CS | Increase in revenue from load | Grid use | Batteries | Gen & load investment | Scrutiny | Certainty | Implementaion and admin | Transmission investment | Displaced load | Price cap |  |  | CS | Tax | Grid use | Batteries | Gen & load investment | Scrutiny | Certainty | Implementaion and admin | Transmission investment | Displaced load | Price cap
Generation investment parameters | 304.561 | 2711.2401 | 5995.4242 |  | 5493.6446 | 368.2396 | 5861.8842 | 201.5219 | 42.9308 | 76.9262 | 26.2219 | 25.69 | 187.8577 | 0.51301 | 1.0592 | 5995.4242 |  | -196.1595 | 368.2396 | 172.0801 | 201.5219 | 42.9308 | 76.9262 | 26.2219 | 25.69 | 187.8577 | 0.51301 | 1.0592 | 304.561
Aggregate demand elasticity parameters | 2602.5757 | 2711.2401 | 4591.3033 |  | 4089.5236 | 368.2396 | 4457.7632 | 201.5219 | 42.9308 | 76.9262 | 26.2219 | 25.69 | 187.8577 | 0.51301 | 1.0592 | 4591.3033 |  | 2101.8552 | 368.2396 | 2470.0948 | 201.5219 | 42.9308 | 76.9262 | 26.2219 | 25.69 | 187.8577 | 0.51301 | 1.0592 | 2602.5757
Battery cost sensitivity | 1303.3088 | 2711.2401 | 3082.2813 |  | 2428.6286 | 368.2396 | 2796.8682 | 353.3949 | 42.9308 | 76.9262 | 26.2219 | 25.69 | 187.8577 | 0.51301 | 1.0592 | 3082.2813 |  | 731.8862 | 368.2396 | 1100.1258 | 272.2241 | 42.9308 | 76.9262 | 26.2219 | 25.69 | 187.8577 | 0.51301 | 1.0592 | 1303.3088
Battery investment response sensitivity | 2677.7085 | 2711.2401 | 3380.1438 |  | 2382.1839 | 397.2594 | 2779.4434 | 668.6823 | 42.9308 | 76.9262 | 26.2219 | 25.69 | 187.8577 | 0.51301 | 1.0592 | 3380.1438 |  | 2163.0748 | 368.2396 | 2531.3144 | 215.4351 | 42.9308 | 76.9262 | 26.2219 | 25.69 | 187.8577 | 0.51301 | 1.0592 | 2677.7085
Discount factor for 2 year delay | 0.863
Scenarios:
Benefit charge assumptions |  |  |  |  | CS | Increase in revenue from load | Grid use | Batteries | Gen & load investment | Scrutiny | Certainty | Implementaion and admin | Transmission investment | Displaced load | Price cap
- 30/70 economic vs AMD |  | 2711.1972 |  |  | 2116.9235 | 461.7894 | 2578.713 | 201.5252 | 42.9308 | 76.9262 | 26.2219 | 25.69 | 187.8577 | 0.51301 | 1.0592 | 2711.1972
- Larger generation benefits |  | 2985.8693 |  |  | 3119.5037 | -265.1629 | 2854.3408 | 200.5695 | 42.9308 | 76.9262 | 26.2219 | 25.69 | 187.8577 | 0.51301 | 1.0592 | 2985.8693
Other scenarios
Tiwai smelter closes in 2030 |  | 1785.508 |  |  | 1149.8377 | 371.3997 | 1521.2374 | 215.5417 | 42.9308 | 76.9262 | 26.2219 | 25.69 | 70.0878 | 0.51301 | 1.0592 | 1785.508
TPM changed in 2024 |  | 2735.1974 |  |  | 2324.0706 | 295.056 | 2619.1266 | 201.5348 | 37.0493 | 66.3873 | 22.6295 | 22.1705 | 187.8577 | 0.44273 | 1.0592 | 2735.1974
Parameter sensitivities +/- around central
Generation investment parameters | -2406.6791 | 3284.1842
Aggregate demand elasticity parameters | -108.6644 | 1880.0632
Battery cost sensitivity | -1407.9313 | 371.0412
Battery investment response sensitivity | -33.5316 | 668.9038
Chart data:
Generation investment | 5995.4242 | 304.561 | 2711.2401
Aggregate demand elasticity | 4591.3033 | 2602.5757 | 2711.2401
Battery cost | 3082.2813 | 1303.3088 | 2711.2401
Battery investment response | 3380.1438 | 2677.7085 | 2711.2401
70% of benefits from reliability investments | 2711.2401 | 2711.1972 | 2711.2401
Generation share of reliability benefits 37.6% | 2711.2401 | 2985.8693
Tiwai smelter closes in 2030 | 2711.2401 | 1785.508
TPM changed in 2024 | 2711.2401 | 2735.1974

## Battery sensitivities
Battery sensitivities
Annual cost decline factor | Investment response | PV investment change ($2018)
0.92 | 0.25 | -227502116.3508
0.92 | 0.5 | -350209994.8099
0.92 | 1 | -524000807.716
0.92 | 2 | -785880102.4806
0.93 | 0.25 | -215435057.6568
0.93 | 0.5 | -353394927.6928
0.93 | 1 | -485364382.899
0.93 | 2 | -668682283.2581
0.94 | 0.25 | -211741756.3869
0.94 | 0.5 | -324264396.7318
0.94 | 1 | -462160353.5737
0.94 | 2 | -692996899.8062
0.95 | 0.25 | -185718420.733
0.95 | 0.5 | -338195085.0213
0.95 | 1 | -465597068.7174
0.95 | 2 | -679398512.0714
0.96 | 0.25 | -137225363.3539
0.96 | 0.5 | -272224050.0539
0.96 | 1 | -432937522.5032
0.96 | 2 | -634374893.5846

## Sensitivities
| Aggregate demand elasticity sensitivities | [6 empty] | Generation investment and energy price sensitivities
| Base scenario is the main scenario "All major capex" | [6 empty] | Base scenario is the main scenario "All major capex"
| Price elasticity of demand |  | PV consumer welfare change |  | PV consumer welfare change without energy price effect |  |  |  |  | PV consumer welfare change |  | PV consumer welfare change without energy price effect
| Mass market | Industrial | Consumer surplus measure | Compensating variation | Consumer surplus measure | Compensating variation |  | Multiplier | Maximum investments per year | Consumer surplus measure | Compensating variation | Consumer surplus measure | Compensating variation
| -0.2 | -0.11 | 7782776581.3482 | 7145222161.658 | 225904594.7493 | 1837324323.344 |  | 1 | 1 | 4311609101.391 | 5804420241.6242 | 64469506.252 | 1907682179.3916
| -0.2 | -0.07 | 7953142655.8007 | 7329228997.4549 | 208055975.0211 | 1813564212.6999 |  | 1 | 2 | 5536363737.6238 | 6993053707.5156 | 86202467.0965 | 1922842259.2055
| -0.2 | -0.02 | 7945913009.593 | 7252796688.1551 | 190161162.0291 | 1781425221.6076 |  | 1 | 5 | 6284208996.7977 | 6605019034.8532 | 115358639.0878 | 1984263142.2043
| -0.11 | -0.11 | 4175554784.6087 | 5015662724.6724 | 88062004.6571 | 1757090543.8698 |  | 1.075 | 1 | 3905977428.0926 | 5157839862.056 | 64784916.9774 | 1834176082.3464
| -0.11 | -0.07 | 4359481157.0051 | 5340178996.1899 | 61960517.2321 | 1739810667.5451 |  | 1.075 | 2 | 5166808777.1187 | 6137398301.332 | 88236036.9244 | 1856598142.8563
Central case | -0.11 | -0.02 | 4370251614.5323 | 5309413713.1082 | 50787566.1603 | 1735497812.0562 |  | 1.075 | 5 | 5547515201.0194 | 5449701011.6736 | 77749362.6673 | 1917615431.2431
| -0.09 | -0.11 | 4487940725.6001 | 5417976546.8346 | 63581790.911 | 1725791341.2655 |  | 1.15 | 1 | 3336216804.9198 | 4421389560.3245 | 24242192.8552 | 1690640429.0191
| -0.09 | -0.07 | 4569076823.9003 | 5529449373.0294 | 40093698.0435 | 1724462458.5488 | Central case | 1.15 | 2 | 4370251614.5323 | 5309413713.1082 | 50787566.1603 | 1735497812.0562
| -0.09 | -0.02 | 4708746097.4348 | 5688323009.2444 | 28155565.8675 | 1689034414.8412 |  | 1.15 | 5 | 5445869777.702 | 5748424178.9982 | 99239882.7976 | 1826269750.9556
[8 empty] | 1.225 | 1 | -330295108.2544 | 821896161.8089 | -58332677.8671 | 1345448106.9917
[8 empty] | 1.225 | 2 | 4013861366.7107 | 4863733922.5778 | -27286057.2825 | 1336537300.4984
| DG/battery investment sensitivities | [6 empty] | 1.225 | 5 | 10871930496.405 | 9243782459.335 | 47127051.8059 | 1368768505.6572
| Base scenario is the main scenario "All major capex" | [6 empty] | 1.3 | 1 | 1593344969.9093 | 2398704152.5495 | -61899331.0186 | 1092227864.8608
[8 empty] | 1.3 | 2 | 2997576475.7557 | 3488503667.4462 | -62023838.332 | 1141345523.3763
|  |  | PV consumer welfare change |  | PV consumer welfare change without energy price effect |  |  | 1.3 | 5 | 7268081484.8582 | 6056211753.945 | -59911777.2465 | 1182209257.512
| Rate of growth in capital costs | Supply elasticity (0.5, implies a 1% cost advantage increases investment by 0.5%) | Consumer surplus measure | Compensating variation | Consumer surplus measure | Compensating variation
| 0.92 | 0.25 | 4366250579.9278 | 5347839620.1689 | -18646403.3858 | 1600236847.1027 |  | Generation investment and energy price sensitivities
| 0.92 | 0.5 | 4779937343.3065 | 5717712191.3026 | 77319800.9764 | 1723362224.1799 |  | Base scenario is the main scenario "All major capex" BUT WITH BATTERY INVESTMENT EFFECTS REMOVED
| 0.92 | 1 | 4206244815.9585 | 5075052522.9868 | 199096429.3873 | 1910589628.7524
| 0.92 | 2 | 4178368990.3363 | 5071123152.1436 | 353794943.832 | 2107451379.1003 |  |  |  | PV consumer welfare change |  | PV consumer welfare change without energy price effect
| 0.93 | 0.25 | 4415666174.5601 | 5331764175.0223 | -44101988.0248 | 1570119062.6047 |  | Multiplier | Maximum investments per year | Consumer surplus measure | Compensating variation | Consumer surplus measure | Compensating variation
Central case | 0.93 | 0.5 | 4370251614.5323 | 5309413713.1082 | 50787566.1603 | 1735497812.0562 |  | 1 | 1 | 373936804.6008 | 1853274152.2379 | -116643650.6964 | 1763737402.9074
| 0.93 | 1 | 4483496726.0692 | 5404656752.3152 | 124588636.5601 | 1821380836.4945 |  | 1 | 2 | 672166756.1144 | 2180750381.4663 | -95373225.9301 | 1779225662.5398
| 0.93 | 2 | 4475908205.3087 | 5336175745.4075 | 280871168.3282 | 1929760630.7522 |  | 1 | 5 | 2407482148.3724 | 3015262164.1279 | -21752261.0481 | 1833006632.0625
| 0.94 | 0.25 | 4186811489.7996 | 5122687159.7142 | -85442567.3138 | 1516939020.1515 |  | 1.075 | 1 | 799456105.2231 | 2217702976.004 | -62947094.8841 | 1540435996.0234
| 0.94 | 0.5 | 4725316366.184 | 5691564304.3878 | -3749414.1242 | 1635111721.1692 |  | 1.075 | 2 | 1217840064.6986 | 2518012712.7009 | -41548694.1383 | 1563247382.3165
| 0.94 | 1 | 4364567152.9534 | 5290016231.1172 | 93483486.062 | 1782411585.3876 |  | 1.075 | 5 | 2545503599.2197 | 2866529675.8609 | 12801499.713 | 1627505139.9018
| 0.94 | 2 | 4591409060.8206 | 5515018416.8152 | 135344315.7914 | 1834540381.9894 |  | 1.15 | 1 | 807797352.9963 | 1894459040.2856 | -78124050.3845 | 1309387994.6344
| 0.95 | 0.25 | 2055998564.0106 | 2953852132.8155 | -133020867.094 | 1463272966.1012 | Central case | 1.15 | 2 | 1563375664.2093 | 2513747655.7465 | -17098563.1804 | 1348615041.587
| 0.95 | 0.5 | 4169674972.5849 | 5102246024.3751 | -58154231.3278 | 1541105823.7491 |  | 1.15 | 5 | 2306627503.2789 | 2859920035.9841 | 39690903.6318 | 1543169677.6201
| 0.95 | 1 | 4516324092.3436 | 5486999796.0204 | 28397791.3494 | 1680683656.1989 |  | 1.225 | 1 | 1173939605.58 | 2091278765.381 | -26427415.5583 | 1003952102.0574
| 0.95 | 2 | 4404321197.3405 | 5284120338.5008 | 70271785.1346 | 1720115776.0318 |  | 1.225 | 2 | 2169853751.0869 | 2917734044.3421 | 6639147.6178 | 1029216902.8292
| 0.96 | 0.25 | 772642019.2402 | 1866878749.4764 | -194047694.5676 | 1429035405.1313 |  | 1.225 | 5 | 5885006118.0269 | 4617459071.3621 | 57014219.2033 | 1114767598.8118
| 0.96 | 0.5 | 1589545851.2309 | 2519387634.3031 | -125773509.718 | 1476316825.5666 |  | 1.3 | 1 | 1083864743.5017 | 1950590337.6655 | -72938461.5362 | 924392930.4564
| 0.96 | 1 | 4215714251.5856 | 5096283626.2812 | -42153866.0154 | 1540695303.0476 |  | 1.3 | 2 | 2471518194.5269 | 2948058116.9913 | 35127631.2594 | 945929383.9671
| 0.96 | 2 | 4348098978.5121 | 5323193023.5144 | 38713097.1947 | 1680643628.3338 |  | 1.3 | 5 | 5435594947.1004 | 4549259298.3304 | 63247194.1955 | 986281222.7219