## Summary
[9 empty] | Monte carlo model output |  |  |  |  | Monte carlo model output
Summary - present valued benefits ($ millions)
[5 empty] | Monte carlo |  |  |  | Efficient load and generation investment |  |  |  |  | Durability/increased certainty
| Example in this file | Recommended: | Lower sensitivity | Upper sensitivity | 5th percentile | 50th percentile | Mean | 95th percentile | Value | 5th percentile | 50th percentile | Mean | 95th percentile | 5th percentile | 50th percentile | Mean | 95th percentile
More efficient investment in generation and load | 33.9731 | 39.246 | 7.5876 | 107.121 | 7.5876 | 24.2182 | 39.246 | 107.121 | Net benefit | 7587570.1021 | 24218173.6752 | 39246011.6656 | 107120954.3452 | 11300440.6598 | 28814955.6897 | 31270589.9842 | 59330249.4975
Durability (reduced uncertainty for investors) | 49.4348 | 31.2706 | 11.3004 | 59.3302 | 11.3004 | 28.815 | 31.2706 | 59.3302 | Gross benefit | 7670821.6061 | 24441660.8382 | 39769161.9594 | 109127329.3977
Scrutiny of major capex - net of costs of legal challenge | 30.2963 | 30.2963 | 6.2162 | 54.3763 | -- | -- | -- | -- | Generation benefit | 494069.9178 | 6039358.4826 | 7370356.9556 | 18826672.9314
Scrutiny of base capex | 18.8167 | 18.8167 | 3.1394 | 43.8923 | -- | -- | -- | -- | Demand gross benefit | 2328508.5875 | 15674507.0685 | 32398805.0038 | 103388881.6372
Total | 132.5208 | 119.6295 | 28.2437 | 264.7198 | -- | -- | -- | -- | Demand cost | 12149.3337 | 177403.9461 | 523150.2938 | 1862525.5499
[9 empty] | Demand net benefit | 2293204.4179 | 15420211.1257 | 31875654.7099 | 101598850.8967
Scrutiny of inefficient investment - undergrounding example | 206.4139 | 206.4139
The undergrounding scenario is used as a sense check for the headline results on major capex, because it is indicative of the scale of benefits that could arise from more efficient major capex projects.
Note on D9: Phillip Beardmore: $32m = load-related $1.9m = generation-related (Refer to mean results in monte carlo charts below.)

## Efficient investment
Parameter table, row | Description | Parameters | Value |  | Expected long run price change |  |  | Benefits of investment deferral, demand effect |  | Costs of demand reductions | Benefits of generation investment displacement |  |  | Distributions of parameter values, for monte carlo analysis
13 | Typical MW in area of benefit |  | 2464
21 | Expected price of energy |  | 109
6 | Average revenue per MWh |  | 18.7561
6 | Average E&D $/MWh |  | 1.0763
6 | Transmission costs, share of prices |  | 0.8425%
2 | Share of investment for reliability |  | 0.5
| Discount rate |  | 0.9434
6 | Long run elasticity |  | -0.74
14 | Displaced demand |  | 0.5
15 | Investment effect lag |  | 0.033504
2 | Share of investment, economic |  | 0.5
17 | Change in generation investment |  | -1.67%
7 | Peak demand growth, post 2033 |  | 0.0084
| Assumed major capex ex 2035 |  | 77128815.4384
| Assumed annual E&D post 2035 |  | 20878815.4384
| Assumed annual R&R post 2035 |  | 56250000
| Average expenditure per MW after 2035 |  | 280617.1743
[5 empty] | + Demand benefit | - Demand cost | + Generation benefit | Net benefit | % of PV expenditure
|  |  |  | Summary: | 20379078.3754 | -341387.1277 | 13935388.2455 | 33973079.4932 | 4.963%
|  |  |  | Demand-side investment efficiencies | [6 empty] | Supply-side investment efficiencies |  | Memo:
|  |  |  | Baseline: |  |  | Proposal effect, benefits |  | Proposal effect, costs: | Net effects of proposal: | Baseline: | Proposal effects
|  |  | Year | Demand | Expenditure | Expenditure per additional MW | Price change | Benefit, yearly profile | Cost, yearly profile | Net benefit, yearly profile | Generation in export constrained areas | Benefit, yearly profile | PV expenditure
|  |  | 2021 | 7376.0938 | 27685075.8917
|  |  | 2022 | 7466.7188 | 80734170.1287 | 890859.8083 | 1.68% | 1239533.132 | -20764.4648 | 1218768.6672 | 4482.6969 | 999902.2924 | 67785966.0396
|  |  | 2023 | 7559.6875 | 43719049.9671 | 470255.3274 | 1.711% | 636642.4883 | -10664.9352 | 625977.5531 | 4482.6969 | 497938.9017 | 34629582.4417
|  |  | 2024 | 7639.375 | 67809248.6288 | 850939.5906 | 1.738% | 1115546.675 | -18687.4631 | 1096859.2119 | 4482.6969 | 850031.8479 | 50671015.2338
|  |  | 2025 | 7719.8438 | 55754905.3679 | 692876.4939 | 1.765% | 879486.9582 | -14733.0277 | 864753.9305 | 4517.6969 | 658057.958 | 39305008.2203
|  |  | 2026 | 7805.7812 | 15367491.9352 | 178821.7243 | 1.794% | 220079.6993 | -3686.7406 | 216392.9586 | 4517.6969 | 160222.2147 | 10220259.83
|  |  | 2027 | 7885.4688 | 15369216.3129 | 192868.5969 | 1.821% | 229611.5557 | -3846.4168 | 225765.1389 | 4517.6969 | 163026.4636 | 9642836.4526
|  |  | 2028 | 7961.25 | 17166938.5619 | 226532.7975 | 1.847% | 260479.3721 | -4363.5096 | 256115.8624 | 4517.6969 | 180643.2799 | 10161084.5583
|  |  | 2029 | 8018.9509 | 45312958.0187 | 785307.8418 | 1.866% | 867106.2645 | -14525.6283 | 852580.6363 | 4517.6969 | 590778.6481 | 25302519.0842
|  |  | 2030 | 8077.1023 | 164259282.9855 | 2824681.242 | 1.886% | 2994893.5568 | -50169.9876 | 2944723.5692 | 4764.6969 | 2114300.0788 | 86529741.2065
|  |  | 2031 | 8135.708 | 81091654.1173 | 1383682.7492 | 1.906% | 1408697.0726 | -23598.2726 | 1385098.8 | 4764.6969 | 977074.8649 | 40300067.7381
|  |  | 2032 | 8194.7716 | 171015884.0689 | 2895452.901 | 1.925% | 2830456.4798 | -47415.3634 | 2783041.1164 | 4764.6969 | 1928865.5405 | 80178919.8748
|  |  | 2033 | 8254.2969 | 140691756.3473 | 2363563.3149 | 1.946% | 2218482.5847 | -37163.6726 | 2181318.9121 | 4764.6969 | 1485411.6471 | 62228099.5127
|  |  | 2034 | 8323.633 | 89203878.5747 | 1286543.1805 | 1.969% | 1162617.1182 | -19475.9798 | 1143141.1384 | 4764.6969 | 762777.8726 | 37221661.8113
|  |  | 2035 | 8393.5515 | 137003955.4875 | 1959480.2849 | 1.993% | 1704740.349 | -28557.5432 | 1676182.8058 | 4764.6969 | 1095995.452 | 53931097.9316
|  |  | 2036 | 8464.0573 | 20878815.4384 | 296128.9117 | 2.016% | 248018.9517 | -4154.7746 | 243864.177 | 4764.6969 | 156258.1935 | 7753649.1563
|  |  | 2037 | 8535.1554 | 20878815.4384 | 293662.1496 | 2.04% | 236766.7665 | -3966.2798 | 232800.4867 | 4764.6969 | 146185.4324 | 7314763.355
|  |  | 2038 | 8606.8507 | 20878815.4384 | 291215.9357 | 2.065% | 226015.8467 | -3786.182 | 222229.6646 | 4764.6969 | 136761.9846 | 6900720.1462
|  |  | 2039 | 8679.1483 | 20878815.4384 | 288790.0989 | 2.089% | 215744.4222 | -3614.1168 | 212130.3054 | 4764.6969 | 127945.9939 | 6510113.3455
|  |  | 2040 | 8752.0531 | 20878815.4384 | 286384.4694 | 2.114% | 205931.6337 | -3449.7345 | 202481.8992 | 4764.6969 | 119698.3021 | 6141616.3636
|  |  | 2041 | 8825.5703 | 20878815.4384 | 283998.8788 | 2.139% | 196557.4967 | -3292.7004 | 193264.7963 | 4764.6969 | 111982.2754 | 5793977.7016
|  |  | 2042 | 8899.7051 | 20878815.4384 | 281633.1602 | 2.164% | 187602.8672 | -3142.6938 | 184460.1733 | 4764.6969 | 104763.6414 | 5466016.6996
|  |  | 2043 | 8974.4627 | 20878815.4384 | 279287.1482 | 2.189% | 179049.4079 | -2999.4076 | 176050.0002 | 4764.6969 | 98010.3371 | 5156619.5279
|  |  | 2044 | 9049.8481 | 20878815.4384 | 276960.6785 | 2.214% | 170879.5562 | -2862.5475 | 168017.0086 | 4764.6969 | 91692.3663 | 4864735.4037
|  |  | 2045 | 9125.8669 | 20878815.4384 | 274653.5884 | 2.24% | 163076.4932 | -2731.8319 | 160344.6614 | 4764.6969 | 85781.6664 | 4589373.0223
|  |  | 2046 | 9202.5241 | 20878815.4384 | 272365.7163 | 2.266% | 155624.1138 | -2606.9908 | 153017.1231 | 4764.6969 | 80251.9837 | 4329597.1909
|  |  | 2047 | 9279.8254 | 20878815.4384 | 270096.9024 | 2.292% | 148506.9977 | -2487.766 | 146019.2318 | 4764.6969 | 75078.757 | 4084525.6518
|  |  | 2048 | 9357.7759 | 20878815.4384 | 267846.9877 | 2.318% | 141710.3819 | -2373.9101 | 139336.4718 | 4764.6969 | 70239.0084 | 3853326.0866
|  |  | 2049 | 9436.3812 | 20878815.4384 | 265615.8148 | 2.345% | 135220.1338 | -2265.1865 | 132954.9474 | 4764.6969 | 65711.241 | 3635213.2892
𝑄_𝐴
𝑄_𝑡
𝑐_𝑡
𝑠_𝑟
𝛿
𝜂
Δ𝑃/𝑃
((𝜂 Δ𝑃/𝑃 𝑄_𝑡.𝑐_𝑡.𝑠_𝑟.𝛿^𝑡 ))/𝑇
𝐷
𝐿
(𝜂 Δ𝑃/𝑃 𝑄_𝑡.𝐷.𝐿.𝑐_𝑡.𝑠_𝑟.𝛿^𝑡)/𝑇
MW_(𝑋,𝑡),
𝑠_𝑒
(Δ𝑀𝑊_(𝑋,𝑇))/(𝑀𝑊_(𝑋,𝑇) )
(−(Δ𝑀𝑊_(𝑋,𝑇))/(𝑀𝑊_(𝑋,𝑇) ) 𝑀𝑊_(𝑋,𝑡).𝑐_𝑡.𝑠_𝑒.𝛿^𝑡)/𝑇
𝑠_𝑇
Note on D18: Phillip Beardmore: Taking average of Transpower's estimate for RCP 4 and RCP 5, from its RCP 3 proposal.
Note on E28: John Stephenson: 2022-2033 is based on Transpower's TPR 2018 forecast peak demand, plus an assumed diversity factor

## Durability
Distributions of parameter values, for monte carlo analysis
Document references
Equation | Parameter table, row | Parameters | Central
| 22 | LR demand elasticity | -0.74
| 23 | LR supply elasticity | 1
| 24 | Effect of uncertainty on investment | -0.0435
| 28 | Investment, share of capital stock | 0.1033
| 28 | Output to capital stock ratio | 0.53
| 28 | Effect of investment on demand and supply | 0.054749
21 |  | Supply price response | 497302.2262
21 |  | Demand, price response | -368003.6474
20 |  | Uncertainty effect, supply | -1184.3658
20 |  | Uncertainty effect, demand | -1184.3658
| 21 | Baseline price ($/MWh) | 94.541
| 27 | Baseline quantity (MWh) | 47015447.9719
19 |  | Quantity intercept (Q, P=0) | 81806879.4711
18 |  | Price intercept (P, Q= 0) | 222.2991
|  | Discount rate | 0.06
15 |  | Effect of uncertainty on price: | 0
Expected change in uncertainty:
|  | Benchmark level of uncertainty (index) | --
|  | Implied baseline effect of uncertainty on demand | --
| 26 | Heightened uncertainty, frequency, baseline | 10
| 26 | Heightened uncertainty, frequency, proposal | 11
| 25 | Incremental effect of uncertainty, baseline | 0.5
| 25 | Incremental effect of uncertainty, proposal | 0.5
| 25 | Duration of effect (% of year), baseline | 0.41667
| 25 | Duration of effect (% of year), proposal | 0.41667
|  | Total effect of uncertainty, baseline | 0.020833
|  | Total effect of uncertainty, proposal | 0.018939
|  | Change in uncertainty | -9.091%
|  | Implied effect on investment (%) | 0.3955%
|  | Implied effect on investment PV ($) | 40876582.9291
|  | Expected change in price | 0%
|  | Expected change in quantity | 23671.7628
|  | Welfare change, annual | 4143235.5313
17
|  | Welfare change, present value | 49434759.8704
|  | % of PV expenditure | 0.05511%
𝛽_𝑠
𝛽_𝑑
𝛿_𝑠
𝛿_𝑑
Note on C7: John Stephenson: Averaage ratio of current price gross fixed capital formation to net capital stock (ex property), 1987-2017
Note on C8: John Stephenson: Current price 1987-2017, average
Note on C9: John Stephenson: Average gross fixed capital formation as a share of output multiplied by capital
Note on C14: John Stephenson: Geometric mean of the EDGS expected long run energy prices (indicator) in 2019 and 2049
Note on C15: John Stephenson: Geometric mean of EDGS forecasts 2019-2049
Note on E25: John Stephenson: Effect on investment calculated directly from elasticity - see E37

## Scrutiny - Major capex
Major capex
Central scenario
Productivity gain, scrutinised projects | 3%
Starting in year? | 2022
Discount rate | 0.06
Benefit ($ present valued) | 34178791.0947
Major capex
|  | Major capital expenditure |  |  | Productivity gains |  |  | Discounted productivity gains
|  | Major E&D capex | Major R&R capex | Total major capex | Major E&D capex | Major R&R capex | Total major capex | Major E&D capex | Major R&R capex | Total major capex
| 2021 | 23591361.6179 | 6239899.3869 | 29831261.0048 | 0 | 0 | 0 | 0 | 0 | 0
| 2022 | 66123781.4394 | 11005033.9989 | 77128815.4384 | 1983713.4432 | 330151.02 | 2313864.4632 | 1665564.0589 | 277201.1627 | 1942765.2216
| 2023 | 28682723.0156 | 29834633.6264 | 58517356.642 | 860481.6905 | 895039.0088 | 1755520.6993 | 681582.0944 | 708954.7272 | 1390536.8216
| 2024 | 35170346.8417 | 75659976.6576 | 110830323.4993 | 1055110.4053 | 2269799.2997 | 3324909.705 | 788439.8736 | 1696126.0775 | 2484565.9511
| 2025 | 24622948.6568 | 12595199.0393 | 37218147.6961 | 738688.4597 | 377855.9712 | 1116544.4309 | 520746.2158 | 266373.5497 | 787119.7654
| 2026 | 87491.6787 | 52500000 | 52587491.6787 | 2624.7504 | 1575000 | 1577624.7504 | 1745.6089 | 1047464.954 | 1049210.5629
| 2027 | 89216.802 | 52500000 | 52589216.802 | 2676.5041 | 1575000 | 1577676.5041 | 1679.2718 | 988174.4849 | 989853.7566
| 2028 | 1886938.3659 | 52500000 | 54386938.3659 | 56608.151 | 1575000 | 1631608.151 | 33506.2776 | 932240.0801 | 965746.3576
| 2029 | 30032958.3522 | 52500000 | 82532958.3522 | 900988.7506 | 1575000 | 2475988.7506 | 503107.4124 | 879471.7736 | 1382579.186
| 2030 | 148979282.5052 | 52500000 | 201479282.5052 | 4469378.4752 | 1575000 | 6044378.4752 | 2354412.827 | 829690.3525 | 3184103.1795
| 2031 | 69045442.0998 | 60000000 | 129045442.0998 | 2071363.263 | 1800000 | 3871363.263 | 1029404.0825 | 894544.8544 | 1923948.937
| 2032 | 171755204.6369 | 60000000 | 231755204.6369 | 5152656.1391 | 1800000 | 6952656.1391 | 2415766.2662 | 843910.24 | 3259676.5062
| 2033 | 135671469.9376 | 60000000 | 195671469.9376 | 4070144.0981 | 1800000 | 5870144.0981 | 1800228.6598 | 796141.7359 | 2596370.3957
| 2034 | 71180045.9231 | 60000000 | 131180045.9231 | 2135401.3777 | 1800000 | 3935401.3777 | 891028.3856 | 751077.1093 | 1642105.4949
| 2035 | 119003955.2764 | 60000000 | 179003955.2764 | 3570118.6583 | 1800000 | 5370118.6583 | 1405363.9422 | 708563.3107 | 2113927.2529
| 2036 | 20878815.4384 | 56250000 | 77128815.4384 | 626364.4632 | 1687500 | 2313864.4632 | 232609.4747 | 626677.4564 | 859286.9311
| 2037 | 20878815.4384 | 56250000 | 77128815.4384 | 626364.4632 | 1687500 | 2313864.4632 | 219442.9006 | 591205.1475 | 810648.0482
| 2038 | 20878815.4384 | 56250000 | 77128815.4384 | 626364.4632 | 1687500 | 2313864.4632 | 207021.6044 | 557740.7052 | 764762.3096
| 2039 | 20878815.4384 | 56250000 | 77128815.4384 | 626364.4632 | 1687500 | 2313864.4632 | 195303.4004 | 526170.4766 | 721473.877
| 2040 | 20878815.4384 | 56250000 | 77128815.4384 | 626364.4632 | 1687500 | 2313864.4632 | 184248.4909 | 496387.2421 | 680635.733
| 2041 | 20878815.4384 | 56250000 | 77128815.4384 | 626364.4632 | 1687500 | 2313864.4632 | 173819.331 | 468289.851 | 642109.1821
| 2042 | 20878815.4384 | 56250000 | 77128815.4384 | 626364.4632 | 1687500 | 2313864.4632 | 163980.501 | 441782.8783 | 605763.3793
| 2043 | 20878815.4384 | 56250000 | 77128815.4384 | 626364.4632 | 1687500 | 2313864.4632 | 154698.5858 | 416776.3003 | 571474.8862
| 2044 | 20878815.4384 | 56250000 | 77128815.4384 | 626364.4632 | 1687500 | 2313864.4632 | 145942.0621 | 393185.189 | 539127.2511
| 2045 | 20878815.4384 | 56250000 | 77128815.4384 | 626364.4632 | 1687500 | 2313864.4632 | 137681.1907 | 370929.4236 | 508610.6142
| 2046 | 20878815.4384 | 56250000 | 77128815.4384 | 626364.4632 | 1687500 | 2313864.4632 | 129887.9157 | 349933.4185 | 479821.3342
| 2047 | 20878815.4384 | 56250000 | 77128815.4384 | 626364.4632 | 1687500 | 2313864.4632 | 122535.7696 | 330125.8665 | 452661.636
| 2048 | 20878815.4384 | 56250000 | 77128815.4384 | 626364.4632 | 1687500 | 2313864.4632 | 115599.7826 | 311439.4967 | 427039.2793
| 2049 | 20878815.4384 | 56250000 | 77128815.4384 | 626364.4632 | 1687500 | 2313864.4632 | 109056.3987 | 293810.8459 | 402867.2446
Major capex
Upper sensitivity
Productivity gain, scrutinised projects | 5%
Starting in year? | 2022
Discount rate | 0.06
Benefit ($ present valued) | 56964651.8245
Major capex
|  | Major capital expenditure |  |  | Productivity gains |  |  | Discounted productivity gains
|  | Major E&D capex | Major R&R capex | Total major capex | Major E&D capex | Major R&R capex | Total major capex | Major E&D capex | Major R&R capex | Total major capex
| 2021 | 23591361.6179 | 6239899.3869 | 29831261.0048 | 0 | 0 | 0 | 0 | 0 | 0
| 2022 | 66123781.4394 | 11005033.9989 | 77128815.4384 | 3306189.072 | 550251.6999 | 3856440.7719 | 2775940.0982 | 462001.9378 | 3237942.036
| 2023 | 28682723.0156 | 29834633.6264 | 58517356.642 | 1434136.1508 | 1491731.6813 | 2925867.8321 | 1135970.1573 | 1181591.212 | 2317561.3693
| 2024 | 35170346.8417 | 75659976.6576 | 110830323.4993 | 1758517.3421 | 3782998.8329 | 5541516.175 | 1314066.456 | 2826876.7958 | 4140943.2518
| 2025 | 24622948.6568 | 12595199.0393 | 37218147.6961 | 1231147.4328 | 629759.952 | 1860907.3848 | 867910.3596 | 443955.9161 | 1311866.2757
| 2026 | 87491.6787 | 52500000 | 52587491.6787 | 4374.5839 | 2625000 | 2629374.5839 | 2909.3482 | 1745774.9233 | 1748684.2714
| 2027 | 89216.802 | 52500000 | 52589216.802 | 4460.8401 | 2625000 | 2629460.8401 | 2798.7863 | 1646957.4748 | 1649756.261
| 2028 | 1886938.3659 | 52500000 | 54386938.3659 | 94346.9183 | 2625000 | 2719346.9183 | 55843.796 | 1553733.4668 | 1609577.2627
| 2029 | 30032958.3522 | 52500000 | 82532958.3522 | 1501647.9176 | 2625000 | 4126647.9176 | 838512.354 | 1465786.2894 | 2304298.6434
| 2030 | 148979282.5052 | 52500000 | 201479282.5052 | 7448964.1253 | 2625000 | 10073964.1253 | 3924021.3783 | 1382817.2542 | 5306838.6324
| 2031 | 69045442.0998 | 60000000 | 129045442.0998 | 3452272.105 | 3000000 | 6452272.105 | 1715673.4709 | 1490908.0907 | 3206581.5616
| 2032 | 171755204.6369 | 60000000 | 231755204.6369 | 8587760.2318 | 3000000 | 11587760.2318 | 4026277.1104 | 1406517.0667 | 5432794.1771
| 2033 | 135671469.9376 | 60000000 | 195671469.9376 | 6783573.4969 | 3000000 | 9783573.4969 | 3000381.0996 | 1326902.8931 | 4327283.9928
| 2034 | 71180045.9231 | 60000000 | 131180045.9231 | 3559002.2962 | 3000000 | 6559002.2962 | 1485047.3093 | 1251795.1822 | 2736842.4915
| 2035 | 119003955.2764 | 60000000 | 179003955.2764 | 5950197.7638 | 3000000 | 8950197.7638 | 2342273.2371 | 1180938.8511 | 3523212.0882
| 2036 | 20878815.4384 | 56250000 | 77128815.4384 | 1043940.7719 | 2812500 | 3856440.7719 | 387682.4578 | 1044462.4273 | 1432144.8851
| 2037 | 20878815.4384 | 56250000 | 77128815.4384 | 1043940.7719 | 2812500 | 3856440.7719 | 365738.1677 | 985341.9126 | 1351080.0803
| 2038 | 20878815.4384 | 56250000 | 77128815.4384 | 1043940.7719 | 2812500 | 3856440.7719 | 345036.0073 | 929567.842 | 1274603.8493
| 2039 | 20878815.4384 | 56250000 | 77128815.4384 | 1043940.7719 | 2812500 | 3856440.7719 | 325505.6673 | 876950.7944 | 1202456.4616
| 2040 | 20878815.4384 | 56250000 | 77128815.4384 | 1043940.7719 | 2812500 | 3856440.7719 | 307080.8182 | 827312.0702 | 1134392.8883
| 2041 | 20878815.4384 | 56250000 | 77128815.4384 | 1043940.7719 | 2812500 | 3856440.7719 | 289698.8851 | 780483.0851 | 1070181.9701
| 2042 | 20878815.4384 | 56250000 | 77128815.4384 | 1043940.7719 | 2812500 | 3856440.7719 | 273300.835 | 736304.7972 | 1009605.6322
| 2043 | 20878815.4384 | 56250000 | 77128815.4384 | 1043940.7719 | 2812500 | 3856440.7719 | 257830.9764 | 694627.1672 | 952458.1436
| 2044 | 20878815.4384 | 56250000 | 77128815.4384 | 1043940.7719 | 2812500 | 3856440.7719 | 243236.7702 | 655308.6483 | 898545.4185
| 2045 | 20878815.4384 | 56250000 | 77128815.4384 | 1043940.7719 | 2812500 | 3856440.7719 | 229468.6511 | 618215.7059 | 847684.3571
| 2046 | 20878815.4384 | 56250000 | 77128815.4384 | 1043940.7719 | 2812500 | 3856440.7719 | 216479.8595 | 583222.3641 | 799702.2236
| 2047 | 20878815.4384 | 56250000 | 77128815.4384 | 1043940.7719 | 2812500 | 3856440.7719 | 204226.2826 | 550209.7774 | 754436.06
| 2048 | 20878815.4384 | 56250000 | 77128815.4384 | 1043940.7719 | 2812500 | 3856440.7719 | 192666.3043 | 519065.8278 | 711732.1321
| 2049 | 20878815.4384 | 56250000 | 77128815.4384 | 1043940.7719 | 2812500 | 3856440.7719 | 181760.6645 | 489684.7432 | 671445.4076
Major capex
Lower sensitivity
Productivity gain, scrutinised projects | 1%
Starting in year? | 2022
Discount rate | 0.06
Benefit ($ present valued) | 11392930.3649
Major capex
|  | Major capital expenditure |  |  | Productivity gains |  |  | Discounted productivity gains
|  | Major E&D capex | Major R&R capex | Total major capex | Major E&D capex | Major R&R capex | Total major capex | Major E&D capex | Major R&R capex | Total major capex
| 2021 | 23591361.6179 | 6239899.3869 | 29831261.0048 | 0 | 0 | 0 | 0 | 0 | 0
| 2022 | 66123781.4394 | 11005033.9989 | 77128815.4384 | 661237.8144 | 110050.34 | 771288.1544 | 555188.0196 | 92400.3876 | 647588.4072
| 2023 | 28682723.0156 | 29834633.6264 | 58517356.642 | 286827.2302 | 298346.3363 | 585173.5664 | 227194.0315 | 236318.2424 | 463512.2739
| 2024 | 35170346.8417 | 75659976.6576 | 110830323.4993 | 351703.4684 | 756599.7666 | 1108303.235 | 262813.2912 | 565375.3592 | 828188.6504
| 2025 | 24622948.6568 | 12595199.0393 | 37218147.6961 | 246229.4866 | 125951.9904 | 372181.477 | 173582.0719 | 88791.1832 | 262373.2551
| 2026 | 87491.6787 | 52500000 | 52587491.6787 | 874.9168 | 525000 | 525874.9168 | 581.8696 | 349154.9847 | 349736.8543
| 2027 | 89216.802 | 52500000 | 52589216.802 | 892.168 | 525000 | 525892.168 | 559.7573 | 329391.495 | 329951.2522
| 2028 | 1886938.3659 | 52500000 | 54386938.3659 | 18869.3837 | 525000 | 543869.3837 | 11168.7592 | 310746.6934 | 321915.4525
| 2029 | 30032958.3522 | 52500000 | 82532958.3522 | 300329.5835 | 525000 | 825329.5835 | 167702.4708 | 293157.2579 | 460859.7287
| 2030 | 148979282.5052 | 52500000 | 201479282.5052 | 1489792.8251 | 525000 | 2014792.8251 | 784804.2757 | 276563.4508 | 1061367.7265
| 2031 | 69045442.0998 | 60000000 | 129045442.0998 | 690454.421 | 600000 | 1290454.421 | 343134.6942 | 298181.6181 | 641316.3123
| 2032 | 171755204.6369 | 60000000 | 231755204.6369 | 1717552.0464 | 600000 | 2317552.0464 | 805255.4221 | 281303.4133 | 1086558.8354
| 2033 | 135671469.9376 | 60000000 | 195671469.9376 | 1356714.6994 | 600000 | 1956714.6994 | 600076.2199 | 265380.5786 | 865456.7986
| 2034 | 71180045.9231 | 60000000 | 131180045.9231 | 711800.4592 | 600000 | 1311800.4592 | 297009.4619 | 250359.0364 | 547368.4983
| 2035 | 119003955.2764 | 60000000 | 179003955.2764 | 1190039.5528 | 600000 | 1790039.5528 | 468454.6474 | 236187.7702 | 704642.4176
| 2036 | 20878815.4384 | 56250000 | 77128815.4384 | 208788.1544 | 562500 | 771288.1544 | 77536.4916 | 208892.4855 | 286428.977
| 2037 | 20878815.4384 | 56250000 | 77128815.4384 | 208788.1544 | 562500 | 771288.1544 | 73147.6335 | 197068.3825 | 270216.0161
| 2038 | 20878815.4384 | 56250000 | 77128815.4384 | 208788.1544 | 562500 | 771288.1544 | 69007.2015 | 185913.5684 | 254920.7699
| 2039 | 20878815.4384 | 56250000 | 77128815.4384 | 208788.1544 | 562500 | 771288.1544 | 65101.1335 | 175390.1589 | 240491.2923
| 2040 | 20878815.4384 | 56250000 | 77128815.4384 | 208788.1544 | 562500 | 771288.1544 | 61416.1636 | 165462.414 | 226878.5777
| 2041 | 20878815.4384 | 56250000 | 77128815.4384 | 208788.1544 | 562500 | 771288.1544 | 57939.777 | 156096.617 | 214036.394
| 2042 | 20878815.4384 | 56250000 | 77128815.4384 | 208788.1544 | 562500 | 771288.1544 | 54660.167 | 147260.9594 | 201921.1264
| 2043 | 20878815.4384 | 56250000 | 77128815.4384 | 208788.1544 | 562500 | 771288.1544 | 51566.1953 | 138925.4334 | 190491.6287
| 2044 | 20878815.4384 | 56250000 | 77128815.4384 | 208788.1544 | 562500 | 771288.1544 | 48647.354 | 131061.7297 | 179709.0837
| 2045 | 20878815.4384 | 56250000 | 77128815.4384 | 208788.1544 | 562500 | 771288.1544 | 45893.7302 | 123643.1412 | 169536.8714
| 2046 | 20878815.4384 | 56250000 | 77128815.4384 | 208788.1544 | 562500 | 771288.1544 | 43295.9719 | 116644.4728 | 159940.4447
| 2047 | 20878815.4384 | 56250000 | 77128815.4384 | 208788.1544 | 562500 | 771288.1544 | 40845.2565 | 110041.9555 | 150887.212
| 2048 | 20878815.4384 | 56250000 | 77128815.4384 | 208788.1544 | 562500 | 771288.1544 | 38533.2609 | 103813.1656 | 142346.4264
| 2049 | 20878815.4384 | 56250000 | 77128815.4384 | 208788.1544 | 562500 | 771288.1544 | 36352.1329 | 97936.9486 | 134289.0815
Note on E28: Phillip Beardmore: Taking average of Transpower's estimate for RCP 4 and RCP 5, from its RCP 3 proposal.
Note on E77: Phillip Beardmore: Taking average of Transpower's estimate for RCP 4 and RCP 5, from its RCP 3 proposal.
Note on E127: Phillip Beardmore: Taking average of Transpower's estimate for RCP 4 and RCP 5, from its RCP 3 proposal.

## Scrutiny - legal costs
Costs of legal challenge
|  | Central | Low | High
| PV cost | 3882512.0831 | 2588341.3887 | 5176682.7775
| Assumptions: | Central |  |  | Assumptions: | Low |  |  | Assumptions: | High
| Cost per challenge | 1500000 |  |  | Cost per challenge | 1000000 |  |  | Cost per challenge | 2000000
| Present value cost | 3882512.0831 |  |  | Present value cost | 2588341.3887 |  |  | Present value cost | 5176682.7775
| Year | Timing | Cost | PV cost | Year | Timing | Cost | PV cost | Year | Timing | Cost | PV cost
| 2019 |  | 0 | 0 | 2019 |  | 0 | 0 | 2019 |  | 0 | 0
| 2020 |  | 0 | 0 | 2020 |  | 0 | 0 | 2020 |  | 0 | 0
| 2021 |  | 0 | 0 | 2021 |  | 0 | 0 | 2021 |  | 0 | 0
| 2022 |  | 0 | 0 | 2022 |  | 0 | 0 | 2022 |  | 0 | 0
| 2023 | 1 | 1500000 | 1188140.4949 | 2023 | 1 | 1000000 | 792093.6632 | 2023 | 1 | 2000000 | 1584187.3265
| 2024 |  | 0 | 0 | 2024 |  | 0 | 0 | 2024 |  | 0 | 0
| 2025 |  | 0 | 0 | 2025 |  | 0 | 0 | 2025 |  | 0 | 0
| 2026 |  | 0 | 0 | 2026 |  | 0 | 0 | 2026 |  | 0 | 0
| 2027 |  | 0 | 0 | 2027 |  | 0 | 0 | 2027 |  | 0 | 0
| 2028 | 1 | 1500000 | 887847.6953 | 2028 | 1 | 1000000 | 591898.4635 | 2028 | 1 | 2000000 | 1183796.9271
| 2029 |  | 0 | 0 | 2029 |  | 0 | 0 | 2029 |  | 0 | 0
| 2030 |  | 0 | 0 | 2030 |  | 0 | 0 | 2030 |  | 0 | 0
| 2031 |  | 0 | 0 | 2031 |  | 0 | 0 | 2031 |  | 0 | 0
| 2032 |  | 0 | 0 | 2032 |  | 0 | 0 | 2032 |  | 0 | 0
| 2033 | 1 | 1500000 | 663451.4466 | 2033 | 1 | 1000000 | 442300.9644 | 2033 | 1 | 2000000 | 884601.9288
| 2034 |  | 0 | 0 | 2034 |  | 0 | 0 | 2034 |  | 0 | 0
| 2035 |  | 0 | 0 | 2035 |  | 0 | 0 | 2035 |  | 0 | 0
| 2036 |  | 0 | 0 | 2036 |  | 0 | 0 | 2036 |  | 0 | 0
| 2037 |  | 0 | 0 | 2037 |  | 0 | 0 | 2037 |  | 0 | 0
| 2038 | 1 | 1500000 | 495769.5157 | 2038 | 1 | 1000000 | 330513.0105 | 2038 | 1 | 2000000 | 661026.021
| 2039 |  | 0 | 0 | 2039 |  | 0 | 0 | 2039 |  | 0 | 0
| 2040 |  | 0 | 0 | 2040 |  | 0 | 0 | 2040 |  | 0 | 0
| 2041 |  | 0 | 0 | 2041 |  | 0 | 0 | 2041 |  | 0 | 0
| 2042 |  | 0 | 0 | 2042 |  | 0 | 0 | 2042 |  | 0 | 0
| 2043 | 1 | 1500000 | 370467.8225 | 2043 | 1 | 1000000 | 246978.5483 | 2043 | 1 | 2000000 | 493957.0967
| 2044 |  | 0 | 0 | 2044 |  | 0 | 0 | 2044 |  | 0 | 0
| 2045 |  | 0 | 0 | 2045 |  | 0 | 0 | 2045 |  | 0 | 0
| 2046 |  | 0 | 0 | 2046 |  | 0 | 0 | 2046 |  | 0 | 0
| 2047 |  | 0 | 0 | 2047 |  | 0 | 0 | 2047 |  | 0 | 0
| 2048 | 1 | 1500000 | 276835.1081 | 2048 | 1 | 1000000 | 184556.7388 | 2048 | 1 | 2000000 | 369113.4775
| 2049 |  | 0 | 0 | 2049 |  | 0 | 0 | 2049 |  | 0 | 0

## Scrutiny - Base capex
Base capex
Central scenario
Productivity gain, unscrutinised projects | 3%
Scrutiny of E&D base capex proposals | 70%
Productivity gain, scrutinised E&D projects | 1.5%
Productivity gain, scrutinised R&R projects (that could be covered by deeper connection charge) | 1.5%
Productivity gain, scrutinised R&R projects (excluding those recovered by connection charges or that could be covered by deeper connection charge) | 0.5%
Share of R&R base capex subject to 2% improvement | 15%
Share of R&R base capex subject to 1% improvement | 70%
Starting in year? | 2022
Discount rate | 0.06
Benefit ($ present valued) | 18816650.7459
Base capex
|  | Baseline capital expenditure |  |  | Productivity gains |  |  | Discounted productivity gains
|  | Investment (ex R&R) | Base capex E&D | Base capex R&R | Base capex E&D | Base capex R&R (2%) | Base capex R&R (1%) | Base capex E&D | Base capex R&R (2%) | Base capex R&R (1%)
| 2021 | 27685075.8917 | 4093714.2738 | 211491133.9776 | 0 | 0 | 0 | 0 | 0 | 0
| 2022 | 80734170.1287 | 14610388.6892 | 218537084.5979 | 284902.5794 | 491708.4403 | 764879.7961 | 239209.6995 | 412847.8881 | 642207.826
| 2023 | 43719049.9671 | 15036326.9514 | 181919862.2858 | 293208.3756 | 409319.6901 | 636719.518 | 232248.4963 | 324219.5328 | 504341.4955
| 2024 | 67809248.6288 | 32638901.7871 | 170400095.2412 | 636458.5848 | 383400.2143 | 596400.3333 | 475598.8792 | 286498.9436 | 445665.0234
| 2025 | 55754905.3679 | 31131956.7111 | 164708908.0282 | 607073.1559 | 370595.0431 | 576481.1781 | 427962.62 | 261254.8818 | 406396.4829
| 2026 | 15367491.9352 | 15280000.2565 | 191984642.1882 | 297960.005 | 431965.4449 | 671946.2477 | 198160.4209 | 287281.692 | 446882.632
| 2027 | 15369216.3129 | 15279999.5109 | 193429166.2187 | 297959.9905 | 435215.624 | 677002.0818 | 186943.7842 | 273059.6667 | 424759.4815
| 2028 | 17166938.5619 | 15280000.196 | 201416910.9934 | 297960.0038 | 453188.0497 | 704959.1885 | 176362.0685 | 268241.3103 | 417264.2605
| 2029 | 45312958.0187 | 15279999.6665 | 216691375.9961 | 297959.9935 | 487555.596 | 758419.816 | 166379.3041 | 272248.4983 | 423497.664
| 2030 | 164259282.9855 | 15280000.4803 | 210260973.5194 | 297960.0094 | 473087.1904 | 735913.4073 | 156961.616 | 249216.4303 | 387670.0027
| 2031 | 81091654.1173 | 17774090.4059 | 308644582.0019 | 346594.7629 | 694450.3095 | 1080256.037 | 172246.9787 | 345120.5284 | 536854.1552
| 2032 | 171015884.0689 | 17873251.5749 | 307930643.9948 | 348528.4057 | 692843.949 | 1077757.254 | 163403.717 | 324832.2796 | 505294.6572
| 2033 | 140691756.3473 | 18010256.2372 | 294255847.9972 | 351199.9966 | 662075.658 | 1029895.468 | 155336.0972 | 292836.702 | 455523.7587
| 2034 | 89203878.5747 | 18023832.6516 | 300172479.0138 | 351464.7367 | 675388.0778 | 1050603.6765 | 146653.9547 | 281815.8473 | 438380.2069
| 2035 | 137003955.4875 | 18000000.2111 | 293828742.0014 | 351000.0041 | 661114.6695 | 1028400.597 | 138169.8472 | 260245.3328 | 404826.0732
| 2036 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 93143.2709 | 519850.8672 | 808656.9045 | 34590.0966 | 193054.1151 | 300306.4012
| 2037 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 93143.2709 | 519850.8672 | 808656.9045 | 32632.1666 | 182126.5236 | 283307.9257
| 2038 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 93143.2709 | 519850.8672 | 808656.9045 | 30785.0629 | 171817.4751 | 267271.628
| 2039 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 93143.2709 | 519850.8672 | 808656.9045 | 29042.5121 | 162091.9577 | 252143.0453
| 2040 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 93143.2709 | 519850.8672 | 808656.9045 | 27398.5964 | 152916.9412 | 237870.7974
| 2041 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 93143.2709 | 519850.8672 | 808656.9045 | 25847.7324 | 144261.2653 | 224406.4127
| 2042 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 93143.2709 | 519850.8672 | 808656.9045 | 24384.6532 | 136095.5333 | 211704.1629
| 2043 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 93143.2709 | 519850.8672 | 808656.9045 | 23004.3898 | 128392.0125 | 199720.9084
| 2044 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 93143.2709 | 519850.8672 | 808656.9045 | 21702.2546 | 121124.5401 | 188415.9513
| 2045 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 93143.2709 | 519850.8672 | 808656.9045 | 20473.8251 | 114268.4341 | 177750.8975
| 2046 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 93143.2709 | 519850.8672 | 808656.9045 | 19314.9293 | 107800.4095 | 167689.5259
| 2047 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 93143.2709 | 519850.8672 | 808656.9045 | 18221.6314 | 101698.4995 | 158197.6659
| 2048 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 93143.2709 | 519850.8672 | 808656.9045 | 17190.2183 | 95941.9807 | 149243.0811
| 2049 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 93143.2709 | 519850.8672 | 808656.9045 | 16217.1871 | 90511.3025 | 140795.3595
Base capex
Upper sensitivity
Productivity gain, unscrutinised projects | 5%
Scrutiny of E&D base capex proposals | 70%
Productivity gain, scrutinised E&D projects | 2.5%
Productivity gain, scrutinised R&R projects (that could be covered by deeper connection charge) | 2.5%
Productivity gain, scrutinised R&R projects (excluding those recovered by connection charges or that could be covered by deeper connection charge) | 1.5%
Share of R&R base capex subject to 2% improvement | 15%
Share of R&R base capex subject to 1% improvement | 70%
Starting in year? | 2022
Discount rate | 0.06
Benefit ($ present valued) | 43892267.8862
Base capex
|  | Baseline capital expenditure |  |  | Productivity gains |  |  | Discounted productivity gains
|  | Investment (ex R&R) | Base capex E&D | Base capex R&R | Base capex E&D | Base capex R&R (3%) | Base capex R&R (2%) | Base capex E&D | Base capex R&R (3%) | Base capex R&R (2%)
| 2021 | 27685075.8917 | 4093714.2738 | 211491133.9776 | 0 | 0 | 0 | 0 | 0 | 0
| 2022 | 80734170.1287 | 14610388.6892 | 218537084.5979 | 474837.6324 | 819514.0672 | 2294639.3883 | 398682.8325 | 688079.8136 | 1926623.478
| 2023 | 43719049.9671 | 15036326.9514 | 181919862.2858 | 488680.6259 | 682199.4836 | 1910158.554 | 387080.8271 | 540365.888 | 1513024.4864
| 2024 | 67809248.6288 | 32638901.7871 | 170400095.2412 | 1060764.3081 | 639000.3572 | 1789201 | 792664.7987 | 477498.2393 | 1336995.0702
| 2025 | 55754905.3679 | 31131956.7111 | 164708908.0282 | 1011788.5931 | 617658.4051 | 1729443.5343 | 713271.0334 | 435424.8031 | 1219189.4486
| 2026 | 15367491.9352 | 15280000.2565 | 191984642.1882 | 496600.0083 | 719942.4082 | 2015838.743 | 330267.3682 | 478802.82 | 1340647.8959
| 2027 | 15369216.3129 | 15279999.5109 | 193429166.2187 | 496599.9841 | 725359.3733 | 2031006.2453 | 311572.9736 | 455099.4445 | 1274278.4446
| 2028 | 17166938.5619 | 15280000.196 | 201416910.9934 | 496600.0064 | 755313.4162 | 2114877.5654 | 293936.7808 | 447068.8505 | 1251792.7815
| 2029 | 45312958.0187 | 15279999.6665 | 216691375.9961 | 496599.9892 | 812592.66 | 2275259.448 | 277298.8402 | 453747.4971 | 1270492.9919
| 2030 | 164259282.9855 | 15280000.4803 | 210260973.5194 | 496600.0156 | 788478.6507 | 2207740.222 | 261602.6933 | 415360.7172 | 1163010.0082
| 2031 | 81091654.1173 | 17774090.4059 | 308644582.0019 | 577657.9382 | 1157417.1825 | 3240768.111 | 287078.2979 | 575200.8806 | 1610562.4656
| 2032 | 171015884.0689 | 17873251.5749 | 307930643.9948 | 580880.6762 | 1154739.915 | 3233271.7619 | 272339.5283 | 541387.1327 | 1515883.9715
| 2033 | 140691756.3473 | 18010256.2372 | 294255847.9972 | 585333.3277 | 1103459.43 | 3089686.404 | 258893.4953 | 488061.17 | 1366571.2761
| 2034 | 89203878.5747 | 18023832.6516 | 300172479.0138 | 585774.5612 | 1125646.7963 | 3151811.0296 | 244423.2578 | 469693.0788 | 1315140.6207
| 2035 | 137003955.4875 | 18000000.2111 | 293828742.0014 | 585000.0069 | 1101857.7825 | 3085201.791 | 230283.0787 | 433742.2213 | 1214478.2195
| 2036 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 155238.7848 | 866418.112 | 2425970.7136 | 57650.1611 | 321756.8584 | 900919.2036
| 2037 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 155238.7848 | 866418.112 | 2425970.7136 | 54386.9444 | 303544.2061 | 849923.777
| 2038 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 155238.7848 | 866418.112 | 2425970.7136 | 51308.4381 | 286362.4586 | 801814.8839
| 2039 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 155238.7848 | 866418.112 | 2425970.7136 | 48404.1869 | 270153.2628 | 756429.1358
| 2040 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 155238.7848 | 866418.112 | 2425970.7136 | 45664.3273 | 254861.5687 | 713612.3923
| 2041 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 155238.7848 | 866418.112 | 2425970.7136 | 43079.554 | 240435.4421 | 673219.238
| 2042 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 155238.7848 | 866418.112 | 2425970.7136 | 40641.0887 | 226825.8888 | 635112.4887
| 2043 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 155238.7848 | 866418.112 | 2425970.7136 | 38340.6497 | 213986.6876 | 599162.7252
| 2044 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 155238.7848 | 866418.112 | 2425970.7136 | 36170.4243 | 201874.2335 | 565247.8539
| 2045 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 155238.7848 | 866418.112 | 2425970.7136 | 34123.0418 | 190447.3901 | 533252.6924
| 2046 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 155238.7848 | 866418.112 | 2425970.7136 | 32191.5488 | 179667.3492 | 503068.5777
| 2047 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 155238.7848 | 866418.112 | 2425970.7136 | 30369.3857 | 169497.4992 | 474592.9978
| 2048 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 155238.7848 | 866418.112 | 2425970.7136 | 28650.3639 | 159903.3012 | 447729.2432
| 2049 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 155238.7848 | 866418.112 | 2425970.7136 | 27028.6451 | 150852.1709 | 422386.0785
Base capex
Lower sensitivity
Productivity gain, unscrutinised projects | 1%
Scrutiny of E&D base capex proposals | 70%
Productivity gain, scrutinised E&D projects | 0.5%
Productivity gain, scrutinised R&R projects (that could be covered by deeper connection charge) | 0.5%
Productivity gain, scrutinised R&R projects (excluding those recovered by connection charges or that could be covered by deeper connection charge) | 0%
Share of R&R base capex subject to 2% improvement | 15%
Share of R&R base capex subject to 1% improvement | 70%
Starting in year? | 2022
Discount rate | 0.06
Benefit ($ present valued) | 3139421.0879
Base capex
|  | Baseline capital expenditure |  |  | Productivity gains |  |  | Discounted productivity gains
|  | Investment (ex R&R) | Base capex E&D | Base capex R&R | Base capex E&D | Base capex R&R (1%) | Base capex R&R (0%) | Base capex E&D | Base capex R&R (1%) | Base capex R&R (0%)
| 2021 | 27685075.8917 | 4093714.2738 | 211491133.9776 | 0 | 0 | 0 | 0 | 0 | 0
| 2022 | 80734170.1287 | 14610388.6892 | 218537084.5979 | 94967.5265 | 163902.8134 | 0 | 79736.5665 | 137615.9627 | 0
| 2023 | 43719049.9671 | 15036326.9514 | 181919862.2858 | 97736.1252 | 136439.8967 | 0 | 77416.1654 | 108073.1776 | 0
| 2024 | 67809248.6288 | 32638901.7871 | 170400095.2412 | 212152.8616 | 127800.0714 | 0 | 158532.9597 | 95499.6479 | 0
| 2025 | 55754905.3679 | 31131956.7111 | 164708908.0282 | 202357.7186 | 123531.681 | 0 | 142654.2067 | 87084.9606 | 0
| 2026 | 15367491.9352 | 15280000.2565 | 191984642.1882 | 99320.0017 | 143988.4816 | 0 | 66053.4736 | 95760.564 | 0
| 2027 | 15369216.3129 | 15279999.5109 | 193429166.2187 | 99319.9968 | 145071.8747 | 0 | 62314.5947 | 91019.8889 | 0
| 2028 | 17166938.5619 | 15280000.196 | 201416910.9934 | 99320.0013 | 151062.6832 | 0 | 58787.3562 | 89413.7701 | 0
| 2029 | 45312958.0187 | 15279999.6665 | 216691375.9961 | 99319.9978 | 162518.532 | 0 | 55459.768 | 90749.4994 | 0
| 2030 | 164259282.9855 | 15280000.4803 | 210260973.5194 | 99320.0031 | 157695.7301 | 0 | 52320.5387 | 83072.1434 | 0
| 2031 | 81091654.1173 | 17774090.4059 | 308644582.0019 | 115531.5876 | 231483.4365 | 0 | 57415.6596 | 115040.1761 | 0
| 2032 | 171015884.0689 | 17873251.5749 | 307930643.9948 | 116176.1352 | 230947.983 | 0 | 54467.9057 | 108277.4265 | 0
| 2033 | 140691756.3473 | 18010256.2372 | 294255847.9972 | 117066.6655 | 220691.886 | 0 | 51778.6991 | 97612.234 | 0
| 2034 | 89203878.5747 | 18023832.6516 | 300172479.0138 | 117154.9122 | 225129.3593 | 0 | 48884.6516 | 93938.6158 | 0
| 2035 | 137003955.4875 | 18000000.2111 | 293828742.0014 | 117000.0014 | 220371.5565 | 0 | 46056.6157 | 86748.4443 | 0
| 2036 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 31047.757 | 173283.6224 | 0 | 11530.0322 | 64351.3717 | 0
| 2037 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 31047.757 | 173283.6224 | 0 | 10877.3889 | 60708.8412 | 0
| 2038 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 31047.757 | 173283.6224 | 0 | 10261.6876 | 57272.4917 | 0
| 2039 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 31047.757 | 173283.6224 | 0 | 9680.8374 | 54030.6526 | 0
| 2040 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 31047.757 | 173283.6224 | 0 | 9132.8655 | 50972.3137 | 0
| 2041 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 31047.757 | 173283.6224 | 0 | 8615.9108 | 48087.0884 | 0
| 2042 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 31047.757 | 173283.6224 | 0 | 8128.2177 | 45365.1778 | 0
| 2043 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 31047.757 | 173283.6224 | 0 | 7668.1299 | 42797.3375 | 0
| 2044 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 31047.757 | 173283.6224 | 0 | 7234.0849 | 40374.8467 | 0
| 2045 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 31047.757 | 173283.6224 | 0 | 6824.6084 | 38089.478 | 0
| 2046 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 31047.757 | 173283.6224 | 0 | 6438.3098 | 35933.4698 | 0
| 2047 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 31047.757 | 173283.6224 | 0 | 6073.8771 | 33899.4998 | 0
| 2048 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 31047.757 | 173283.6224 | 0 | 5730.0728 | 31980.6602 | 0
| 2049 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 31047.757 | 173283.6224 | 0 | 5405.729 | 30170.4342 | 0

## Scrutiny - Inefficient investmt
Undergrounding
Central scenario
NOTE:
Undergrounding cost | 1500000000 | Timing, cost and gross rate of return of undergrounding are aligned with the "Major Capex" tab of the file named "Scenarios".
Revenue implication | 255000000
Commissioned constantly over 10 years | 25500000
Average WACC (real) | 6%
Average OPEX | 6%
Depreciation | 5%
Gross rate of return | 17%
Discount rate | 6%
Change in probability of undergrounding proceeding in absence of AoB charge | 25%
Benefit ($ present valued) | 206413901.4776
Undergrounding
|  | Major capex | AC interconnection charges | Discounted value of charges | Probability weighted discounted value of charges
| 2021 | 0 | 0 | 0 | 0
| 2022 | 0 | 0 | 0 | 0
| 2023 | 0 | 0 | 0 | 0
| 2024 | 0 | 0 | 0 | 0
| 2025 | 0 | 0 | 0 | 0
| 2026 | 0 | 0 | 0 | 0
| 2027 | 0 | 0 | 0 | 0
| 2028 | 0 | 0 | 0 | 0
| 2029 | 0 | 0 | 0 | 0
| 2030 | 25500000 | 25500000 | 13433081.8975 | 3358270.4744
| 2031 | 25500000 | 49725000 | 24711801.6039 | 6177950.401
| 2032 | 25500000 | 72738750 | 34102764.4291 | 8525691.1073
| 2033 | 25500000 | 94601812.5 | 41842472.9008 | 10460618.2252
| 2034 | 25500000 | 115371721.875 | 48140588.5353 | 12035147.1338
| 2035 | 25500000 | 135103135.7812 | 53182847.3182 | 13295711.8296
| 2036 | 25500000 | 153847978.9922 | 57133665.2708 | 14283416.3177
| 2037 | 25500000 | 171655580.0426 | 60138466.6806 | 15034616.6701
| 2038 | 25500000 | 188572801.0404 | 62325764.1702 | 15581441.0425
| 2039 | 25500000 | 204644160.9884 | 63809016.7258 | 15952254.1815
| 2040 | 0 | 194411952.939 | 57187326.3109 | 14296831.5777
| 2041 | 0 | 184691355.2921 | 51252792.4484 | 12813198.1121
| 2042 | 0 | 175456787.5275 | 45934106.4396 | 11483526.6099
| 2043 | 0 | 166683948.1511 | 41167359.545 | 10291839.8862
| 2044 | 0 | 158349750.7435 | 36895275.0639 | 9223818.766
| 2045 | 0 | 150432263.2063 | 33066520.1044 | 8266630.0261
| 2046 | 0 | 142910650.046 | 29635088.7728 | 7408772.1932
| 2047 | 0 | 135765117.5437 | 26559749.3719 | 6639937.343
| 2048 | 0 | 128976861.6665 | 23803548.9654 | 5950887.2413
| 2049 | 0 | 122528018.5832 | 21333369.3557 | 5333342.3389
| 2050 | 0 | 116401617.6541
| 2051 | 0 | 110581536.7714
| 2052 | 0 | 105052459.9328
| 2053 | 0 | 99799836.9361
| 2054 | 0 | 94809845.0893
| 2055 | 0 | 90069352.8349
| 2056 | 0 | 85565885.1931
| 2057 | 0 | 81287590.9335
| 2058 | 0 | 77223211.3868
| 2059 | 0 | 73362050.8175
| 2060 | 0 | 69693948.2766

## Forecast peak demand
Interpolated
BB_NUM | BB | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
1 | MDN | 254 | 257 | 275 | 281 | 287 | 292 | 294 | 298 | 300 | 304 | 307 | 309.1691 | 311.3536 | 313.5535 | 315.7689 | 318
2 | OTA | 2449 | 2498 | 2539 | 2576 | 2613 | 2654 | 2695 | 2733 | 2772 | 2806 | 2842 | 2866.9578 | 2892.1347 | 2917.5328 | 2943.1539 | 2969
3 | HLY | 817 | 832 | 842 | 857 | 862 | 868 | 871 | 876 | 880 | 886 | 891 | 894.768 | 898.5519 | 902.3519 | 906.1679 | 910
4 | TRK | 577 | 586 | 593 | 600 | 607 | 612 | 616 | 622 | 632 | 638 | 644 | 648.5357 | 653.1033 | 657.703 | 662.3352 | 667
5 | WKM | 72 | 73 | 73 | 73 | 75 | 75 | 75 | 75 | 76 | 77 | 77 | 77.5909 | 78.1863 | 78.7862 | 79.3908 | 80
6 | RDF | 366 | 368 | 371 | 375 | 382 | 396 | 399 | 403 | 407 | 409 | 413 | 415.3726 | 417.7588 | 420.1587 | 422.5724 | 425
7 | SFD | 337 | 339 | 338 | 342 | 343 | 346 | 348 | 350 | 354 | 356 | 357 | 359.1734 | 361.36 | 363.5599 | 365.7732 | 368
8 | BPE | 337 | 339 | 341 | 343 | 346 | 348 | 350 | 353 | 356 | 360 | 361 | 363.3687 | 365.753 | 368.1529 | 370.5685 | 373
9 | HAY | 782 | 794 | 804 | 810 | 816 | 824 | 831 | 836 | 845 | 850 | 857 | 862.7231 | 868.4843 | 874.2841 | 880.1225 | 886
10 | KIK | 276 | 279 | 281 | 285 | 290 | 293 | 297 | 301 | 304 | 309 | 313 | 316.1365 | 319.3044 | 322.5041 | 325.7359 | 329
11 | ISL | 1376.4 | 1402.4 | 1432.4 | 1454.4 | 1478.4 | 1498.4 | 1518.4 | 1538.4 | 1557.4 | 1579.4 | 1595.4 | 1609.1799 | 1623.0788 | 1637.0978 | 1651.2378 | 1665.5
12 | BEN | 257 | 270 | 279 | 285 | 294 | 299 | 307 | 313 | 320 | 327 | 335 | 338.1406 | 341.3106 | 344.5103 | 347.74 | 351
13 | ROX | 275 | 276 | 278 | 281 | 282 | 287 | 290 | 292 | 295 | 296 | 299 | 301.5559 | 304.1337 | 306.7335 | 309.3556 | 312
14 | TWI | 871 | 874 | 877 | 879 | 882 | 884 | 887 | 891 | 893 | 896 | 899 | 901.5851 | 904.1776 | 906.7776 | 909.385 | 912
| Total | 9046.4 | 9187.4 | 9323.4 | 9441.4 | 9557.4 | 9676.4 | 9778.4 | 9881.4 | 9991.4 | 10093.4 | 10190.4 | 10264.2571 | 10338.691 | 10413.7062 | 10489.3076 | 10565.5
| Diversity factor | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28
| Peak | 7067.5 | 7177.6562 | 7283.9062 | 7376.0938 | 7466.7188 | 7559.6875 | 7639.375 | 7719.8438 | 7805.7812 | 7885.4688 | 7961.25 | 8018.9509 | 8077.1023 | 8135.708 | 8194.7716 | 8254.2969
| Population | 4.89 | 4.9291 | 4.9686 | 5.0083 | 5.0484 | 5.0888 | 5.1295 | 5.1705 | 5.2119 | 5.2536 | 5.2956 | 5.338 | 5.3807 | 5.4237 | 5.4671 | 5.5108
| Peak/Population | 1.4453 | 1.4562 | 1.466 | 1.4728 | 1.479 | 1.4856 | 1.4893 | 1.4931 | 1.4977 | 1.501 | 1.5034 | 1.5023 | 1.5011 | 1.5 | 1.4989 | 1.4978
| Growth in Peak/Population |  | 0.7526% | 0.6749% | 0.4619% | 0.4252% | 0.4416% | 0.2521% | 0.2513% | 0.3107% | 0.2191% | 0.1597% | -0.07463% | -0.07423% | -0.07383% | -0.07343% | -0.01461%
| Growth, total |  | 1.559% | 1.48% | 1.266% | 1.229% | 1.245% | 1.054% | 1.053% | 1.113% | 1.021% | 0.961% | 0.7248% | 0.7252% | 0.7256% | 0.726% | 0.1449%

## RCP3 forecast investment
Year 1 revenue per $1m of investment | 72936.5075
RCP3 Base Capital Expenditure |  | SPEND basis $m |  |  |  | Expenditure excluding IDC, constant 2017/18 $ | [6 empty] | Expenditure excluding IDC, constant 2017/18 $ | [5 empty] | Expenditure excluding IDC, constant 2017/18 $ | [5 empty] | Expenditure excluding IDC, constant 2017/18 $ | [5 empty] | Expenditure excluding IDC, constant 2017/18 $ | [5 empty] | Interest during construction, constant 2017/18 $ | [5 empty] | Interest during construction, constant 2017/18 $ | [5 empty] | Interest during construction, constant 2017/18 $ | [5 empty] | Interest during construction, constant 2017/18 $ | [5 empty] | Interest during construction, constant 2017/18 $ | [5 empty] | Expenditure including IDC, constant 2017/18 $ | [5 empty] | Expenditure including IDC, constant 2017/18 $ | [5 empty] | Expenditure including IDC, constant 2017/18 $ | [6 empty] | Expenditure including IDC, constant 2017/18 $ | [6 empty] | Expenditure including IDC, constant 2017/18 $ | [5 empty] | Inflation adjustment | [5 empty] | Inflation adjustment | [5 empty] | Inflation adjustment | [5 empty] | Inflation adjustment | [5 empty] | Inflation adjustment | [5 empty] | Expenditure including IDC, Nominal $ | [5 empty] | Expenditure including IDC, Nominal $ | [5 empty] | Expenditure including IDC, Nominal $ | [5 empty] | Expenditure including IDC, Nominal $ | [5 empty] | Expenditure including IDC, Nominal $ | [5 empty] | Commissioned, Nominal $ | [5 empty] | Commissioned, Nominal $ | [5 empty] | Commissioned, Nominal $ | [5 empty] | Commissioned, Nominal $ | [5 empty] | Commissioned, Nominal $
[9 empty] | RCP1 |  |  |  | RCP2 | [5 empty] | RCP3 |  |  | RCP3 |  |  | RCP4 |  |  | RCP4 |  |  | RCP5 |  |  | RCP5 | [5 empty] | RCP1 |  |  | RCP2 |  | RCP2 |  |  |  | RCP3 |  |  | RCP3 | [5 empty] | RCP4 | [5 empty] | RCP5 | [5 empty] | RCP1 |  |  |  |  | RCP2 | [6 empty] | RCP3 | [6 empty] | RCP4 | [6 empty] | RCP5 | [5 empty] | RCP1 |  |  |  |  | RCP2 | [6 empty] | RCP3 | [5 empty] | RCP4 | [5 empty] | RCP5 | [5 empty] | RCP1 |  |  |  |  | RCP2 | [6 empty] | RCP3 | [5 empty] | RCP4 | [5 empty] | RCP5 | [5 empty] | RCP1 |  |  |  |  | RCP2 | [6 empty] | RCP3 | [5 empty] | RCP4 | [5 empty] | RCP5
Capital expenditure | Expenditure Category | Asset Category |  | Asset Grouping |  | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total 5 years |  | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | RCP2 Total | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | RCP3 Total | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | RCP4 Total | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | RCP5 Total | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total 5 years | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | RCP2 Total | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | RCP3 Total | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | RCP4 Total | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | RCP5 Total | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total 5 years | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | RCP2 Total | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | RCP3 Total |  | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | RCP4 Total |  | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | RCP5 Total | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total 5 years | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | RCP2 Total | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | RCP3 Total | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | RCP4 Total | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | RCP5 Total | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total 5 years | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | RCP2 Total | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | RCP3 Total | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | RCP4 Total | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | RCP5 Total | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total 5 years | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | RCP2 Total | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | RCP3 Total | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | RCP4 Total | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | RCP5 Total
| Enhancement & Development | Enhancement and Development |  | Enhancement and Development |  | 38174651.638 | 43156389.9052 | 15790923.3322 | 10544755.3961 | 11920732.0416 | 119587452.313 |  | 3766861.892 | 14146659.5606 | 14615433.3412 | 31672228.1595 | 30131564.6568 | 94332747.6102 | 14529972.9292 | 14583687.6115 | 14234373.8941 | 14666741.8082 | 13845716.5065 | 71860492.7495 | 17643319.7309 | 17828914.6994 | 17409430.15 | 16586806.755 | 17998971.1936 | 87467442.5289 | 17792326.4748 | 17516365.7067 | 18035850.8317 | 17977555.1338 | 17999999.9989 | 89322098.1458 | 2156551.4928 | 1580472.7445 | 1096022.9662 | 704699.7853 | 395049.0092 | 5932795.9978 | 326852.3818 | 463729.1286 | 420893.6102 | 966673.6276 | 1000392.0543 | 3178540.8025 | 750027.3273 | 696311.8994 | 1045626.3019 | 613257.8583 | 1434283.9738 | 4539507.3607 | 130770.675 | 44336.8756 | 600826.0872 | 1437025.8965 | 1029.0175 | 2213988.5518 | 138433.055 | 434981.4325 | -210866.3348 | -214604.4579 | -249525.0678 | -101581.3731 | 40331203.1307 | 44736862.6496 | 16886946.2983 | 11249455.1814 | 12315781.0508 | 125520248.3109 | 40331203.1307 | 44736862.6496 | 16886946.2983 | 11249455.1814 | 12315781.0508 | 125520248.3109 | 4093714.2738 | 14610388.6892 | 15036326.9514 | 32638901.7871 | 31131956.7111 | 97511288.4127 |  | 15280000.2565 | 15279999.5109 | 15280000.196 | 15279999.6665 | 15280000.4803 | 76400000.1102 |  | 17774090.4059 | 17873251.5749 | 18010256.2372 | 18023832.6516 | 18000000.2111 | 89681431.0808 | 17930759.5298 | 17951347.1391 | 17824984.4969 | 17762950.6759 | 17750474.931 | 89220516.7727 | -132905.5859 | -229575.5069 | 0 | 589295.3352 | 1418477.7844 | 1645292.0267 | 1532246.841 | 1887515.6647 | 2511449.6503 | 2781011.2777 | 3381069.3821 | 12093292.8159 | 5631183.7435 | 6106572.4891 | 7561549.804 | 8060402.3335 | 7549921.5197 | 34909629.8898 | 5962672.5941 | 6414532.4251 | 5989390.7628 | 6365763.3484 | 6854214.7889 | 31586573.9192 | 37536250 | 42030283 | 15975053 | 10814104 | 11888423 | 118244113 | 40198297.5448 | 44507287.1427 | 16886946.2983 | 11838750.5165 | 13734258.8352 | 127165540.3375 | 5625961.1148 | 16497904.3539 | 17547776.6017 | 35419913.0648 | 34513026.0933 | 109604581.2285 | 20911184 | 21386572 | 22841550 | 23340402 | 22829922 | 111309630 | 23736763 | 24287784 | 23999647 | 24389596 | 24854215 | 121268005 | 7876075.52 | 3712619.64 | 3311235 | 137852 | 10665289 | 25703071.16 | 1554368 | 13034065 | 12775835.8759 | 19612199.2463 | 36095380.4955 | 83071848.6177 | 24817241.5054 | 7715039.8705 | 23901599.692 | 12677816.085 | 24486768.3152 | 93598465.468 | 30088842 | 20588947 | -1063968 | 48687933 | 22829922 | 121131676 | 8162984 | 39787107 | 23922102 | 25287202 | 25203600 | 122362995
Total major capital projects expenditure under development | [72 empty] | 0 | 0 | 1167262.8327 | 1902644.1179 | 602753.7484 | 3672660.6991 | 23591361.6179 | 66123781.4394 | 28682723.0156 | 35170346.8417 | 24622948.6568 | 178191161.5715 |  | 87491.6787 | 89216.802 | 1886938.3659 | 30032958.3522 | 148979282.5052 | 181075887.704 |  | 63317563.7115 | 153142632.4939 | 122681500.1101 | 71180045.9231 | 119003955.2764 | 529325697.5149
Total approved major capital projects expenditure | [72 empty] | 18172041.6819 | 8883080.5124 | 22920546.0794 | 6261562.746 | 2050453.6712 | 58287684.6909 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 5727878.3883 | 18612572.143 | 12989969.8276 | 0 | 0 | 37330420.3589
Total listed and other reconductoring expenditure | [72 empty] | 19064015.2713 | 21595825.3936 | 18933225.0668 | 24056628.9246 | 21848621.7556 | 105498316.4118 | 6239899.3869 | 11005033.9989 | 29834633.6264 | 75659976.6576 | 12595199.0393 | 135334742.7091 |  | 52500000 | 52500000 | 52500000 | 52500000 | 52500000 | 262500000 |  | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 300000000
Total Major, Listed and Other reconductoring projects | [72 empty] | 37236056.9532 | 30478905.906 | 43021033.9789 | 32220835.7885 | 24501829.1751 | 167458661.8018 | 29831261.0048 | 77128815.4384 | 58517356.642 | 110830323.4993 | 37218147.6961 | 313525904.2806 |  | 52587491.6787 | 52589216.802 | 54386938.3659 | 82532958.3522 | 201479282.5052 | 443575887.704 |  | 129045442.0998 | 231755204.6369 | 195671469.9376 | 131180045.9231 | 179003955.2764 | 866656117.8738
RCP3 Network investment (ex R&R) | [72 empty] | 40331203.1307 | 44736862.6496 | 18054209.1311 | 13152099.2993 | 12918534.7992 | 129192909.0099 | 27685075.8917 | 80734170.1287 | 43719049.9671 | 67809248.6288 | 55754905.3679 | 275702449.9842 |  | 15367491.9352 | 15369216.3129 | 17166938.5619 | 45312958.0187 | 164259282.9855 | 257475887.8142 |  | 81091654.1173 | 171015884.0689 | 140691756.3473 | 89203878.5747 | 137003955.4875
Revenue implications, Year 1 | [78 empty] | 2019252.7465 | 5888468.4083 | 3188714.8176 | 4945769.7739 | 4066568.0758 | 20108773.822 | 0 | 1120851.1914 | 1120976.9615 | 1252096.5439 | 3304968.9042 | 11980498.432 | 18779392.0329 | 0 | 5914542.042 | 12473301.3178 | 10261565.3476 | 6506219.3622 | 9992590.0324
HVAC revenue including not yet approved listed and major projects ($m) |  | 779.8178 | 757.6478 | 723.5901 | 718.5098 | 717.5807 | 719.3353 | 720.3223 | 738.3702 | 745.4933 | 752.6365 | 759.7871 | 773.3032 | [59 empty] | 791.6881 | 805.3524 | 844.6325 | 779.8178 | 757.6478 |  | 723.5901 | 718.5098 | 717.5807 | 719.3353 | 720.3223 |  |  | 738.3702 | 745.4933 | 752.6365 | 759.7871 | 773.3032
Revenue excluding investment ex R&R | [72 empty] | 791688136.1877 | 805352383.7863 | 844632493.5884 | 779817848.6026 | 757647753.5434 |  | 723590144.7131 | 718509778.6395 | 717580680.8422 | 719335287.7963 | 720322330.3659 |  |  | 738370200.5298 | 745493330.244 | 752636500.1629 | 759787099.2349 | 773303236.9827
Total energy delivered (GWh, from our Information Disclosures schedule G2) plus forecast demand growth | [72 empty] | 37919.6604 | 37588.379 | 37856.1839 | 38561.5474 | 39021.4594 |  | 39499.5321 | 39960.988 | 40488.1672 | 40960.8569 | 41429.7878 |  |  | 41879.3309 | 42325.1375 | 42779.5571 | 43231.774 | 43680.2753
Revenue per MWh | [72 empty] | 20.878 | 21.4256 | 22.3116 | 20.2227 | 19.4162 |  | 18.319 | 17.9803 | 17.7232 | 17.5615 | 17.3866 |  |  | 17.6309 | 17.6135 | 17.5934 | 17.5747 | 17.7037
Incremental investment-related $/MWh | [72 empty] | 1.0636 | 1.1902 | 0.47692 | 0.34107 | 0.33106 |  | 0.7009 | 2.0203 | 1.0798 | 1.6555 | 1.3458 |  | #DIV/0! | 0.36695 | 0.36312 | 0.40129 | 1.0481 | 3.7605
RCP3 Major, Listed and other Reconductoring Capital Projects | [72 empty] | 37236056.9532 | 30478905.906 | 43021033.9789 | 32220835.7885 | 24501829.1751 | 167458661.8018 | 29831261.0048 | 77128815.4384 | 58517356.642 | 110830323.4993 | 37218147.6961 | 313525904.2806 |  | 52587491.6787 | 52589216.802 | 54386938.3659 | 82532958.3522 | 201479282.5052 | 443575887.704 |  | 129045442.0998 | 231755204.6369 | 195671469.9376 | 131180045.9231 | 179003955.2764 | 866656117.8738
Base capex Renewal | [72 empty] | 142661660.0621 | 154224687.2673 | 174799320.3086 | 181630968.6479 | 172700510.6031 | 826017146.8889 | 211491133.9776 | 218537084.5979 | 181919862.2858 | 170400095.2412 | 164708908.0282 | 947057084.1306 |  | 191984642.1882 | 193429166.2187 | 201416910.9934 | 216691375.9961 | 210260973.5194 | 1013783068.9159 |  | 308644582.0019 | 307930643.9948 | 294255847.9972 | 300172479.0138 | 293828742.0014 | 1504832295.0091
Note on A1: John Stephenson: RCP3 Revenue model

## Generation capacity
| Back-bone node - generation - 'alternative' scenario | [18 empty] | Model results - "Central" scenario, proposal
Potentially export constrained? | YES | NO | NO | NO | NO | NO | NO | YES | NO | NO | YES | YES | [7 empty] | YES | NO | NO | NO | NO | NO | NO | YES | NO | NO | YES | YES
Row Labels | BEN | BPE | HAY | HLY | ISL | KIK | RDF | ROX | SFD | TRK | TWI | WKM | TOTAL, MW | MW, export constrained | MW, not export constrained | Share export constrained | Peak demand | MW:MWh, export constrained | Row Labels | BEN | BPE | HAY | HLY | ISL | KIK | RDF | ROX | SFD | TRK | TWI | WKM | TOTAL, MW | MW, export constrained | MW, not export constrained | Share export constrained | Peak demand | MW:MWh, export constrained | Change
2019 | 1507.2218 | 406.0918 | 46.4014 | 624.3088 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 477.7986 | 183.1 | 693.5 | 1513.9644 | 6554.4434 | 4465.6969 | 2088.7466 | 0.68132 | 4564981.652 | 0.00097825 | 2019 | 1507.2218 | 406.0918 | 46.4014 | 624.3088 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 477.7986 | 183.1 | 693.5 | 1513.9644 | 6554.4434 | 4465.6969 | 2088.7466 | 0.68132 | 4564981.652 | 0.00097825 | 0%
2020 | 1507.2218 | 406.0918 | 46.4014 | 624.3088 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6649.4434 | 4465.6969 | 2183.7466 | 0.67159 | 4634500.4494 | 0.00096358 | 2020 | 1507.2218 | 406.0918 | 46.4014 | 624.3088 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6649.4434 | 4465.6969 | 2183.7466 | 0.67159 | 4634500.4494 | 0.00096358 | 0%
2021 | 1524.2218 | 406.0918 | 46.4014 | 624.3088 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6666.4434 | 4482.6969 | 2183.7466 | 0.67243 | 4675591.2484 | 0.00095874 | 2021 | 1524.2218 | 406.0918 | 46.4014 | 624.3088 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6666.4434 | 4482.6969 | 2183.7466 | 0.67243 | 4675591.2484 | 0.00095874 | 0%
2022 | 1524.2218 | 406.0918 | 46.4014 | 624.3088 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6666.4434 | 4482.6969 | 2183.7466 | 0.67243 | 4714799.8074 | 0.00095077 | 2022 | 1524.2218 | 406.0918 | 46.4014 | 624.3088 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6666.4434 | 4482.6969 | 2183.7466 | 0.67243 | 4714799.8074 | 0.00095077 | 0%
2023 | 1524.2218 | 406.0918 | 46.4014 | 624.3088 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6666.4434 | 4482.6969 | 2183.7466 | 0.67243 | 4738709.0309 | 0.00094597 | 2023 | 1524.2218 | 406.0918 | 46.4014 | 624.3088 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6666.4434 | 4482.6969 | 2183.7466 | 0.67243 | 4738809.3251 | 0.00094595 | 0%
2024 | 1524.2218 | 406.0918 | 46.4014 | 407.55 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6449.6847 | 4482.6969 | 1966.9878 | 0.69503 | 4723886.8324 | 0.00094894 | 2024 | 1524.2218 | 406.0918 | 46.4014 | 407.55 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6449.6847 | 4482.6969 | 1966.9878 | 0.69503 | 4725794.499 | 0.00094856 | 0%
2025 | 1559.2218 | 406.0918 | 46.4014 | 407.55 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6484.6847 | 4517.6969 | 1966.9878 | 0.69667 | 4770455.8474 | 0.00094702 | 2025 | 1559.2218 | 406.0918 | 46.4014 | 407.55 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6484.6847 | 4517.6969 | 1966.9878 | 0.69667 | 4814588.8447 | 0.00093833 | 0%
2026 | 1559.2218 | 406.0918 | 46.4014 | 407.55 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6484.6847 | 4517.6969 | 1966.9878 | 0.69667 | 4803658.4194 | 0.00094047 | 2026 | 1559.2218 | 406.0918 | 46.4014 | 407.55 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6484.6847 | 4517.6969 | 1966.9878 | 0.69667 | 4842893.8114 | 0.00093285 | 0%
2027 | 1559.2218 | 406.0918 | 46.4014 | 407.55 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6484.6847 | 4517.6969 | 1966.9878 | 0.69667 | 4831556.4832 | 0.00093504 | 2027 | 1559.2218 | 406.0918 | 46.4014 | 407.55 | 42.3522 | 82.9 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6537.1847 | 4517.6969 | 2019.4878 | 0.69108 | 4864384.8743 | 0.00092873 | -0.5595%
2028 | 1559.2218 | 406.0918 | 46.4014 | 365.75 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6442.8847 | 4517.6969 | 1925.1878 | 0.70119 | 4862115.083 | 0.00092916 | 2028 | 1559.2218 | 406.0918 | 46.4014 | 365.75 | 42.3522 | 82.9 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6495.3847 | 4517.6969 | 1977.6878 | 0.69552 | 4894540.9294 | 0.00092301 | -0.5667%
2029 | 1559.2218 | 406.0918 | 46.4014 | 365.75 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6442.8847 | 4517.6969 | 1925.1878 | 0.70119 | 4887098.1332 | 0.00092441 | 2029 | 1559.2218 | 406.0918 | 46.4014 | 365.75 | 42.3522 | 82.9 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6495.3847 | 4517.6969 | 1977.6878 | 0.69552 | 4913240.6773 | 0.00091949 | -0.5667%
2030 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 42.3522 | 30.4 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6689.8847 | 4764.6969 | 1925.1878 | 0.71222 | 4926359.2773 | 0.00096718 | 2030 | 1559.2218 | 406.0918 | 46.4014 | 365.75 | 42.3522 | 82.9 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6495.3847 | 4517.6969 | 1977.6878 | 0.69552 | 4940667.1405 | 0.00091439 | -1.67%
2031 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 42.3522 | 82.9 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6742.3847 | 4764.6969 | 1977.6878 | 0.70668 | 4979558.1099 | 0.00095685 | 2031 | 1559.2218 | 406.0918 | 46.4014 | 365.75 | 42.3522 | 82.9 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6495.3847 | 4517.6969 | 1977.6878 | 0.69552 | 4934310.3828 | 0.00091557 | -1.115%
2032 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6812.3847 | 4764.6969 | 2047.6878 | 0.69942 | 4940084.2017 | 0.0009645 | 2032 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6812.3847 | 4764.6969 | 2047.6878 | 0.69942 | 4972571.3794 | 0.0009582 | 0%
2033 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6812.3847 | 4764.6969 | 2047.6878 | 0.69942 | 4985142.1419 | 0.00095578 | 2033 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6812.3847 | 4764.6969 | 2047.6878 | 0.69942 | 5021652.443 | 0.00094883 | 0%
2034 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6812.3847 | 4764.6969 | 2047.6878 | 0.69942 | 5006496.5015 | 0.0009517 | 2034 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 278.2938 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6812.3847 | 4764.6969 | 2047.6878 | 0.69942 | 4999140.5547 | 0.0009531 | 0%
2035 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6885.5986 | 4764.6969 | 2120.9018 | 0.69198 | 5041516.708 | 0.00094509 | 2035 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6885.5986 | 4764.6969 | 2120.9018 | 0.69198 | 5035951.024 | 0.00094614 | 0%
2036 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6885.5986 | 4764.6969 | 2120.9018 | 0.69198 | 5082619.6014 | 0.00093745 | 2036 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6885.5986 | 4764.6969 | 2120.9018 | 0.69198 | 5079070.653 | 0.0009381 | 0%
2037 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6885.5986 | 4764.6969 | 2120.9018 | 0.69198 | 5108813.1491 | 0.00093264 | 2037 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6885.5986 | 4764.6969 | 2120.9018 | 0.69198 | 5099217.5532 | 0.0009344 | 0%
2038 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6885.5986 | 4764.6969 | 2120.9018 | 0.69198 | 5150053.1926 | 0.00092517 | 2038 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6885.5986 | 4764.6969 | 2120.9018 | 0.69198 | 5134839.9257 | 0.00092792 | 0%
2039 | 1806.2218 | 487.4406 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6966.9475 | 4764.6969 | 2202.2506 | 0.6839 | 5177325.1175 | 0.0009203 | 2039 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 746.8648 | 1513.9644 | 6938.9635 | 4818.0617 | 2120.9018 | 0.69435 | 5168440.3516 | 0.00093221 | 1.045%
2040 | 1806.2218 | 487.4406 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6966.9475 | 4764.6969 | 2202.2506 | 0.6839 | 5211403.5951 | 0.00091428 | 2040 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 746.8648 | 1513.9644 | 6938.9635 | 4818.0617 | 2120.9018 | 0.69435 | 5204283.1851 | 0.00092579 | 1.045%
2041 | 1806.2218 | 487.4406 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6966.9475 | 4764.6969 | 2202.2506 | 0.6839 | 5215674.9928 | 0.00091353 | 2041 | 1806.2218 | 406.0918 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 746.8648 | 1513.9644 | 6938.9635 | 4818.0617 | 2120.9018 | 0.69435 | 5218166.888 | 0.00092332 | 1.045%
2042 | 1806.2218 | 487.4406 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6966.9475 | 4764.6969 | 2202.2506 | 0.6839 | 5263162.6237 | 0.00090529 | 2042 | 1806.2218 | 406.0918 | 111.4804 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 746.8648 | 1513.9644 | 7004.0426 | 4818.0617 | 2185.9808 | 0.6879 | 5265928.9141 | 0.00091495 | 0.3997%
2043 | 1806.2218 | 487.4406 | 46.4014 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 6966.9475 | 4764.6969 | 2202.2506 | 0.6839 | 5269204.3838 | 0.00090425 | 2043 | 1806.2218 | 406.0918 | 111.4804 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 746.8648 | 1513.9644 | 7004.0426 | 4818.0617 | 2185.9808 | 0.6879 | 5264271.6397 | 0.00091524 | 0.3997%
2044 | 1806.2218 | 487.4406 | 111.4804 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 7032.0266 | 4764.6969 | 2267.3297 | 0.67757 | 5310987.7875 | 0.00089714 | 2044 | 1806.2218 | 406.0918 | 111.4804 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 746.8648 | 1513.9644 | 7004.0426 | 4818.0617 | 2185.9808 | 0.6879 | 5283244.3818 | 0.00091195 | 1.033%
2045 | 1806.2218 | 568.7895 | 111.4804 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 7113.3754 | 4764.6969 | 2348.6785 | 0.66982 | 5376256.1807 | 0.00088625 | 2045 | 1806.2218 | 406.0918 | 176.5595 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 746.8648 | 1513.9644 | 7069.1216 | 4818.0617 | 2251.0599 | 0.68156 | 5323777.7716 | 0.00090501 | 1.174%
2046 | 1806.2218 | 568.7895 | 111.4804 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 7113.3754 | 4764.6969 | 2348.6785 | 0.66982 | 5405172.5139 | 0.00088151 | 2046 | 1806.2218 | 406.0918 | 176.5595 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 746.8648 | 1513.9644 | 7069.1216 | 4818.0617 | 2251.0599 | 0.68156 | 5324457.6451 | 0.00090489 | 1.174%
2047 | 1806.2218 | 568.7895 | 111.4804 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 7113.3754 | 4764.6969 | 2348.6785 | 0.66982 | 5348203.486 | 0.0008909 | 2047 | 1806.2218 | 406.0918 | 176.5595 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 746.8648 | 1513.9644 | 7069.1216 | 4818.0617 | 2251.0599 | 0.68156 | 5356421.4061 | 0.00089949 | 1.174%
2048 | 1806.2218 | 568.7895 | 111.4804 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 7113.3754 | 4764.6969 | 2348.6785 | 0.66982 | 5401585.97 | 0.00088209 | 2048 | 1806.2218 | 406.0918 | 176.5595 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 746.8648 | 1513.9644 | 7069.1216 | 4818.0617 | 2251.0599 | 0.68156 | 5348730.9511 | 0.00090079 | 1.174%
2049 | 1806.2218 | 568.7895 | 111.4804 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 7113.3754 | 4764.6969 | 2348.6785 | 0.66982 | 5401909.7418 | 0.00088204 | 2049 | 1806.2218 | 406.0918 | 241.6386 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 746.8648 | 1513.9644 | 7134.2007 | 4818.0617 | 2316.139 | 0.67535 | 5392128.7444 | 0.00089354 | 0.5525%
2050 | 1806.2218 | 568.7895 | 111.4804 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 693.5 | 1513.9644 | 7113.3754 | 4764.6969 | 2348.6785 | 0.66982 | 5449936.3893 | 0.00087427 | 2050 | 1806.2218 | 406.0918 | 241.6386 | 365.75 | 112.3522 | 82.9 | 351.5078 | 751.0107 | 572.7986 | 183.1 | 746.8648 | 1513.9644 | 7134.2007 | 4818.0617 | 2316.139 | 0.67535 | 5459277.0859 | 0.00088255 | 0.5525%
| WKM: Change/Investment | 446.9319 | 282 | 164.9319 | [15 empty] | Change/Investment | 467.7572 | 335.3648 | 132.3924 |  |  | Min | -1.67%
[37 empty] | Max | 1.174%